| PRR Number |  | PRR Title | QSE Day Ahead Metric |
| --- | --- | --- | --- |
| Date Posted |  | January xx, 2009 |  |
| Protocol Section Requiring Revision |  | 4.10.5, Day Ahead Zonal Schedule Measure |  |
| Requested Resolution |  | Normal. |  |
| Revision Description |  | This Protocol Revision Request (PRR) re-defines the Day Ahead metric for both Wind-powered Generation Resource (WGR) Qualified Scheduling Entities (QSEs) and non-WGR QSEs to ensure that both categories of QSEs schedule enough capacity in the Day Ahead market to meet their planned energy schedules plus Ancillary Service (AS) Obligations. This PRR removes the WGR QSEs exemption established in PRR 777, WGR QSE Metric Correction. |  |
| Reason for Revision |  | PRR777, WGR QSE Metric Correction, addressed the disconnect between the energy schedules and the requirement to set the planned output in the Resource Plan equal to the ERCOT provided Wind Power Forecast. This revision proposal establishes a requirement to schedule enough capacity to cover energy schedules plus AS Obligations in the Resource Plans for all QSEs. The Day Ahead Replacement Reserve Service (RPRS) market does not use energy schedules as input. RPRS uses the Resource Plan capacity, ERCOT Load Forecast and Ancillary Service Requirements as input. Protocol Section 4.1.1, Day Ahead Scheduling Process, states that ERCOT will verify that Resource Plans are sufficient to meet QSEs energy schedules. ERCOT proposes a change that would verify that all QSEs have sufficient capacity in their Resource Plans to meet their energy schedules. |  |
| Overall Market Benefit |  | Establishes an appropriate Day Ahead metric for all QSEs. |  |
| Overall Market Impact |  |  |  |
| Consumer Impact |  | None. |  |
| Credit Implications |  | To be determined. |  |
| Relevance to Nodal Market |  | No. |  |
| Nodal Protocol Section Requiring Revision |  | None. |  |

Quantitative Impacts and Benefits

| Assumptions | 1 | Establishes Day Ahead metric for all QSEs. |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | No additional full time equivalents (FTEs) will be required. |  |
|  | 2 | No changes in software or system tools required. |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Establishes an appropriate Day Ahead metric for all QSEs. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | John Dumas |
| E-mail Address | jdumas@ercot.com |
| Company | ERCOT |
| Phone Number | (512) 248-3195 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

Proposed Protocol Language Revision

4.10.5	Day Ahead Zonal Schedule Measure

The “Day Ahead Zonal Schedule Measure” compares each QSE’s energy schedule to the QSE’s aggregated HSLs at the time a Day Ahead schedule validation, as described in Section 4.7, Validation and Correction of Schedule Data, is run and approved.  The QSE’s energy schedule and the aggregated HSLs for all twenty-four (24) hours of the next day are recorded at the time of the Day Ahead schedule validation.  The greatest of the four (4) fifteen (15)-minute intervals in an hour is selected to represent the QSE’s energy schedule.  The HSLs for all Resources are aggregated by QSE for each hour to create the QSE’s aggregated HSLs.  If multiple Day Ahead schedule validations are run on a particular day, only the first approved Day Ahead schedule validation is used.  Only hours when the energy schedule is greater than zero (0) MW are considered in this measure.

An Occurrence is recorded for a given hour if the QSE’s energy schedule plus Ancillary Service (AS) Obligations are greater than the aggregated HSLs.  Only one (1) Occurrence can be recorded per hour per QSE.  To determine the QSE Measure Score for the Day Ahead Zonal Schedule Measure, Occurrences are summed for every hour in a given month, and divided by the total number of hours in that month where the QSE’s energy schedule for a particular hour is greater than zero (0) MW.

-powered Generation Resource (WGR)o submitrce Plans in complianh Sect.4.15