## Contents
Table of Contents
Tab | Notes
Disclaimer | Please read
Updates | List of files and items updated in each file
IntervalData | Interval Data by CM Zone, Weather Zone and ERCOT-wide (MWH consumption values)
Demand | Monthly peak demand data for this year and last year
Energy | Monthly energy data for this year and last year
CongestionZones | Monthly peak demand and energy data for this year by congestion zone
WeatherZones | Monthly peak demand and energy data for this year by weather zone
EnergybyFuelType | Actual energy and percentages by fuel type
EnergybyFuelChart | Stacked chart of MWh by fuel type by month
EnergyComparisons | Bar graphs comparing this year's energy with last year's and with forecasted
DemandComparison | Graphs comparing this year's monthly peaks with last year's and with forecasted

## Disclaimer
Disclaimer
DEMAND AND ENERGY REPORT
FOR PLANNING PURPOSES ONLY
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been developed from data provided through the settlement process. The data may contain errors or become obsolete and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS OR IMPLIED, INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE, AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH ALL FAULTS.

## Updates
File Updated | 2009-01-09
Added Interval data tab
2008 Forecast updated on 05/10/08
June 2008 Peak set new all-time peak for June
Comparison Graphs fixed (was pointing to 2006 instead of 2007data)
November 2008 Peak Time adjusted (DST correction)

## Demand
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND FOR 2008
[5 empty] | Updated | 2009-01-09
NET SYSTEM MAXIMUM HOURLY DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2008 Demand, MW | 46099 | 45321.1677 | 42412.0862 | 45872.2092 | 56343.9001 | 59642.1214 | 61119.6066 | 62174.3766 | 56342.6037 | 46574.7272 | 38746.4511 | 47805.6548 | 62174.3766
Date | 3 | 1 | 7 | 22 | 23 | 16 | 31 | 4 | 2 | 3 | 5 | 15
Interval Ending | 0800 | 0800 | 0800 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1900 | 2000
Day of Week | Thursday | Friday | Friday | Tuesday | Friday | Monday | Thursday | Monday | Tuesday | Friday | Wednesday | Monday
Forecasted Demand, MW | 45994.13 | 45855.76 | 38995.49 | 50745.92 | 56667.03 | 57810.88 | 64927.19 | 62829.88 | 51256.27 | 46607.52 | 38282.14 | 41243.68 | 64927.19
Difference, percent | 0.228% | -1.166% | 8.762% | -9.604% | -0.5702% | 3.168% | -5.864% | -1.043% | 9.923% | -0.07036% | 1.213% | 15.91% | -4.24%
2007 Demand, MW | 50404 | 50408 | 38827 | 41710 | 49222 | 56427 | 56754 | 62188 | 55091 | 54102 | 39993 | 44443 | 62188
Date | 16 | 16 | 5 | 3 | 31 | 19 | 12 | 13 | 7 | 1 | 14 | 17
Hour Ending | 19 | 8 | 8 | 17 | 17 | 17 | 17 | 16 | 17 | 17 | 15 | 8
Day of Week | Tue | Fri | Mon | Tue | Thu | Tue | Thu | Mon | Fri | Mon | Wed | Mon
Increase, MW | -4305 | -5086.8323 | 3585.0862 | 4162.2092 | 7121.9001 | 3215.1214 | 4365.6066 | -13.6234 | 1251.6037 | -7527.2728 | -1246.5489 | 3362.6548 | -13.6234
Increase, percent | -8.541% | -10.09% | 9.233% | 9.979% | 14.47% | 5.698% | 7.692% | -0.02191% | 2.272% | -13.91% | -3.117% | 7.566% | -0.02191%
Max All Time | 50404 | 50408 | 43033 | 51800 | 54175 | 58140 | 61660 | 62339 | 59524 | 54102 | 45143 | 48064
Date | 1/16/2007 at 1900 | 2/16/2007 at 0800 | 3/4/2002 at 0800 | 4/18/2006 at 1700 | 5/25/2006 at 1700 | 6/30/2005 at 1700 | 7/17/2006 at 1700 | 8/17/2006 at 1700 | 9/28/2005 at 1700 | 10/1/2007 at 1700 | 11/30/2006 2000 | 12/8/2005 at 2000
NET SYSTEM MAXIMUM DEMAND BASED ON 15-MINUTE INTERVALS
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2008 Demand, MW | 46255 | 46084.5192 | 42885.858 | 46119.7568 | 56378.5744 | 59699.3556 | 61175.1404 | 62265.8488 | 56434.3792 | 46748.0604 | 38968.1584 | 48007.5412 | 62265.8488
Date | 3 | 1 | 7 | 22 | 23 | 16 | 31 | 4 | 2 | 3 | 5 | 15
Interval Ending | 0730 | 0730 | 0715 | 1800 | 1700 | 1645 | 1645 | 1700 | 1645 | 1645 | 1830 | 1900
Day of Week | Thursday | Friday | Friday | Tuesday | Friday | Monday | Thursday | Monday | Tuesday | Friday | Wednesday | Monday
Max All Time | 50568 | 51251 | 43983 | 52024 | 54245 | 58183 | 61706 | 62434 | 59594 | 54204 | 45297 | 48141
Date | 1/16/2007 at 1845 | 2/16/2007 at 0715 | 3/4/2002 at 0715 | 4/17/2006 at 1615 | 5/25/2006 at 1645 | 6/30/2005 at 1645 | 7/17/2006 at 1630 | 8/17/2005 at 1700 | 9/28/2005 at 1630 | 10/1/2007 at 1645 | 11/30/2006 1900 | 12/8/2005 at 1900

## Energy
ELECTRIC RELIABILITY COUNCIL OF TEXAS
ENERGY FOR 2008
[5 empty] | Updated | 2009-01-09
NET ENERGY FOR LOAD
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2008 Energy, MWh | 25472141.9028 | 21727610.7709 | 22780135.8882 | 22456791.4243 | 27877513.4667 | 31704559.667 | 32788105.0486 | 32234982.977 | 25768324.3827 | 23924770.5965 | 21307804.1043 | 24358344.2943 | 312401084.5233
2008 YTD Energy, MWh | 25472141.9028 | 47199752.6737 | 69979888.5619 | 92436679.9862 | 120314193.4529 | 152018753.1199 | 184806858.1685 | 217041841.1455 | 242810165.5282 | 266734936.1247 | 288042740.229 | 312401084.5233
Forecasted Energy, MWh | 25092678.55 | 23253555.42 | 22162786.88 | 24303590.8 | 27963899.57 | 29896875.66 | 33463263.77 | 31982828.14 | 25358107.54 | 24686958.05 | 22068476.16 | 23713280.65 | 313946301.19
Difference, percent | 1.512% | -6.562% | 2.786% | -7.599% | -0.3089% | 6.046% | -2.018% | 0.7884% | 1.618% | -3.087% | -3.447% | 2.72% | -0.4922%
YTD Forecasted Energy, MWh | 25092678.55 | 48346233.97 | 70509020.85 | 94812611.65 | 122776511.22 | 152673386.88 | 186136650.65 | 218119478.79 | 243477586.33 | 268164544.38 | 290233020.54 | 313946301.19
YTD Difference, percent | 1.512% | -2.371% | -0.7504% | -2.506% | -2.006% | -0.4288% | -0.7144% | -0.4941% | -0.2741% | -0.5331% | -0.7547% | -0.4922%
2007 Energy, MWh | 25825471 | 21640409 | 21768326 | 21585681 | 25438145 | 28365318 | 29464659 | 33064877 | 28572574 | 24826390 | 22407536 | 24104676.0681 | 307064062.0681
Increase, MWh | -353329.0972 | 87201.7709 | 1011809.8882 | 871110.4243 | 2439368.4667 | 3339241.667 | 3323446.0486 | -829894.023 | -2804249.6173 | -901619.4035 | -1099731.8957 | 253668.2262 | 5337022.4552
Increase, percent | -1.368% | 0.403% | 4.648% | 4.036% | 9.589% | 11.77% | 11.28% | -2.51% | -9.814% | -3.632% | -4.908% | 1.052% | 1.738%
2007 YTD Energy, MWh | 25825471 | 47465880 | 69234206 | 90819887 | 116258032 | 144623350 | 174088009 | 207152886 | 235725460 | 260551850 | 282959386 | 307064062.0681
YTD Increase, MWh | -353329.0972 | -266127.3263 | 745682.5619 | 1616792.9862 | 4056161.4529 | 7395403.1199 | 10718849.1685 | 9888955.1455 | 7084705.5282 | 6183086.1247 | 5083354.229 | 5337022.4552
YTD Increase, percent | -1.368% | -0.5607% | 1.077% | 1.78% | 3.489% | 5.114% | 6.157% | 4.774% | 3.005% | 2.373% | 1.796% | 1.738%
NET SYSTEM LOAD FACTORS BASED ON HOURLY DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2008 | 74.27% | 68.88% | 72.19% | 67.99% | 66.5% | 73.83% | 72.1% | 69.69% | 63.52% | 69.04% | 76.38% | 68.49% | 57.36%
2007 | 68.87% | 63.88% | 75.36% | 71.88% | 69.46% | 69.82% | 69.78% | 71.46% | 72.03% | 61.68% | 77.82% | 72.9% | 56.37%
NET SYSTEM LOAD FACTORS BASED ON 15-MINUTE DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2008 | 74.02% | 70.16% | 71.4% | 67.63% | 66.46% | 73.76% | 72.04% | 69.58% | 63.42% | 68.79% | 73.49% | 68.2% | 57.27%

## CongestionZones
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND AND ENERGY BY CONGESTION ZONE FOR 2008
[5 empty] | Updated | 2009-01-09
BASED ON 15-MINUTE INTERVALS
NET ZONE DEMAND COINCIDENT WITH ERCOT SYSTEM PEAK, MW
Congestion Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
North | 19898.0356 | 20353.5848 | 18482.3976 | 18051.3816 | 21408.9276 | 23848.676 | 25194.452 | 26214.7204 | 21031.754 | 18790.272 | 11955.2912 | 10467.112
South | 11955.2012 | 12074.6364 | 11007.4772 | 12768.4748 | 15651.7464 | 15837.0572 | 15673.7468 | 15963.6652 | 15963.008 | 13305.1572 | 14013.4016 | 21622.464
Houston | 11368.6644 | 10480.6312 | 10346.3208 | 12252.4968 | 15720.8972 | 16258.3856 | 16529.2048 | 16328.0124 | 16063.6412 | 11667.9292 | 10524.6104 | 12495.6888
West | 3032.662 | 3175.6668 | 3049.6624 | 3047.4036 | 3597.0032 | 3755.2368 | 3777.7368 | 3759.4508 | 3375.976 | 2984.702 | 2474.8552 | 3422.2764
NET ZONE MAXIMUM DEMAND, MW
Congestion Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
North | 20021.3556 | 20519.4236 | 18586.6068 | 18118.3852 | 21522.124 | 23888.4492 | 25948.3592 | 26221.7784 | 21350.6416 | 18790.272 | 15406.7756 | 21622.464
Date and time | 22 @ 18:45 | 1 @ 07:00 | 3 @ 20:15 | 22 @ 18:00 | 23 @ 16:15 | 16 @ 16:30 | 28 @ 17:00 | 4 @ 17:45 | 1 @ 17:30 | 3 @ 16:45 | 21 @ 08:15 | 15 @ 19:00
South | 12549.7492 | 12074.6364 | 11202.7364 | 12768.4748 | 15651.7464 | 16499.4424 | 16004.1552 | 15963.6652 | 15971.5148 | 13305.1572 | 10524.6104 | 12805.0528
Date and time | 18 @ 18:45 | 1 @ 07:15 | 14 @ 17:00 | 22 @ 17:00 | 23 @ 17:00 | 18 @ 17:00 | 15 @ 16:30 | 4 @ 17:00 | 2 @ 17:00 | 3 @ 16:45 | 5 @ 19:30 | 16 @ 19:15
Houston | 11835.3216 | 10673.826 | 11004.6196 | 12680.3204 | 16097.3464 | 16283.572 | 16718.1232 | 17010.2844 | 16066.712 | 12194.288 | 12027.5032 | 12431.4972
Date and time | 03 @ 18:45 | 5 @ 19:00 | 15 @ 16:30 | 23 @ 17:15 | 20 @ 16:45 | 18 @ 17:00 | 21 @ 16:30 | 1 @ 16:45 | 2 @ 17:15 | 6 @ 17:30 | 5 @ 16:45 | 10 @ 18:45
West | 3368.912 | 3175.6668 | 3049.6624 | 3047.4036 | 3641.04 | 3896.3196 | 3882.946 | 3764.7124 | 3380.2608 | 3061.7004 | 2790.7936 | 3462.0044
Date and time | 22 @ 20:30 | 1 @ 07:15 | 7 @ 07:15 | 22 @ 17:00 | 30 @ 17:00 | 4 @ 16:45 | 28 @ 18:00 | 4 @ 16:30 | 2 @ 16:30 | 10 @ 17:00 | 21 @ 08:15 | 15 @ 20:45
NET ENERGY FOR LOAD, MWh
Congestion Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
North | 10461262.1995 | 8753274.926 | 8797151.6736 | 8272318.0354 | 10117044.9365 | 12234934.5448 | 13294779.7585 | 12860652.4674 | 10176991.5117 | 9532106.8122 | 6291498.9553 | 6154338.7993 | 116946354.6202
South | 6493192.868 | 5444694.4617 | 5905430.7252 | 6058437.5016 | 7944348.0436 | 8635852.2185 | 8430812.0864 | 8490936.1354 | 7285726.3799 | 6587992.504 | 7901771.2441 | 9938897.1748 | 89118091.3432
Houston | 6586429.9724 | 5892424.3512 | 6387074.5792 | 6472440.4791 | 7901014.374 | 8686281.8746 | 8891214.1755 | 8745921.402 | 6542198.8935 | 6011994.2914 | 5488934.4296 | 6339116.3033 | 83945045.1258
West | 1931256.8629 | 1637217.032 | 1690478.9102 | 1653595.4082 | 1915106.1126 | 2147491.0291 | 2171299.0282 | 2137472.9722 | 1763407.5976 | 1792676.9889 | 1625599.4753 | 1925992.0169 | 22391593.4341
Totals may not match the ERCOT values because of rounding.

## WeatherZones
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND AND ENERGY BY WEATHER ZONE FOR 2008
[5 empty] | Updated | 2009-01-09
Based on 15-Minute Intervals
NET ZONE DEMAND COINCIDENT WITH ERCOT SYSTEM PEAK, MW
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Coast | 11764.7284 | 11019.8144 | 10835.4604 | 12831.248 | 16358.0816 | 16936.6356 | 17213.0016 | 16999.3796 | 16756.05 | 12359.5984 | 12473.5656 | 11083.734
East | 2556.2276 | 1954.7084 | 1748.3728 | 1590.2564 | 2043.2884 | 2151.1076 | 2300.708 | 2277.7968 | 1794.6144 | 1685.8752 | 1631.35 | 1869.1156
Far West | 1442.9352 | 1498.5176 | 1509.8468 | 1471.9964 | 1794.062 | 1834.1884 | 1776.814 | 1746.3676 | 1642.6116 | 1515.2548 | 1279.9864 | 1662.5436
North Central | 16390.5672 | 17316.8724 | 15900.894 | 15567.7324 | 18308.878 | 20526.1216 | 21611.1936 | 22530.8864 | 18162.5236 | 16257.582 | 11645.008 | 18600.1184
North | 1668.778 | 1808.2076 | 1502.7572 | 1546.2628 | 1816.6316 | 1984.8392 | 2134.0096 | 2315.0296 | 1786.912 | 1383.6872 | 1207.1896 | 1914.4708
South Central | 8070.9624 | 8131.9836 | 7398.4876 | 8466.6772 | 10310.9056 | 10624.3824 | 10661.9812 | 10915.6552 | 10663.5296 | 8771.3184 | 7023.092 | 8887.0028
South | 3099.5132 | 2974.0408 | 2777.1496 | 3387.7408 | 4292.7996 | 4069.9204 | 3847.212 | 3919.9832 | 4174.7808 | 3482.5772 | 2721.7484 | 2557.3776
West | 1260.8512 | 1380.3744 | 1212.8896 | 1257.8428 | 1453.9276 | 1572.1604 | 1630.2204 | 1560.7504 | 1453.3572 | 1292.1672 | 986.2184 | 1433.1784
NET ZONE NON-COINCIDENT DEMAND, MW
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Coast | 12302.1388 | 11050.5048 | 11473.1552 | 13285.3856 | 16726.4704 | 16987.6052 | 17429.664 | 17705.8176 | 16758.328 | 12924.6836 | 12556.056 | 13100.016
Date and time | 03 @ 18:45 | 5 @ 19:00 | 15 @ 16:30 | 23 @ 17:15 | 20 @ 16:45 | 18 @ 16:45 | 21 @ 16:30 | 1 @ 16:45 | 2 @ 17:15 | 6 @ 17:30 | 5 @ 16:45 | 10 @ 18:45
East | 2748 | 2495.4448 | 2483.8168 | 2102.7496 | 2101.5176 | 2239.6148 | 2622.2068 | 2484.7564 | 2625.8348 | 2331.7688 | 2230.6168 | 2333.128
Date and time | 03 @ 06:45 | 1 @ 07:00 | 7 @ 21:00 | 23 @ 16:45 | 9 @ 11:45 | 6 @ 15:00 | 26 @ 18:15 | 31 @ 16:45 | 11 @ 13:45 | 15 @ 14:45 | 22 @ 10:30 | 22 @ 16:30
Far West | 1583 | 1498.5176 | 1509.8468 | 1511.0672 | 1801.3992 | 1876.0352 | 1889.3336 | 1835.18 | 1655.8724 | 1581.7376 | 1488.2156 | 1720.696
Date and time | 24 @ 20:30 | 1 @ 07:15 | 7 @ 07:15 | 30 @ 18:15 | 23 @ 17:45 | 4 @ 17:00 | 16 @ 11:00 | 10 @ 17:00 | 2 @ 15:30 | 10 @ 17:00 | 21 @ 08:15 | 15 @ 20:45
North Central | 17076 | 17316.8724 | 15917.646 | 15584.7716 | 18406.6216 | 20531.5324 | 22317.3192 | 22557.6844 | 18368.3892 | 16257.582 | 12784.3552 | 18600.1184
Date and time | 24 @ 07:30 | 1 @ 07:15 | 3 @ 20:30 | 22 @ 17:45 | 23 @ 16:15 | 16 @ 16:30 | 28 @ 17:00 | 4 @ 17:30 | 1 @ 17:30 | 3 @ 16:45 | 21 @ 08:15 | 15 @ 19:00
North | 1912 | 1815.596 | 1683.2188 | 1550.0268 | 1927.8916 | 2105.6376 | 2350.668 | 2315.0296 | 1862.3368 | 1451.6156 | 1424.1936 | 1917.1064
Date and time | 22 @ 18:30 | 1 @ 07:00 | 4 @ 07:00 | 22 @ 17:45 | 30 @ 16:00 | 4 @ 16:45 | 28 @ 17:30 | 4 @ 17:00 | 1 @ 17:30 | 4 @ 16:30 | 21 @ 08:15 | 15 @ 18:45
South Central | 8370 | 8131.9836 | 7623.5784 | 8518.1108 | 10508.836 | 11237.7856 | 10813.5768 | 10915.6552 | 10713.3772 | 8771.3184 | 7023.092 | 8887.0028
Date and time | 20 @ 08:15 | 1 @ 07:15 | 6 @ 19:30 | 22 @ 18:00 | 27 @ 17:30 | 17 @ 17:30 | 14 @ 15:45 | 4 @ 17:00 | 2 @ 17:30 | 3 @ 16:45 | 5 @ 19:30 | 15 @ 19:00
South | 3443 | 3035.9656 | 3000.0964 | 3387.7408 | 4294.6808 | 4206.8948 | 4036.0696 | 4006.0888 | 4174.7808 | 3712.6932 | 2820.1744 | 3562.4148
Date and time | 18 @ 19:30 | 25 @ 16:15 | 14 @ 17:00 | 22 @ 17:00 | 23 @ 16:30 | 2 @ 15:00 | 14 @ 16:30 | 13 @ 16:15 | 2 @ 16:45 | 13 @ 15:30 | 4 @ 16:30 | 16 @ 19:30
West | 1387 | 1380.3744 | 1212.8896 | 1257.8428 | 1453.9276 | 1575.7748 | 1630.88 | 1602.18 | 1453.7056 | 1294.626 | 1053.0644 | 1477.0996
Date and time | 02 @ 07:30 | 1 @ 07:15 | 7 @ 07:15 | 22 @ 17:00 | 23 @ 17:00 | 16 @ 18:00 | 31 @ 16:30 | 14 @ 16:30 | 2 @ 17:00 | 3 @ 17:00 | 21 @ 08:15 | 16 @ 07:30
NET ZONE ENERGY, MWh
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
Coastal | 6839157.0326 | 6140408.3632 | 6662646.4602 | 6781935.2716 | 8281449.7453 | 9094993.4885 | 9326760.506 | 9185841.587 | 6887942.8489 | 6371634.3748 | 6599425.4466 | 6494787.0297 | 88666982.1544
East | 1115600.5746 | 978963.8488 | 993433.5463 | 899918.9747 | 1045185.7362 | 1190694.543 | 1279958.6491 | 1262744.4618 | 1121946.5957 | 1114179.2414 | 998239.5773 | 1106864.6105 | 13107730.3594
Far West | 967538.186 | 840349.2685 | 835708.3707 | 860509.5179 | 999237.5067 | 1055554.8688 | 1055411.0846 | 1057111.4267 | 907621.2788 | 947418.808 | 877641.4225 | 996879.5353 | 11400981.2745
North Central | 8805186.8985 | 7315735.9635 | 7365782.2687 | 6969965.1265 | 8581788.9432 | 10436316.7611 | 11347463.6291 | 10947927.9606 | 8543139.948 | 7972201.0373 | 6491798.1559 | 8314467.7042 | 103091774.3966
North | 963182.5195 | 795062.7433 | 825092.7662 | 746696.1141 | 876065.8023 | 1079894.8102 | 1160274.2027 | 1115992.7357 | 867972.2706 | 793979.9653 | 729367.0653 | 925885.4581 | 10879466.4533
South Central | 4302000.0589 | 3562250.6452 | 3830254.489 | 3891834.4906 | 5215525.577 | 5704344.3791 | 5588547.373 | 5588383.737 | 4862971.3329 | 4136966.7726 | 3558493.4997 | 4134903.5427 | 54376475.8977
South | 1750966.7403 | 1492438.0715 | 1657018.3997 | 1718810.5476 | 2168755.2463 | 2304716.6025 | 2183409.5543 | 2251173.0644 | 1905944.0171 | 1931876.1272 | 1476991.5892 | 1680769.4521 | 22522869.4122
West | 728509.8924 | 602401.8669 | 610199.5874 | 587121.3813 | 709504.9097 | 838044.2138 | 846280.0498 | 825808.0038 | 670786.0907 | 656514.2699 | 575847.3478 | 703786.9617 | 8354804.5752
All values are from initial settlement data and will not be updated with subsequent settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## EnergybyFuelType
ELECTRIC RELIABILITY COUNCIL OF TEXAS
ENERGY BY FUEL TYPE FOR 2008
[5 empty] | Updated | 2009-01-09
ENERGY BY FUEL TYPE, MWh
Fuel Types | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
Natural Gas | 9735101.228 | 7813254.9759 | 8993891.527 | 9351017.3408 | 12054820.9014 | 15097658.9879 | 16048815.8116 | 16283666.5255 | 11116469.6144 | 10286309.8494 | 7188307.1077 | 8729172 | 132698485.8696
Coal | 10083457.58 | 8781198.9246 | 8224119.319 | 8780046.1354 | 9691177.8407 | 10403126.8938 | 10863461.1977 | 10628649.4823 | 9778202.7783 | 9298763.1231 | 8808411.6218 | 9395054.0238 | 114735668.9205
Nuclear | 3777072.582 | 3446056.2657 | 3475762.45 | 2181971.1933 | 3734234.0149 | 3583841.4277 | 3691292.9098 | 3688636.7166 | 3436531.8106 | 2348481.7252 | 3529029.0146 | 3816029.7014 | 40708939.8118
Wind | 1131184.912 | 1157665.5026 | 1492376.016 | 1410164.452 | 1548913.7246 | 1629991.4919 | 1142435.0676 | 586039.9264 | 624534.1901 | 1329219.3437 | 1376244.9148 | 1809106.9139 | 15237876.4556
Water | 50116.9762 | 43832.6638 | 54296.1907 | 126775.2168 | 111695.4215 | 71853.1264 | 65710.5524 | 54961.5528 | 72601.1968 | 70450.6778 | 28544.0761 | 18745.157 | 769582.8082
Other | 429340.1972 | 275258.7249 | 371049.4858 | 317879.8197 | 446450.512 | 518384.7397 | 497678.8986 | 554163.265 | 444813.2418 | 378002.5045 | 190495.5362 | 385384.3592 | 4808901.2845
Total | 25206273.4754 | 21517267.0574 | 22611494.9885 | 22167854.158 | 27587292.4151 | 31304856.6675 | 32309394.4377 | 31796117.4686 | 25473152.8319 | 23711227.2237 | 21121032.2712 | 24153492.1552 | 308959455.1504
ENERGY BY FUEL TYPE, PERCENT
Fuel Types | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
Natural Gas | 38.62% | 36.31% | 39.78% | 42.18% | 43.7% | 48.23% | 49.67% | 51.21% | 43.64% | 43.38% | 34.03% | 36.14% | 42.95%
Coal | 40% | 40.81% | 36.37% | 39.61% | 35.13% | 33.23% | 33.62% | 33.43% | 38.39% | 39.22% | 41.7% | 38.9% | 37.14%
Nuclear | 14.98% | 16.02% | 15.37% | 9.843% | 13.54% | 11.45% | 11.42% | 11.6% | 13.49% | 9.905% | 16.71% | 15.8% | 13.18%
Wind | 4.488% | 5.38% | 6.6% | 6.361% | 5.615% | 5.207% | 3.536% | 1.843% | 2.452% | 5.606% | 6.516% | 7.49% | 4.932%
Water | 0.1988% | 0.2037% | 0.2401% | 0.5719% | 0.4049% | 0.2295% | 0.2034% | 0.1729% | 0.285% | 0.2971% | 0.1351% | 0.07761% | 0.2491%
Other | 1.703% | 1.279% | 1.641% | 1.434% | 1.618% | 1.656% | 1.54% | 1.743% | 1.746% | 1.594% | 0.9019% | 1.596% | 1.556%
Total | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Companies are not required to notify ERCOT when their dual fuel units are using secondary fuel. Therefore, values shown here are calculated based on primary fuel type and may not exactly reflect the fuels being used by dual fuel units. Dual fuel units are included in the category of their primary fuel.
Differences in the totals here and the total for ERCOT are attributable to energy across DC ties, rounding, and subsequent settlements.
These values are based on initial settlements and will not be updated with subsequent settlements.
"Other" includes petroleum coke, landfill gas, biomass solids, biomas gases, and any unknown fuel.

## EnergybyFuelChart
Fuel Types | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Natural Gas | 9735.1012 | 7813.255 | 8993.8915 | 9351.0173 | 12054.8209 | 15097.659 | 16048.8158 | 16283.6665 | 11116.4696 | 10286.3098 | 7188.3071 | 8729.172
Coal | 10083.4576 | 8781.1989 | 8224.1193 | 8780.0461 | 9691.1778 | 10403.1269 | 10863.4612 | 10628.6495 | 9778.2028 | 9298.7631 | 8808.4116 | 9395.054
Nuclear | 3777.0726 | 3446.0563 | 3475.7625 | 2181.9712 | 3734.234 | 3583.8414 | 3691.2929 | 3688.6367 | 3436.5318 | 2348.4817 | 3529.029 | 3816.0297
Wind | 1131.1849 | 1157.6655 | 1492.376 | 1410.1645 | 1548.9137 | 1629.9915 | 1142.4351 | 586.0399 | 624.5342 | 1329.2193 | 1376.2449 | 1809.1069
Water | 50.117 | 43.8327 | 54.2962 | 126.7752 | 111.6954 | 71.8531 | 65.7106 | 54.9616 | 72.6012 | 70.4507 | 28.5441 | 18.7452
Other | 429.3402 | 275.2587 | 371.0495 | 317.8798 | 446.4505 | 518.3847 | 497.6789 | 554.1633 | 444.8132 | 378.0025 | 190.4955 | 385.3844
Diesel | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!

## EnergyComparisons
Energy, MWh
|  |  | 2007 | 2006 | 2006, GWh
|  | Jan | 25472.1419 | 25825471 | 25825.471
|  | Feb | 21727.6108 | 21640409 | 21640.409
|  | Mar | 22780.1359 | 21768326 | 21768.326
|  | Apr | 22456.7914 | 21585681 | 21585.681
|  | May | 27877.5135 | 25438145 | 25438.145
|  | Jun | 31704.5597 | 28365318 | 28365.318
|  | Jul | 32788.105 | 29464659 | 29464.659
|  | Aug | 32234.983 | 33064877 | 33064.877
|  | Sep | 25768.3244 | 28572574 | 28572.574
|  | Oct | 23924.7706 | 24826390 | 24826.39
|  | Nov | 21307.8041 | 22407536 | 22407.536
|  | Dec | 24358.3443 | 24104676.0681 | 24104.6761
ytd | ytd |  | Energy, MWh
Actual | Forecast |  | Actual | Forecast |  | Difference from Actual
25472.1419 | 25092.6786 | Jan | 25472.1419 | 25092.6786 |  | -1.49% | 25092678.55 | 25092678.55
47199.7527 | 48346.234 | Feb | 21727.6108 | 23253.5554 |  | 7.023% | 23253555.42 | 23253555.42
69979.8886 | 70509.0209 | Mar | 22780.1359 | 22162.7869 |  | -2.71% | 22162786.88 | 22162786.88
92436.68 | 94812.6117 | Apr | 22456.7914 | 24303.5908 |  | 8.224% | 24303590.8 | 24303590.8
120314.1935 | 122776.5112 | May | 27877.5135 | 27963.8996 |  | 0.3099% | 27963899.57 | 27963899.57
152018.7531 | 152673.3869 | Jun | 31704.5597 | 29896.8757 |  | -5.702% | 29896875.66 | 29896875.66
184806.8582 | 186136.6506 | Jul | 32788.105 | 33463.2638 |  | 2.059% | 33463263.77 | 33463263.77
217041.8411 | 218119.4788 | Aug | 32234.983 | 31982.8281 |  | -0.7822% | 31982828.14 | 31982828.14
242810.1655 | 243477.5863 | Sep | 25768.3244 | 25358.1075 |  | -1.592% | 25358107.54 | 25358107.54
266734.9361 | 268164.5444 | Oct | 23924.7706 | 24686.9581 |  | 3.186% | 24686958.05 | 24686958.05
288042.7402 | 290233.0205 | Nov | 21307.8041 | 22068.4762 |  | 3.57% | 22068476.16 | 22068476.16
312401.0845 | 313946.3012 | Dec | 24358.3443 | 23713.2807 |  | -2.648% | 23713280.65 | 23713280.65
0
0
|  | EIA-411 forecast made in March 2004 |  | 0
0
YTD Actual 235,718,421 MWh
YTD Forecast 242,752,402 MWh
Difference -2.9%

## DemandComparisons
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2008 Houly | 46099 | 45321.1677 | 42412.0862 | 45872.2092 | 56343.9001 | 59642.1214 | 61119.6066 | 62174.3766 | 56342.6037 | 46574.7272 | 38746.4511 | 47805.6548
2007 hourly | 50404 | 50408 | 38827 | 41710 | 49222 | 56427 | 56754 | 62188 | 55091 | 54102 | 39993 | 44443
[8 empty] | 60214 | 59524 | 52107 | 42670 | 48064
2008 15-minute | 46255 | 46084.5192 | 42885.858 | 46119.7568 | 56378.5744 | 59699.3556 | 61175.1404 | 62265.8488 | 56434.3792 | 46748.0604 | 38968.1584 | 48007.5412
2007 15-minute | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Forecast | 45994.13 | 45855.76 | 38995.49 | 50745.92 | 56667.03 | 57810.88 | 64927.19 | 62829.88 | 51256.27 | 46607.52 | 38282.14 | 41243.68
| 46099 | 45321.1677 | 42412.0862 | 45872.2092 | 56343.9001 | 59642.1214 | 61119.6066 | 62174.3766 | 56342.6037 | 46748.0604 | 38968.1584 | 48007.5412
| 41231 | 41095 | 36115 | 41219 | 51947 | 58140 | 57319 | 60214 | 59524 | 52107 | 42670 | 48064
| 45994.13 | 45855.76 | 38995.49 | 50745.92 | 56667.03 | 57810.88 | 64927.19 | 62829.88 | 51256.27 | 46607.52 | 38282.14 | 41243.68
| 44704.64 | 45534.39 | 39743.83 | 49316.95 | 55315.89 | 57945.68 | 61277.83 | 63794.02 | 50601.63 | 45766.8 | 38730.82 | 40796.51