- Introduction

- Title:	Providing Interruptible Demands and Direct Control Load Management Data to System Operators and Reliability Coordinators

- Number:	MOD-020-TRE-1

- Purpose:	To ensure that assessments and validation of past events and databases can be performed, reporting of actual demand data is needed.  Forecast demand data is needed to perform future system assessments to identify the need for system reinforcement for continued reliability.  In addition to assist in proper real-time operating, load information related to controllable Demand-Side Management programs is needed.  Regional Difference: Load Serving Entities removed for ERCOT Interconnection.

- Applicability:

  - Transmission Planner

  - Resource Planner

- (Proposed) Effective Date:

- Requirements

- The Transmission Planner and Resource Planner shall each make known its amount of interruptible demands and Direct Control Load Management (DCLM) to Transmission Operators, Balancing Authorities, and Reliability Coordinators on request within 30 calendar days.

- Measures

- The Transmission Planner and Resource Planner each make known its amount of interruptible demands and DCLM to Transmission Operators, Balancing Authorities and Reliability Coordinators on request within 30 calendar days.

- Compliance

- Compliance Monitoring Process

  - Compliance Enforcement Authority

Regional Reliability Organization.

  - Compliance Monitoring Period and Reset Time Frame

On request (within 30 calendar days).

  - Data Retention

Not specified.

  - Compliance Monitoring and Assessment Processes

Compliance Audits

Self-Certifications

Spot Checking

Compliance Violation Investigations

Self-Reporting

Complaints

Periodic Data Submittals (if periodic reporting is listed, the reporting interval must be specified)

Exception Reporting (if exception reporting is listed, the conditions for the report must be specified)

  - Additional Compliance Information

None.

- Violation Severity Levels

| - R # | - Lower VSL | - Moderate VSL | - High VSL | - Severe VSL |
| --- | --- | --- | --- | --- |
| - R1 | Interruptible Demands and DCLM data were provided to Reliability Coordinators, Balancing Authorities, and Transmission Operators, but were incomplete. | - Not applicable | - Not applicable | Interruptible Demands and DCLM data were not provided to Reliability Coordinators, Balancing Authorities, and Transmission Operators. |

- Regional Variances

- For MOD-020, removal of the LSE Applicability will ensure that there is no gap and no overlap in coverage with respect to compliance with the LSE Reliability Standards.  The ERCOT ISO as the single Resource Planner (RP) collects and aggregates data required by MOD-020 for the entire ERCOT Interconnection.  DPs and TPs in the ERCOT region cannot provide market based interruptible demand services due to PUCT Subst. Rule 25.342 (f)(2), and therefore, do not have access to all interruptible demand data for loads within their electric delivery systems.  DPs and TPs have data for any non-market based interruptible demand services within their electrical delivery system.  DPs provide such data to the TPs, which is combined with any non-market based, interruptible demand administered by the TP.  The TP then provides the aggregated data to ERCOT ISO.  The process for ERCOT ISO to obtain the data from the TP is detailed in the ERCOT Operating Guides 5.1.2.  ERCOT ISO then aggregates all of its market based interruptible demand service data with the aggregated non-market based data provided by the TPs.

- Associated Documents

#### Version History

| Version | Date | Action | Change Tracking |
| --- | --- | --- | --- |