- Introduction

- Title:	Documentation of Accounting Methodology for the Effects of Controllable Demand-Side Management in Demand and Energy Forecasts

- Number:	MOD-021-TRE-1

- Purpose:	To ensure that assessments and validation of past events and databases can be performed, reporting of actual Demand data is needed.  Forecast demand data is needed to perform future system assessments to identify the need for system reinforcement for continued reliability.  In addition, to assist in proper real-time operating, load information related to controllable Demand-Side Management (DSM) programs is needed.  Regional Difference: Load Serving Entities removed for ERCOT Interconnection.

- Applicability:

  - Transmission Planner

  - Resource Planner

- (Proposed) Effective Date:

- Requirements

- The Transmission Planner and Resource Planner’s forecasts shall each clearly document how the Demand and energy effects of DSM programs (such as conservation, time-of-use rates, interruptible Demands, and Direct Control Load Management) are addressed.

- The Transmission Planner and Resource Planner shall each include information detailing how Demand-Side Management measures are addressed in the forecasts of its Peak Demand and annual Net Energy for load in the data reporting procedures of Standard MOD-016-0_R1.

- The Transmission Planner and Resource Planner shall each make documentation on the treatment of its DSM programs available to NERC on request (within 30 calendar days).

- Measures

- The Transmission Planner and Resource Planner forecasts clearly document how the demand and energy effects of DSM programs (such as conservation, time-of-use rates, interruptible demands, and Direct Control Load Management) are addressed.

- The Transmission Planner and Resource Planner information detailing how Demand-Side Management measures are addressed in the forecasts of Peak Demand and annual Net Energy for Load are included in the data reporting procedures of Reliability Standard MOD-016-0_R1.

- The Transmission Planner and Resource Planner shall each provide evidence to its Compliance Monitor that it provided documentation on the treatment of DSM programs to NERC as requested (within 30 calendar days).

- Compliance

- Compliance Monitoring Process

  - Compliance Enforcement Authority

Compliance Monitor: Regional Reliability Organization

  - Compliance Monitoring Period and Reset Time Frame

On request (within 30 calendar days).

  - Data Retention

None specified.

  - Compliance Monitoring and Assessment Processes

Compliance Audits

Self-Certifications

Spot Checking

Compliance Violation Investigations

Self-Reporting

Complaints

Periodic Data Submittals (if periodic reporting is listed, the reporting interval must be specified)

Exception Reporting (if exception reporting is listed, the conditions for the report must be specified)

  - Additional Compliance Information

None.

- Violation Severity Levels

| - R # | - Lower VSL | - Moderate VSL | - High VSL | - Severe VSL |
| --- | --- | --- | --- | --- |
|  | Documentation on the treatment of DSM programs in the demand and energy forecasts was provided, but was incomplete. | - Not applicable | - Not applicable | Documentation on the treatment of DSM programs in the demand and energy forecasts was not provided. |

- Regional Variances

- For MOD-021, removal of the LSE Applicability will ensure that there is no gap and no overlap in coverage with respect to compliance with the LSE Reliability Standards.  The ERCOT ISO as the single Resource Planner (RP) provides the data required by MOD-021 to NERC for the entire ERCOT Interconnection.  DPs and TPs in the ERCOT region cannot provide market based interruptible demand services due to PUCT Subst. Rule 25.342 (f)(2), and therefore, do not have access to all interruptible demand data for loads within their electric delivery systems.  DPs and TPs have data for any non-market based interruptible demand services within their electrical delivery system.  DPs provide such data to the TPs, which is combined with any non-market based, interruptible demand administered by the TP.  The TP then provides the aggregated data to ERCOT ISO.  The process for ERCOT ISO to obtain the data from the TP is detailed in the ERCOT Operating Guides 5.1.2.  ERCOT ISO then aggregates all of its market based interruptible demand service data with the aggregated non-market based data provided by the TPs for final delivery to NERC.

- Associated Documents

#### Version History

| Version | Date | Action | Change Tracking |
| --- | --- | --- | --- |