## Slide 1: QSE Managers Working Group
Meeting Notes
9 January, 2009
Report to WMS
28 January, 2009
David Detelich - Chairperson

## Slide 2: QSE Managers Working Group Agenda
ERCOT Operations Issues
  WGRPP Forecast process improvements
  WGRPP Forecast accuracy analysis
  Non-spin deployments from off line units
  Ramp rate constraints of a QSE when ERCOT ends an OOME instruction
Optimal Procurement of Ancillary Services assignment from TAC
WGR only QSE Scheduling Metric – Congestion Management

## Slide 3: WGRPP Forecast process improvements
Scheduled implementation is end of January
AWS Truewind needs digital certificate
Data will be available in TML as a report for manual download an in PI for programatic download.
Emails will continue until every company no longer needs it
Market notice to be issued 10 days prior to implementation

## Slide 4: WGRPP Forecast accuracy analysis
MET data
  is being used by AWS Truewind internally
  data quality issues still exist.
  ERCOT will work with AWS Truewind to verify the MET data
Accuracy reports reviewed
  Percent error with actual output as denominator
  Percent error with capacity as denominator (an industry standard)
  MW error – used for Net Load calculation
There are targets in place for AWS Truewind
ERCOT will start presenting reports at ROS meetings along with load forecast MAPE .

## Slide 5: Other ERCOT Operations issues
Non-spin deployments from off line units
  No action taken
Ramp rate constraints of a QSE when ERCOT ends an OOME instruction
  More discussion on topic
  A PRR will be prepared for comments

## Slide 6: Optimal procurement of Ancillary Services assignment from TAC
2009 ERCOT Methodologies for Determining Ancillary Service Requirements
Non-Spinning Reserve Service (NSRS) Requirement Details
  Data and analysis from ERCOT reviewed
  Duration curve of on-line capacity
  Analyze 4-hour categories for sizing the NSRS
Discuss proposed alternatives to the current methodology

## Slide 7: Duration Curve of On-line Capacity

## Slide 8: Risk Assessment Tool
This is a funded project by ERCOT
  Daily tool for all services
  Wind generation capacity factor
  Units on line and forced outage rate
  Load error and wind error
  AWST event forecaster
This tool is in development to be used in future AS methodology

## Slide 9: 4 hour blocks for NSRS sizing
This analysis results in less total capacity purchased.
ERCOT to continue analysis and propose in future AS methodology

## Slide 10: Issues with varying the NSRS daily
Timing of posting the AS obligations
  May not have analysis until later in Day Ahead
  Run a supplemental AS market almost daily?
Varying daily amounts could affect resource planning and price volatility

## Slide 11: QMWG Statement on NSRS Procurement – updated at WMS
WMS believes the procurement of NSRS as described in the 2009 ERCOT Methodologies for Determining Ancillary Service Requirements has improved using the Net Load concept and current tools available. WMS endorses changing from on-peak/off-peak periods to the 4 hour blocks for NSRS sizing. WMS further agrees alternatives that ERCOT is developing will further optimize the procurement of NSRS.

## Slide 12: WGR only QSE Metrics – OC1 Control issue
The offset is used for balancing the power balance across the system
OC1 limit control is used to reduce the flow on the CSC
ERCOT produced examples of the unpredictable response provided from WGR QSE’s
Is a deployment metric or an energy schedule accuracy metric needed

## Slide 13: QMWG – Future Agenda Items
ERCOT Operations Issues
  Review accuracy reports
WGR only QSE Metrics
  Hourly scheduling metric
  Discussion of metrics to impact congestion management
Next Meeting: 2/_/2009