| PRR Number | 776 | PRR Title | Automatic MCPE Adjustment During Intervals of Non-Spinning Reserve Service Deployment |
| --- | --- | --- | --- |
| Date |  | February 03, 2009 |  |
| Submitter’s Information |  |  |  |
| Name |  | Brandon Whittle |  |
| E-mail Address |  | Brandon.whittle@db.com |  |
| Company |  | DB Energy Trading |  |
| Phone Number |  | 512.484.9114 |  |
| Cell Number |  | 512.484.9114 |  |
| Market Segment |  | Independent Power Marketer (IPM) |  |

Comments

| Overall Market Benefit | Provides transparency by allowing all Market Participants to access current MCPEs. |
| --- | --- |
| Overall Market Impact |  |
| Consumer Impact |  |

These comments propose Protocol Language to address concerns presented in the 11/12/08 DB Energy Trading comments to PRR776, which are summarized in the following excerpt:

Without clear notification of Non-Spin, PRR 776 as approved by PRS is unworkable, as are other options.   An undue advantage will be given to those QSEs with Non-Spin Deployments, as they will be the only players in the market who have a reliable and timely indication that Non-spin has been deployed; therefore, these will be the only players who know the price in Real Time.

In an effort to be clear, the proposed language below uses the February 1, 2009 Protocols (specifically Section 6.7.4, Deployment of Non-Spinning Reserve Service) as a baseline, but such a modification could also be made to Luminant’s or any other party’s comments on PRR776.  It is DB’s intention that this modification be added to the PRR776 version approved by TAC.

Revised Proposed Protocol Language

6.7.4	Deployment of Non-Spinning Reserve Service

(1)	ERCOT shall deploy Non-Spinning Reserve Service (NSRS) when it predicts more than 95% of the Balancing Energy Service Up available for the Operating Hour will be deployed.

(2)	ERCOT may, in its sole judgment, deploy NSRS as necessary.

(3)	Deployment of NSRS Resources will be proportioned among suppliers.

(4)	NSRS deployment or recall instructions by ERCOT are not constrained by any ramp rate.  However, the QSE is expected to deploy or recall those instructions at a ramp rate that would comply to the instruction in thirty (30) minutes.  During a period of NSRS deployment, all energy provided by the QSE responding to the NSRS deployment will be considered instructed.

(5)	Energy from Non-Spinning Reserve capacity may be deployed in a Congestion Zone by ERCOT if, in its judgment, not enough Balancing Energy Service Up is available to satisfy reliability needs.

(6)	ERCOT will provide Notice via the Messaging System to QSEs of their obligations for NSRS energy as the QSE's Resources are selected.  Providers will be required to respond with manual or electronic acknowledgement.  Simultaneously with the posting of MCPE, ERCOT will post Non-Spin deployment amounts and locations to the MIS.

(7)	All providers of Non-Spinning Reserve Resources will provide Notification to ERCOT of their availability and level of deployment.

(8)	Once deployed, the Obligation to deliver energy will remain until ordered to stop providing by ERCOT (after not less than one hour), but not longer than the period of the service is scheduled.

(9)	NSRS may be deployed at any time in a Settlement Interval.

(10)	The QSEs providing NSRS shall meet the deployment performance requirements specified in Section 6.10.4, Ancillary Services Deployment Performance Measures.

[PRR496: Add (11) to Section 6.7.4 as follows when system change implemented.] (11) Non-Spinning Reserve Service procured from a Load Acting as a Resource Block Bid shall be deployed as a block.