## RUC Comments
Reviewer | Addressed in new Section # | Old Section # | Reviewer Comment | Analysis | ERCOT Comments
Luminant | 1.3 | 1.3 | The ERCOT System Operator – RUC Desk position is responsible for carrying out the subsequent HRUC procedures and part of DRUC procedure [describe how the responsibilities are split]. Market Operations Support Personnel The DRUC analyst is responsible for carrying out part of DRUC procedures in collaboration with ERCOT System Operator, RUC Desk [describe how the responsibilities are split]. | Accepted | Market Operations Support Personnel The DRUC analyst is responsible for creating and validating the initial DRUC case carrying out part of DRUC procedures in collaboration with ERCOT System Operator, RUC Desk. The ERCOT System Operator – RUC Desk position is responsible for carrying out the final review and approval of DRUC results and the subsequent HRUC procedures and part of DRUC procedure
Luminant | 1.4 | 1.4 | The Nodal Protocols describe a HRUC process that includes in its study period the balance of the operating day starting with the prompt hour (i.e. the top of the hour immediately following the hour in which the HRUC is executed). On the other hand, the DRUC process study period is the 24 hours of the Operating Day. Consequently, the issue of managing capacity insufficient and surplus conditions through the RUC processes must involve the concept of “eminent need for action”. Section 5 of the Nodal Protocols clearly states that ERCOT may only act on a RUC recommended de-commitment of a Resources to resolve transmission constraints that are otherwise unresolvable (5.5.2(2)). On the other hand, Nodal Protocol Section 6.5.9 implies that ERCOT may order a Resource off-line within the context of Emergency Operations. In this context, managing surplus capacity is a real time function. The question arises as to whether DRUC should ever decommit a Resource under a “managing capacity surplus” scenario. The published DRUC results should provide sufficient notice to the market to allow a market solution to the indicated surplus capacity condition. Similarly, for the HRUC, for surplus capacity conditions that begin in forward hours beyond the prompt hour (and possible an additional set of hours), the market should be allowed an opportunity to respond before HRUC dispatch instructions are issued. Of course, the latter delay in a HRUC decommit dispatch instruction, must be an ERCOT Operator determination based on the current system conditions. An argument can be made that surplus capacity decommitments should only be made by ERCOT as the result of HRUC studies. | Clarified | The procedure will be updated based on recommendation from TPTF sub group.
Luminant | 1.4 | 1.4 | The detailed implementation procedures refer to the WRUC but this process is not explicitly described in procedure section 1 and has no separate task description in procedure section 2. The WRUC process needs to be added to this procedure or, if performed elsewhere, a reference provided. | Accepted | A new section 2.23 is added
Luminant | 2.1 Step 3 | 2.1 Step 1 | By 1300 each day, perform the following: Review the forecasted generation reserves in the “Short-Term System Adequacy Report”. If capacity insufficiency or capacity surplus is detected, then prepare to resolve it by following “Managing Capacity Insufficiency” or “Manage Capacity Surplus” sections of this procedure {The purpose of the DRUC and HRUC processes is to identify this type of condition and provide a recommended commitment to resolve the conditions. If the purpose of this step is to related to a WRUC execution, then it needs to be rewritten to describe such; however, WRUC may not exercise the dispatch contemplated in the managed capacity sections referenced | Accepted | By 1400 each day, perform the following: Review the forecasted generation reserves in the “Short-Term System Adequacy Report” in MIS. If capacity insufficiency or capacity surplus is detected, then send out a Market Notification of the system condition. prepare to resolve it by following “Managing Capacity Insufficiency” or “Manage Capacity Surplus” sections of this procedure time changed from 1300 to 1400 to include the QSE updates of DAM results.
Luminant | 2.1 Step 2 | 2.1 Step 2 | By 1330 each day, perform the following: • Verify that all Etags for tomorrow are approved. • Determine if the DC Tie load/generation is reasonable {define the criteria for reasonable}. If NOT, contact the corresponding QSE. | Accepted | By 1330 each day, perform the following: • Verify that all Etags for tomorrow are approved. • Determine if the DC Tie load/generation is with in the DC Tie limit. reasonable If NOT, contact the corresponding QSE.
Luminant | 2.1 Step 2 | 2.1 Step 2 | By 1330 each day, perform the following: • Verify that the sum of the HSL of WGR in COP is comparable to the forecasted Wind-powered Generation Resource Production Potential. [Display for this is not built yet]. Check with the ERCOT System Operator - RUC Desk to contact the Wind Forecast provider if the wind forecast needs to be revised due to errors in the Wind Forecast. Notify the QSEs to update the COP if there is considerable difference. Define comparable criteria and considerable difference. Note: Since RUC uses the current wind forecast for the study period, why perform this step?. | Clarified | By 1330 each day, perform the following: • Verify that the sum of the HSL of WGR in COP is comparable to with in 1% of the forecasted Wind-powered Generation Resource Production Potential. [Display for this is not built yet]. Check with the ERCOT System Operator - RUC Desk to contact the Wind Forecast provider if the wind forecast needs to be revised due to errors in the Wind Forecast. Notify the QSEs to update the COP if sum of the HSL of WGR in COP is greater by more than 1% of WGRPP. there is considerable difference. RUC does not directly use the wind forecast. Rather, RUC relies on the QSEs updating the HSL values in the WGR COPs.
Luminant | 2.1 Note | 2.1 Note | By default, Resources without an entry in COP are considered to have a Resource Status of OUT and are unavailable in RUC Procedure. | Accepted
Luminant | 2.1 Step 3 | 2.1 Step 3 | By 1400 each day, perform the following: • Contact QSEs that have NOT submitted a COP for any Resources that is considered to have a significant impact {define significant impact} on the DRUC Procedure results. | Accepted | By 1400 each day, perform the following: • As time permits, contact QSEs that have NOT submitted a COP for the DRUC study period. any Resources that is considered to have a significant impact {define significant impact} on the DRUC Procedure results. | Ensure that compliance is notified of repeated issues
Luminant | 2.1 Step 3 | 2.1 Step 3 | By 1400 each day, perform the following: • Verify that QSEs have updated the Resource Status in COP to reflect the Forced Outages, if any happens shown in the Outage Scheduler. If NOT, contact the ERCOT System Operator - RUC Desk to make contact the appropriate QSE. Is the source for this check the Outage Scheduler? If so, state this fact. | Clarified | Verify that QSEs have updated the Resource Status in COP to reflect the Forced Outages, if any happens shown in the Outage Scheduler., shown in the Forced Outage Detector in EMS. If NOT, contact the ERCOT System Operator - RUC Desk to make contact the appropriate QSE. Is the source for this check the Outage Scheduler? If so, state this fact
Luminant | 2.1 Step 3 | 2.1 Step 3 | By 1400 each day, perform the following:. • Contact the ERCOT System Operator - RUC Desk (Is this a Real Time Desk?} to get the list of Resources that need to be committed/ de-committed for Voltage issues as identified in Outage Notes or for incorporating an Emergency VDI and WRUC recommendations {WRUC may result in an Operator making a decision to issue an emergency condition dispatch instruction but it is an Operator choice and as such the WRUC input needs to be described in the Business Process associated with the Real Time market operations.}. | Clarified | By 1400 each day, perform the following:. • Contact the ERCOT System Operator - RUC Desk (Is this a Real Time Desk?} to get the list of Resources that need to be committed/ de-committed for Voltage issues as identified in Outage Notes or for incorporating an Emergency VDIs and WRUC recommendations System Operations is planning to have a separate desk dedicated to RUC operation. WRUC recommendations of committing Resources with long lead time could be included in DRUC for settlements. This will be modififed based on input from TPTF sub group
Luminant | 3.1 | 2.1 Step 4 & 2.2 Step 4 | By 1425 each day, perform the following: • Verify the following DRUC procedure settings are correct. If NOT, make appropriate changes. o EMSI (spell out the acronym) has completed successfully with in the last hr. o The RUC study time interval is set properly o The “Execution Mode” is set to “constrained” o The current data management mode is “ONLINE”. o “Retrieve MF Interface Data”, “Retrieve MI Interface Data” and “Retrieve EMS Interface Data” flags are set to “Yes” (spell out the acronyms) | Accepted | Added in the appendix MF- Master File; MI – Market Interrface; EMS – Energy Management System; EMSI - Energy Management System Interface
Luminant | 2.1 Step 5 | 2.1 Step 5 | Nominally bBy 1430 each day but prior to executing the DRUC perform the “Verify and Correct Input Data” section of this procedure | Accepted
Luminant | 2.2 Note | 2.2 Note | At 1430, DRUC process needs to be run for the next operating day. Market Operations Support Personnel will be running this procedure in collaboration with ERCOT System Operator - RUC Desk. | Clarified | At 1430, DRUC process needs to be run for the next operating day. Market Operations Support Personnel will be running this procedure in collaboration with ERCOT System Operator - RUC Desk. This is the current plan for running the DRUC
Luminant | 2.2 Step 3 | 2.2 Step 3 | Only if Approved by the Shift Supervisor , modify the inputs for the following by executing the Modify Input sections of this procedure • Committing/De-committing Resources for VDI voltage or WRUC results or voltage issues identified in outage notes. • Forced Outages identified by QSE’s between 1400 and 1430 • Request from QSE to change its COP during the DRUC study period. • Temporary deactivation of contingency • Network data updates | Clarified | Only if Approved by the Shift Supervisor , modify the inputs for the following by executing the Modify Input sections of this procedure • Committing/De-committing Resources for VDI voltage or WRUC results or voltage issues identified in outage notes. • Forced Outages identified by QSE’s between 1400 and 1430 • Request from QSE to change its COP during the DRUC study period. • Temporary deactivation of contingency • Network data updates Removed since Operators are not allowed to change COP submitted by QSE Added note: Input modification for committing/de-committing Resources for WRUC results or voltage issues identified in outage notes should be only done if that is the only solution for resolving the issue. If there are multiple solutions then the operator should let the software make the decision and correct the results if needed.
Luminant | 2.2 Step 3 | 2.2 Step 3 | For Load and Wind Forecasting errors affecting the study period, delay the RUC execution until the Load and Wind Forecasts can be updated and market participants have had a reasonable amount of time to update their COP HSLs and Resource Statuses. I believe QSEs are required to echo back to ERCOT the wind forecast in the COP. So let RUC use the wind forecast and forego the need to execute this step. Let validation rules check for the COP update. | Clarified | RUC does not directly use the wind forecast. Rather, RUC relies on the QSEs updating the HSL values in the WGR COPs. This WGRPP approach is defined in RUC Requirement FR6.
Luminant | 1.3 | 2.3 Note | Execute DRUC --Market Operations Support Personnel will be executing this procedure in collaboration with ERCOT System Operator – RUC Desk. {define collaboration – who has what responsibility?) | Clarified | Clarification added in the introduction
Luminant | 3.1 | 2.3 Step 2 & 2.9 step 2 | Review the following intermediate results while DRUC is running. • For abnormal constraints in the NSM outputs and abnormal commitments in IUC and NCUC outputs, follow the “Resolve Unreasonable Results” section of the procedure. (spell out the acronyms) | Accepted | Added in the appendix Note : NSM – Network Security Monitor; IUC – Initial Unit Commitment; NCUC – Network Constraint Unit Commitment;
| 2.4 Step 4 | 2.3 Step 2 &3 | Review the following intermediate results while DRUC is running. • Abnormal system condition in the summary display after IUC (Initial Unit Commitment component of MMS) and NCUC (Network Constrained Unit Commitment component of MMS). o For Under Generation, prepare for following “Manage Capacity Insufficiency” procedure o For Over generation, check for COP or Load Forecast errors o For System Lambda greater than a $10, check intermediate NSM (Network Security Manager component of MMS) results for constraint violation. o If there are no security violations then check for undeliverable AS after the RUC run After the DRUC run finishes successfully, review results and take necessary action • Violated constraints - Resolve it by following the “Resolve Violated Constraints” section of this procedure.If there are no security violations then check for undeliverable AS after the DRUC execution successfully completes. | Accepted | Review the following intermediate results while DRUC is running. • Abnormal system condition in the summary display after IUC (Initial Unit Commitment component of MMS) and NCUC (Network Constrained Unit Commitment component of MMS). o For Under Generation, prepare for following “Manage Capacity Insufficiency” procedure o For Over generation, check for COP or Load Forecast errors o For System Lambda greater than a $10, check intermediate NSM (Network Security Manager component of MMS) results for constraint violation. o If there are no security violations then check for undeliverable AS after the RUC run After the DRUC run finishes successfully, review results and take necessary action • Violated constraints - Resolve it by following the “Resolve Violated Constraints” section of this procedure.If there are no security violations then check for undeliverable AS after the DRUC execution successfully completes.
Luminant | 1.3 | 2.4 Note | ERCOT System Operator - RUC Desk will be performing this procedure in collaboration with Market Operations Support Personnel. {define collaboration – who has what responsibility?) | Clarified | Clarification added in the introduction
Luminant |  | 2.4 Step 1 | Verify if there are any un-resolved security violations after DRUC execution. If so, review the notes from Market Operations Support Personnel and identify the list of Generation Resources that must be committed/de-committed for resolving violated constraints. {See Luminant general comment 1 in section 1 above.} | Clarified | The procedure will be updated based on recommendation from TPTF sub group.
Luminant |  | 2.4 Step 2 | Review the total system generation capacity problems after the DRUC run. Resolve it, if any, by following “Managing Capacity Insufficiency” or “Manage Capacity Surplus” sections of this procedure{See Luminant general comment 1 in section 1 above.) | Clarified | The procedure will be updated based on recommendation from TPTF sub group.
Luminant | 2.4 Step 3 | 2.4 Step 3 | Verify that the generic constraints are handling the voltage constraints appropriately {state how this is to be verified). | Clarified | This will be removed since the ERCOT System Operator, who activated the Generic Cosntraint will do the verification of whether the voltage issue is resolved or not.
Luminant | 2.4 Note & 2.9 Note | 2.4 Note & 2.9 Note | If the Operator disapproves the results, the results will be saved in the database for future analysis . However,and the results will not be published to MPson the MIS. | Clarified | If the Operator disapproves the results, the results will be saved in the database for future analysis . However,and the results will not be published to MPson the MIS.
Luminant |  | 2.4 Step 5 | If the results are reasonable and necessary modifications have been made, approve the results. If NOT, disapprove the results and determine whether to rerun DRUC or follow the “Manage DRUC Timeline Deviation” or “Abort DRUC Process” portion of this procedure as appropriate. The administrative process should require the Operator to recommend and the Supervisor to approve or disapprove results. Where is the manual process for resolving an AS deficiency described? | Clarified | In the current zonal process, the Day ahead operator, if needed, will consult with the supervisor. However, he has the authority to approve the results. This is the current plan for Nodal as well. It is in section 2.21 "Override Results – Resolve Ancillary Service Insufficiency"
Luminant | 2.7 Note | 2.7 Note | 2.7 Run HRUC Preprocesses• Resources without a COP entry are by default given a Resource Status of “OUT” and are thus unavailable in RUC. Operator could run “COP_UPDATE_CHECK” if needed. • Significant change in Load Forecast or Wind Forecast could result in Resource commitments in the following HRUC. Need to make sure that after a change in Load Forecast or Wind Forecast, market participants have time to react and make changes to COP. {How much time? Perhaps the better approach is to identify the latest possible start time for an HRUC, i.e 30 mins before the top of the next hour. | Accepted | 2.7 Run HRUC Preprocesses• Resources without a COP entry are by default given a Resource Status of “OUT” and are thus unavailable in RUC. Operator could run “COP_UPDATE_CHECK” if needed. • Significant change in Load Forecast or Wind Forecast could result in Resource commitments in the following HRUC. Need to make sure that after a change in Load Forecast or Wind Forecast, market participants have time to react and make changes to COP. The operator could wait up to 30 minutes before the top of the next hour to start HRUC execution.
Luminant | 2.7 Periodically monitor | 2.7 Periodically monitor | Thirty minutes after a WGRPP or Load Forecast has been posted to the MIS, contact QSEs whose updates do not reflect the WGRPP changes and any RUC procurement instructions. If a QSE is unable to commit capacity selected in DRUC/ HRUC/ VDI, determine the need for immediately procuring equivalent MW capacity elsewhere and manually initiate a HRUC. Log the event & notify the shift supervisor. | Accepted | Thirty minutes after a WGRPP or Load Forecast has been posted to the MIS, contact QSEs whose updates do not reflect the WGRPP changes and any RUC procurement instructions. If a QSE is unable to commit capacity selected in DRUC/ HRUC/ VDI, determine the need for immediately procuring equivalent MW capacity elsewhere and manually initiating an HRUC. Log the event & notify the shift supervisor.
Luminant | 2.8 Step 3 | 2.8 Step 3 | If needed, modify the inputs for the following by executing the “Modify Input” sections of this procedure • Committing/De-committing Resources • Bad/ Suspect telemetry (per section 2.14) • Request from QSE to change COP input during the HRUC study period • Temporary deactivation of contingency • Network data updates | Accepted | If needed, modify the inputs for the following by executing the “Modify Input” sections of this procedure • Committing/De-committing Resources • Bad/ Suspect telemetry (per section 2.14) • Request from QSE to change COP input during the HRUC study period • Temporary deactivation of contingency • Network data updates Removed since Operators are not allowed to change COP submitted by QSE
Luminant | 2.9 Step 3 | 2.9 Step 3 | After the HRUC run finishes successfully, review results and take necessary action • Abnormal system condition – Resolve, if any, by following “Managing Capacity Insufficiency” or “ Manage Capacity Surplus” sections of this procedure {See Luminant general comment 1 in section 1.} | Clarified | The procedure will be updated based on recommendation from TPTF sub group.
Luminant | 2.11 Step 2 | 2.11 Step 2 | Commit/De-commit Resources if needed by issuing VDI for the following • AS insufficiency from SASM (need the details for this process) | Clarified | Commit/De-commit Resources if needed by issuing VDI for the following • AS insufficiency from SASM (refer to section 2.21)
Luminant | 2.11 Step 3 | 2.11 Step 3 | Run Delivery Evaluation Function to check if any AS is undeliverable. If needed request QSE to reschedule the undeliverable AS {If this process is separate from the RUC process, why is it not referenced in the above task descriptions?} | Accepted | The step is removed since based on the current implementation, if HRUC can not be executed then it is likely that DEF can not be executed.
Luminant | 2.12 Step 1 | 2.12 Step 1 | Verify that the capacity insufficiency is also projected in the “Short-Term System Adequacy Report” for the RUC study period. If the capacity insufficiency is not apparent in this report, determine the cause and correct. In non-emergency conditions, allow at a minimum of 30 minutes for the Market Participants to react to changes in system conditions. Since the Short Term System Adequacy Report covers a period beyond the RUC study periods, you need to be clear about actions to be taken. If the capacity insufficiency arises in the RUC study period (i.e. an abnormal RUC result), depending on the eminent need criteria, operator action may or may not be required. If WRUC is unable to procure indicates a shortage of Resources to meet the load projected in the Seven Day Load Forecast, then issue Market Notice: “The ERCOT <DRUC /HRUC> software has identified capacity insufficiency for HE <Hours Ending> of <MM/DD/YY>. Submit/update COP, if needed, for all hours of <MM/DD/YY> ” | Accepted | Verify that the capacity insufficiency is also projected in the “Short-Term System Adequacy Report” for the RUC study period. If the capacity insufficiency is not apparent in this report, determine the cause and correct. In non-emergency conditions, allow at a minimum of 30 minutes for the Market Participants to react to changes in system conditions. If WHRUC/DRUC is unable to procure indicates a shortage of Resources to meet the load projected in the Seven Day Load Forecast for the HRUC/DRUC study period, then issue Market Notice: “The ERCOT <DRUC /HRUC> software has identified capacity insufficiency for HE <Hours Ending> of <MM/DD/YY>. Submit/update COP, if needed, for all hours of <MM/DD/YY> ”
Luminant | 2.13 Step 1 | 2.13 Step 1 | In the unlikely event that RUC has identified over generation for any hour and there is a resulting transmission constraint violation that can only be resolved by a Resource decommitment dispatch instruction, issue Market Notice: “The ERCOT <DRUC /HRUC> software has identified over generation for HE <Hours Ending> of <MM/DD/YY>. Update COP, if needed, for all hours of <MM/DD/YY> ” | Clarified | In the unlikely event that RUC has identified over generation for any hour and there is a resulting transmission constraint violation that can only be resolved by a Resource decommitment dispatch instruction, issue Market Notice: “The ERCOT <DRUC /HRUC> software has identified over generation for HE <Hours Ending> of <MM/DD/YY>. Update COP, if needed, for all hours of <MM/DD/YY> ” These are two different situations
Luminant | 2.13 Note & 2.18 Note | 2.13 Note & 2.18 Note | 2.13 Manage Capacity Surplus- Qualifying Facilities and nuclear generation should may only be de-committed as the last resort. When de-committing Resources which are committed by RUC document in the operator logs, the reason for manual de-commitment of the Resource and the reason why RUC committed the Resource. | Accepted
Luminant | 2.16 Note | 2.16 Note | Modify Input – Manually Commit/De-commit Resources Commitment instruction for Generation Resources with long lead time which won’t be considered in HRUC/DRUC and are committed in WRUC can be communicated to QSE through RUC results (by manually committing the Resource in RUC input) or issuing VDI. Entering the commitment as RUC input is the preferred method since the commitment will be then considered in the RUC optimization. Modify the input only if there is a specific and single commitment plan for resolving the problem. If there are multiple solutions, then use the RUC results. If the operator is not satisfied with the result of the RUC, the operator may override the results with any solution desired provided such is documented in the Operator Log.The process should be the operator recommends and the supervisor approves. | Clarified | Modify Input – Manually Commit/De-commit Resources Commitment instruction for Generation Resources with long lead time which won’t be considered in HRUC/DRUC and are committed in WRUC can be communicated to QSE through RUC results (by manually committing the Resource in RUC input) or issuing VDI. Entering the commitment as RUC input is the preferred method since the commitment will be then considered in the RUC optimization. Modify the input only if there is a specific and single commitment plan for resolving the problem. If there are multiple solutions, then use the RUC results. If the operator is not satisfied with the result of the RUC, the operator may override the results with any solution desired provided such is documented in the Operator Log.The process should be the operator recommends and the supervisor approves. In the current zonal process, the Day ahead operator, if needed, will consult with the supervisor. However, he has the authority to approve the results. This is the current plan for Nodal as well.
Luminant | 2.16 Note | 2.16 Note | The manually committed Resource is considered as Must-Run Resource.{These are not must run resources, there is no contract and they are not settled as must run resources. They are RUC committed resources and settled as such.} If manual commitment does not satisfy the temporal constraints, then the Unit Commitment (UC) module will try to meet the temporal constraints. If UC can not solve these constraints then it will fail to reach a solution and stop. | Clarified | The manually committed Resource is considered as Must-Run Resource in RUC optimization.{These are not must run resources, there is no contract and they are not settled as must run resources. They are RUC committed resources and settled as such.} If manual commitment does not satisfy the temporal constraints, then the Unit Commitment (UC) module will try to meet the temporal constraints. If UC can not solve these constraints then it will fail to reach a solution and stop. They are “must run” as far as RUC is concerned. This has no impact on Settlements.
Luminant | 3.1 | 2.16 Step 5 | In the Operator Manual Commitment section of DSI (?), for the selected Resource and for the required hours, • update the “Reason” column • change the status from “AUTO” to “ON” for committing and • change the status from “AUTO” to “OFF” for de-committing. | Accepted | Added in the appendix DSI - Dispatch Scheduler Initialization
Luminant | 3.1 | 2.17 | Review the effect of the contingency in EMS STNET (?) considering the Outages, Load Distribution factors, Generation MW/commitment/de-commitment pattern and the Seven Day Load forecast conditions similar to the interval in which the constraint is found unreasonable. | Accepted | Added in the appendix STNET - EMS Study Network Application
Luminant | 2.18 Step 4 | 2.18 Step 4 | 2.18 Resolve Violated Constraints Identify the list of Generation Resources that will not worsen other constraint??? ??? also. If there are no Resources with “Participating in other Constraints” column as “No” then select Resource such that committing/ de-committing of which will have minimal impact on other constraints. | Accepted | 2.18 Resolve Violated Constraints Identify the list of Generation Resources that will not worsen other binding/violated constraint??? ??? also. If there are no Resources with “Participating in other Constraints” column as “No” then select Resource such that committing/ de-committing of which will have minimal impact on other constraints.
Luminant | 2.21 step 1 | 2.21 step 1 | For each type of AS insufficiency, select Resources for which the corresponding AS Qualification is “Y”; COP status and RUC status are “OFF” and the sum of AS available capacity is greater than or equal to the insufficiency amount. Specify the criteria for Resource selection – i.e. random or some other criteria. | Accepted | The criteria is not specified since the Operator is selecting the Resources under emergency in a time crunched situations. If time permits the operator should try to select Resources randomly while meeting the requirement with minmum number of commitments.
ERCOT | 2.21 Step 4 & Note | 2.21 Step 4 | Specify how the QSE wil be informed that the commitment was for AS. | Accepted | Commit the selected Resource by following the “Override Results – Commit/De-commit Resources” section of this procedure. In the RUC commitment/ de-commitment summary section of DSP, Specify the Reason Code as “Procured for providing <AS amount>MW of <AS type>” Issue a VDI to the QSE to inform about the AS procurement. Note: The reason code entered in the RUC commitment/ de-commitment summary section of DSP will be part of the XML commitment message to the QSE.