| PRR Number | 776 | PRR Title | Automatic MCPE Adjustment During Intervals of Non-Spinning Reserve Service Deployment |
| --- | --- | --- | --- |
| Date |  | November 24, 2008 |  |
| Submitters’ Information |  |  |  |
| Name |  | Brad Belk on behalf of the Wholesale Market Subcommittee (WMS) |  |
| E-mail Address |  | Brad.Belk@lcra.org |  |
| Company |  | LCRA |  |
| Phone Number |  | 512-473-3577 |  |
| Cell Number |  |  |  |
| Market Segment |  | Cooperative |  |

Comments

WMS discussed PRR776 at its November 19th meeting.  Upon examination of the issues around PRR 776 WMS finds that the BES Substitution & NSRS Deployment Floor Methodology proposal is a better alternative than PRR776 and endorses it.  In addition WMS recommends that the ERCOT market move forward expeditiously with shortage pricing mechanism similar to that proposed by Independent Market Monitor (IMM).  WMS has concerns that are not resolved regarding the timely implementation of this proposed solution in relation to PRR776.    If the Impact Analysis for this alternative estimates a lengthy implementation period, a temporary alternative may be needed.

BES Substitution & NSRS Deployment Floor Method

- Modify NSRS deployment procedures such that NSRS scheduled from units that are (1) online; or (2) offline and qualified to provide UBES have an obligation to offer such NSRS capacity in the UBES market.

- Offline resources providing NSRS that are not qualified to provide UBES will continue to be deployed via instruction from ERCOT.

- An offer floor of $FIP * 18 will be applied to the quantity of NSRS obligation from online resources that is offered as UBES in each zone.

- PRR 650 would be repealed and no further price corrections would be applied.

- BES Substitution above except that when actual 30 minute NSRS is deployed, a floor price for MCPE will be established equal to 120 + 15 * FIP.

Proposed Protocol Language Revision

None.