| PRR Number | 798 | PRR Title | Update Trading Hub Conversion |  |
| --- | --- | --- | --- | --- |
| Timeline | Urgent | Recommended Action |  | Approval |
| Date of Decision |  | February 5, 2009 |  |  |
| Protocol Sections Requiring Revision |  | 7.9.2.6, ERCOT Bus Average 345 kV Trading Hub 7.9.3.4, Scheduling of Transactions Using ERCOT Trading Hubs |  |  |
| Proposed Effective Date |  | Upon Board approval. |  |  |
| Priority and Rank Assigned |  | Not applicable |  |  |
| Revision Description |  | This Protocol Revision Request (PRR) synchronizes the ERCOT Protocols to reflect the 2009 Commercially Significant Constraint (CSC) definitions, approved by the ERCOT Board on October 21, 2008, as it affects the Trading Hub calculations for 2009 (several transmission buses moved between Congestion Zones). As such, the calculation for converting transactions at Trading Hubs to existing Congestion Zones is revised. |  |  |
| Overall Market Benefit |  | Provides the correct Congestion Zone to Trading Hub conversion factors. |  |  |
| Overall Market Impact |  | None. |  |  |
| Consumer Impact |  | None. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed PRR798 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 1/12/09, PRR798 and its Impact Analysis were posted. - On 1/14/09, PRS granted PRR798 Urgent status via email vote - On 1/22/09, PRS considered PRR798 and its Impact Analysis. - On 2/05/09, TAC considered PRR798. |  |  |
| PRS Decision |  | On 1/22/09, PRS voted to recommend approval of PRR798 as submitted and endorse and forward PRR798 and the Impact Analysis to TAC. There was one abstention from the Investor Owned Utility (IOU) Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 1/22/09, it was suggested that a PRR be introduced after the annual establishment of Congestions Zones to ensure the Protocols are aligned with the Trading Hub calculations. |  |  |
| TAC Decision |  | On 2/05/09, TAC voted to recommend approval of PRR798 as recommended by PRS. There were two abstentions from the IOU and Independent Retail Electric Provider (IREP) Market Segments. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 2/05/09, there was discussion regarding the need for ERCOT to reassess the matrix in Section 7.9.3.4 should the Public Utility Commission of Texas (PUCT) grant the appeal of the 2009 CSC designation. |  |  |

Quantitative Impacts and Benefits

| Assumptions | 1 | Minor configuration change for ERCOT, no system impact to market. |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Proper hub price calculation. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

| Original Sponsor |  |
| --- | --- |
| Name | Carrie Tucker |
| Company | ERCOT |
| Market Segment | Not applicable. |

Proposed Protocol Language Revision

7.9.2.6	ERCOT Bus Average 345 kV Trading Hub

(1)	The ERCOT Bus Average 345 kV Trading Hub is composed of the buses listed in Section 7.9.2.1, North 345 kV Trading Hub, Section 7.9.2.2, South 345 kV Trading Hub, Section 7.9.2.3, Houston 345 kV Trading Hub and Section 7.9.2.4, West 345 kV Trading Hub.

(2)	Until superseded by implementation of a different market design for the ERCOT market (e.g., a nodal market design), the ERCOT Bus Average 345 kV Trading Hub Price for each interval shall approximately consist of a fifty-six percent (56%) weighting applied to the North 345 kV Trading Hub price, a twenty-two percent (22%) weighting applied to the South 345 kV Trading Hub price, a thirteen percent (13%) weighting applied to the Houston 345 kV Trading Hub price, and a nine percent (9%) weighting applied to the West 345 kV Trading Hub price.  For the exact weights, please refer to Section 7.9.3.4, Scheduling of Transactions Using ERCOT Trading Hubs.

7.9.3.4	Scheduling of Transactions Using ERCOT Trading Hubs

(1)	Until ERCOT’s scheduling system is updated to automatically convert transactions involving Trading Hubs into transactions involving Congestion Zones, QSEs having any transaction involving an ERCOT Trading Hub shall convert each such transaction to one that can be expressed as a scheduled transaction between existing Congestion Zones.

(2)	Market Participants shall use the following matrix to convert transactions at Trading Hubs to existing Congestion Zones:

|  | 2009 Congestion Zone |  |  |  |
| --- | --- | --- | --- | --- |
| Trading Hub | North | South | Houston | West |
| North | .976 | 0.024 |  |  |
| South |  | 0.97 | 0.03 |  |
| Houston | 0.050 |  | 0.950 |  |
| West | 0.235 |  |  | 0.765 |
| Bus Average | 0.571 | 0.221 | 0.123 | 0.085 |
| ERCOT Average | 0.315 | 0.249 | 0.245 | 0.191 |