| PRR Number | 796 | PRR Title | Resource Plan Performance Metrics Revision |
| --- | --- | --- | --- |
| Date |  | February 9, 2009 |  |
| Submitter’s Information |  |  |  |
| Name |  | Victor Barry |  |
| E-mail Address |  | victor.barry@texasre.org |  |
| Company |  | Texas Regional Entity (TRE) |  |
| Phone Number |  | (512) 275-7416 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not applicable. |  |

Comments

After review, Texas Regional Entity (TRE) recommends rejection of PRR796.  There is a misunderstanding as to what Resource Plan Performance Metrics represent and how they are calculated.  The Resource Plan Performance Metrics are measures of Day Ahead information and Schedules and have no correlation to Real Time performance or any actions taken in Real Time.  As such, none of the changes are applicable or valid.