## Slide 1: Wind Operations Task Force
Overview for ROS Feb 2009 mtg:
WOTF has drafted a scope for ROS to consider.
WOTF recommendations for Chair & Vice Chair:
    Chair – Mark Garrett (Direct Energy)
    Vice Chair – Mark Soutter (Invenergy)
WOTF makes no recommendation on WOTF vs WOWG.
WOTF is continuing work on issues #1a/b/c, 1d, 3e, and 5.

## Slide 2
Wind Operations Task Force – status on #1a/b/c
Issue 1a/b/c: Better defined voltage support requirements & practices, and SCADA control
Phase 1 is a survey by staff of existing capabilities, and was just completed in Jan.
Phase 2 was holding the Wind Workshop II on Aug 22 (complete).
WOTF has begun brainstorming on possible action item for Phase 3. The main item being discussed:
Possible improvements in better coordination of all data requests and requirements. The WOTF has established a Modeling Subgroup, led by Brad Schwarz (E.On). It met first on Jan 22, drafting a list of data requirements and discussing the merits of detailed vs equivalanced subtransmission models. It will meet again on Feb 25 (prior to WOTF 2/26 mtg).

## Slide 3
Wind Operations Task Force – status on #1d
Issue 1d: Generation Interconnection Checklist
Part 1 is complete – development of the Nodal readiness metric.
Part 2 – review of a voltage control test, prequalification, and synchronization test requirements – The WOTF is still waiting on a first draft from staff. Staff has a draft under consideration. See Operating Guide 3.1.4.3 -- Unit Reactive Capability Testing.

## Slide 4
Wind Operations Task Force – status on #3e
Issue 3e: Evaluating possible coordination of transmission line outages.
CMWG helped develop, PRS has approved, and TAC is considering PRR 795: “90-Day Transmission Outage Scheduling Timeline” to cover TCR deadlines. This should be effective March 1.
The CMWG is not drafting any further developments at this time, waiting to see the results of PRR 795.
The WOTF has kept this issue open as a placeholder to consider the reliability aspects of a coordination proposal if one was developed by the marketing group.

## Slide 5
Wind Operations Task Force – status on #5
Issue 5: Alternate solutions to high frequency conditions
OOM instructions to wind resources – Staff will continue to use OOM instructions under selected conditions, but isn’t seeking further codification into the Operating Guides.
Governor Response – Since Type 3 & Type 4 wind turbines can possibly provide such service, how can this capability be utilized? The WOTF discussed a possible requirement for future wind farms to be able to provide governor response service, and will likely be drafting a PRR to cover this.
Reg down bids – Response capability is technology specific; and protocol changes would be necessary. How can we measure response of an intermittent resource? The WOTF will be discussing a white paper next month.

## Slide 6
Wind Operations Task Force – further discussion
Unassigned Issue: Possible overreliance on N-0 SPSs
SPSs to run back wind resources – The WOTF discussed concepts for a potential Op Guide revision for “N-0” SPSs. With 70 wind farms using the “No Bid” flag, staff has had to deal with numerous daily local congestion in an individual manual manner. The question is: Can very selective line flow information be provided to a WGR to give a more flexible guidance before tripping occurs? Staff is drafting an OGRR for consideration by the OGRTF.

## Slide 7
Wind Operations Task Force – upcoming
The next WOTF mtgs will be Thurs Feb 26 & Tues March 31.
The next WOTF Modeling Subgroup mtg will be Wed Feb 25.
An e-mail list at lists.ercot.com will be established for the group shortly.