## Slide 1
NERC Reliability Standard EOP 001
RE: Interpretation of “Adjacent”
Has the potential to have major impact in compliance efforts with many other NERC Reliability Stantards
Notes: <number>

## Slide 2
There is a Proposed Interpretation of NERC Reliability Standard EOP-001 that is open for pre-ballot comment.
http://www.nerc.com/filez/standards/EOP-001-0_Interpretation_RECM.html
This was requested by Regional Entity Compliance Managers
4 Questions were posed for Interpretation:
The ERCOT region should be concerned about the interpretation of Question 2.
2. What was intended by using the adjective “adjacent” in Requirement 1? Does “adjacent Balancing Authorities” mean “All” or something else? Is there qualifying criteria to determine if a very small adjacent Balancing Authority area has enough capacity to offer emergency assistance?
Notes: <number>

## Slide 3
Original Interpretation said adjacent meant interconnected by AC ties
Revised Interpretation removed the limitation to AC ties and refers to the NERC Glossary of Terms definition of Adjacent Balancing Authority, which does not differentiate between AC ties and DC ties
The Interpretation no longer addresses Interconnections which are interconnected ONLY by DC ties
Notes: <number>

## Slide 4
WHY IS THIS A CONCERN?
The words “adjacent” and “neighboring” are used frequently (about 50 times at our count) in NERC Reliability Standards to require the establishment of relationships or actions between registered functional entities
The context typically is that the adjacent or neighboring entities will impact one another on a synchronous basis. (i.e., changes on one system will influence the other system because they are synchronously connected)
DC Ties between Interconnections do not meet that context – because flows across DC ties remain at their scheduled values and do not impact the “other side” of the ties
Notes: <number>

## Slide 5
ERCOT ISO recommends that ERCOT Market Participants enter the Ballot Body and submit comments on this proposed interpretation.
Recommend each organization comment that the interpretation should clarify that “adjacent” and “neighboring” means –
Applies to registered functional entities with AC ties or DC ties within an Interconnection, and does not apply to DC ties between Interconnections
Notes: <number>

## Slide 6
Without a return to the initial wording:
There are many standard requirements which ERCOT ISO believes would be unnecessary and burdensome for ERCOT, because we have no “adjacent” or “neighboring” functional entities which influence our system or which our system impacts
The interpretation of those standard requirements would cause development of numerous agreements between ERCOT and other functional entities outside the ERCOT Interconnection – with no impact to reliability
Irrelevant actions such as weekly conference calls, notifications, sharing and monitoring of limits and methodologies would be required to be compliant.
Notes: <number>

## Slide 7
Cross Reference of Standards with “adjacent” or “neighboring”
Adjacent | 
Standard | Requirements
BAL-005-0b | R9, R12, R14
BAL-006-1 | R2, R3, R4, R4.1, R4.3, R5
EOP-001-0 | R1, R4.3
EOP-005-1 | R11.5.3
EOP-006-1 | R5
FAC-010-1 | R4.1
FAC-011-1 | R2.1
FAC-012-1 | R2.1
FAC-014-1 | R5.3, R5.4
INT-006-2 | R1.1.3
IRO-001-1 | R7
IRO-002-1 | R2
IRO-003-2 | R1
IRO-004-1 | R2
IRO-005-1 | R16
IRO-015-1 | R2
MOD 001 | R1.7
MOD 004 | R2
MOD 028 | R2.2, R3, R4.3, R6.1
MOD 030 | R2.1.2, R3.5, R4, R5.2, R6, R6.2, R6.4, R6.6, R7.2, R7.2, R7.6
TOP-001-1 | R7.3
Neighboring | 
Standard | Requirements
EOP-001-0 | R6
EOP-002-2 | R3
EOP-005-1 | R4
EOP-006-1 | R4
IRO-002-1 | R4
IRO-005-1 | R4, R10
MOD 001 | R1.7
PER-004-1 | R3
PRC-001-1 | R3.2
PRC 002 | R3.1.1
TOP-001-1 | R7
TOP-002-2 | R4, R11, R12, R18
TOP-008-1 | R3
VAR-001-1 | R1
Notes: <number>

## Slide 8
Questions
?
?
Notes: <number>