| SCR Number | 753 | SCR Title | Transmission Outage Notice Detail Enhancements |
| --- | --- | --- | --- |
| Date |  | January 26, 2009 |  |
| Submitter’s Information |  |  |  |
| Name |  | John Jonte on behalf of the Operations Working Group (OWG) |  |
| E-mail Address |  | john.jonte@CenterPointEnergy.com |  |
| Company |  | CenterPoint Energy |  |
| Phone Number |  | (713) 207-2252 |  |
| Fax Number |  |  |  |

Comments

At its 1/20/09 meeting, the OWG reviewed System Change Request (SCR) 753 and recommends that this report be available three (3) days after the end date.  The OWG also recommends that the following detail be provided:

Last Revised – The date of the most recent status change.

Additionally, the OWG recommends deletion of the revised query code as the changes proposed by these comments will require a revision to the code as written.

The OWG endorses SCR753 with the changes noted in this SCR Comment document.

Business Case for Proposed System Change

Issue:

ERCOT’s publication of transmission Outage data can be made more useful to Market Participants through the publication of additional information points already in ERCOT’s database.

Resolution:

Reliant proposes the publication of the additional information.  ERCOT shall make this information available for three (3) days after expected end date:

Outage Id – ERCOT’s assigned numeric label for each Outage noticed.

Date Posted – Dates will ease tracking of transmission Outage notice changes.

Last Revised –The date of the most recent status change.

Specify “Cancelled” Items – An additional status code of “C” for cancelled would display a status of “Cancelled” under the existing “Status” column.