Menard – SAPS

CRE Analysis

Here are the results of the Protocol CRE tests for SAPS-Menard. As expected it passes the good least squares fit test, but does not pass the generation changing zones test. Re-clustering creates a small “Central” zone with no generation and then combines South and Houston.  In other words, SAPS-Menard does not fit West-North very well and is better suited as a West-South CSC.

| Results_Table |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| CRE_Candidate | CRE_Candidate_CSC | Gen_Changed_Zone | Max_b | Less_Then_1500MW_Changed_Zone | Good_Least_Squares_Fit |
| CRE_6480_6375_1_Results_Table | CSC_1 | 23250.800019 | 4.73213452830179E-02 | False | True |