## Slide 1: Congestion Management Work Group Update
Presented to WMS February 2009
Marguerite Wagner, PSEG, TX

## Slide 2: Feb Work Summary
Progress Report
Met 2/6
Items Discussed
  Recommended Chair/Co-Chair
  ERCOT CCT Tool Update
  Quarterly Outage Tracking Update
  ERCOT Local Congestion Management

## Slide 3: ERCOT CCT Update
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09

## Slide 4: Quarterly Outage Update
% = (# Sig Scheduled Outages) / (# Historical annual outages)

## Slide 5: Local Congestion Management
Resource Plan Nonbid Flag
  When checked Remove resource from system deployments for local cong mgmt
ERCOT Local Constraint Tools
  Local Balancing Instructions Category 3 & 4 OOMC, OOME
IMM noted that most local congestion is managed through OOME
Challenging conditions – particularly in W Zone

## Slide 6: Manual vs. System Deployment
Limits opportunity for most efficient congestion management solution
May result in holding OOMs beyond when necessary
Additional research is warranted

## Slide 7: Upcoming Meetings
In process of coordinating/scheduling for early March (could be 2/27 if more agenda items arise…)