## Slide 1: Revised Approach to Implementing PRR601 - 15 Minute Ramping for BES and Base Power Schedule
Troy Anderson
ERCOT Program Management Office
February 18, 2009

## Slide 2: PRR601 - Original Language and Impact Analysis History
PRR601 - 15 Minute Ramping for BES and Base Power Schedule
  PRR601 approved a change in the ramping period for Balancing Energy Service (BES) deployment and for Base Power Schedule changes from 10 minutes to 15 minutes. This would change the start time of the ramp period from 5 minutes prior to the start of a Settlement Interval to 7.5 minutes prior to the start of a Settlement Interval. It also changes the end time of the ramp period from 5 minutes after the start of a Settlement Interval to 7.5 minutes after the start of a Settlement Interval.
  Benefit - Ramping for the entire 15-minute interval will allow more BES to be deployed and may tend to reduce Regulation Service (RGS) deployment.
  Market Impact - For QSEs and Resources, systems will need to be modified to implement 15-minute ramping for base power schedules and BES.
  Original Estimate to Implement July 2005
    $100k-$500k
    4-6 months
  First Revision to Estimate December 2008
    $100k-$250k
    6-9 months (Extended timeline due to EMMS development resource constraints)
Notes: <number>
<footer>
<header>
<date/time>

## Slide 3: PRR601 - Suggested Revision to Implementation Approach
PRR601 - 15 Minute Ramping for BES and Base Power Schedule
  After review with ERCOT development staff, significant application development time can be saved by changing the start and end times of the ramp rate in relation to the start of the Settlement Interval from a decimal value (7.5) to an integer value (such as 7). There are equally significant savings if the before and after values are identical (such as 7/7).
  Revised Estimate to Implement
    $100k-$250k
    3-6 months
  Approximate Timeline – 18 weeks (4.5 months)
    4 weeks development
    4 weeks internal testing
    4 weeks external testing
    2 weeks production migration
    4 weeks contingency
    Schedule to accommodate time needed for QSE system changes (potentially 60-90 days)
  Although the revised estimate is similar to the December revision, please note that:
    The budget estimate has shifted to the low end of the range (a 30% reduction)
    The schedule is shortened significantly due to the reduction in effort of the constrained EMMS development team (~3 month reduction)
Notes: <number>
<footer>
<header>
<date/time>

## Slide 4: PRR601 - Additional Information
PRR601 - 15 Minute Ramping for BES and Base Power Schedule
  Additional Supporting Information
    Changing the data type of the value used by PRR601 to define the start time of the ramp period from decimal to integer avoids cascading impacts to database fields, application code and user interfaces
    Using the same value for the minutes before the start of the Settlement Interval and the minutes after the Settlement Interval allows ERCOT to use an existing system parameter to define the ramping time period
    Limiting the change to two equal value integers, as suggested by ERCOT, greatly reduces risk in the effort because it is consistent with the current application design
    The IMM has reiterated its support of PRR601 as a zonal enhancement
      See “Review of Proposed Zonal Market Improvements” sent out on 2/13/2009 in support of the PRR776 appeal
    ERCOT continues to search for external resources that could assist in any development effort that is approved
Notes: <number>
<footer>
<header>
<date/time>