## Slide 1: Congestion Report
Isabel Flores

## Slide 2: Background
Provide trend of local congestion costs for 2008
Costs shown in millions
  OOMC
  OOM Down
  LBE Down
  OOM Up
  LBE Up
  RPRS
MCPE trend for 2006-2008
Inter-zonal costs

## Slide 3: OOMC 2008 - $M
Million$ | South | North | Houston | West
2007 | 18.60 | 15.32 | 4.06 | 6.34
2008 | 16.76 | 21.07 | 4.07 | 9.25

## Slide 4: OOM Down 2008 - $M
Million$ | South | North | Houston | West
2007 | 4.51 | 14.90 | 2.00 | 8.89
2008 | 5.84 | 25.98 | 1.63 | 28.59

## Slide 5: Balancing Energy Down 2008 - $M
Million$ | South | North | Houston | West
2007 | 3.59 | 13.77 | 0.04 | 1.39
2008 | 5.78 | 7.18 | 0.42 | 2.80

## Slide 6: OOM Up 2008 - $M
Million$ | South | North | Houston | West
2007 | 25.20 | 1.24 | 0.37 | 3.28
2008 | 21.49 | 1.36 | 2.16 | 3.69

## Slide 7: Balancing Energy Up 2008 - $M
Million$ | South | North | Houston | West
2007 | 5.09 | 0.36 | 0.07 | 0.12
2008 | 2.46 | 0.71 | 0.16 | 1.49

## Slide 8: Local Congestion Costs 2001-2008
Million$ | OOMC | LBEDN | LBEUP | OOM Down | OOM Up
2007 | 44.35 | 18.80 | 5.65 | 30.31 | 30.27
2008 | 51.15 | 16.18 | 4.81 | 62.03 | 28.70

## Slide 9: Replacement Reserve
thousand$ | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2008 | 17.6 | 91.14 | 490.13 | 252.12 | 988.64 | 2325.21 | 1876.60 | 967.4 | 260.5 | 111.8 | 158.9 | 207.6

## Slide 10: MCPE 2006-2008

## Slide 11: Top Overloaded Elements - 2008
Austrop transformer | $ 9,035,741.79
Menard transformer | $ 6,742,796.65
Sandow-Elgin 138kV | $ 6,542,963.48
Nacogdoches transformer | $ 4,146,030.26
Big Springs Switch-Big Spring West 138kV | $ 2,638,292.61
Odessa North-North Cowden 69kV | $ 2,333,010.95
Payne Switch-Alla Hubbard 138kV | $ 1,693,094.99
Sandow-Salty 138kV | $ 1,365,960.39
Seguin-Zorn 138kV | $ 1,288,447.90
Asherton-North Laredo 138kV | $ 921,611.89
Abilene Mulberry Creek East Reactor Series 138kV | $ 891,661.99
San Angelo Red Creek 345/138kV transformer | $ 831,576.27
Athens-Elkton | $ 825,309.56

## Slide 12: Inter-zonal Congestion Costs 2008
Million$ | N_H | N_S | S_N | W_N | N_W
2007 | 39.8 | 0 | (1.5) | 4.4 | 5.1
2008 | 107.9 | 139.6 | (18.3) | 108.5 | 11.6

## Slide 13: Inter-zonal Congestion Costs 2008
Million$ | N_H | N_S | S_N | W_N | N_W
2007 | 39.8 | 0 | (1.5) | 4.4 | 5.1
2008 | 107.9 | 139.6 | (18.3) | 108.5 | 11.6

## Slide 14: Summary of Zonal Congestion Occurrences - Intervals
 | N_H |  | N_S |  | S_N |  | N_W |  | W_N | 
 | Active | Binding | Active | Binding | Active | Binding | Active | Binding | Active | Binding
Jan | 0 | 0 | 133 | 116 | 118 | 100 | 38 | 34 | 345 | 299
Feb | 0 | 0 | 112 | 109 | 36 | 28 | 205 | 170 | 587 | 541
Mar | 157 | 134 | 265 | 203 | 253 | 179 | 17 | 8 | 1143 | 1027
Apr | 718 | 621 | 215 | 154 | 276 | 212 | 43 | 38 | 802 | 703
May | 455 | 310 | 1255 | 1075 | 79 | 51 | 12 | 12 | 776 | 659
Jun | 26 | 16 | 950 | 780 | 0 | 0 | 0 | 0 | 593 | 534
Jul | 0 | 0 | 24 | 18 | 0 | 0 | 2 | 2 | 174 | 139
Aug | 7 | 7 | 16 | 16 | 0 | 0 | 4 | 4 | 14 | 13
Sep | 126 | 95 | 92 | 62 | 3 | 1 | 1 | 1 | 0 | 0
Oct | 362 | 262 | 1 | 0 | 0 | 0 | 0 | 0 | 314 | 256
Nov | 12 | 4 | 0 | 0 | 0 | 0 | 12 | 9 | 590 | 439
Dec | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 958 | 745
2007 total | 1937 | 1476 | -- | -- | 142 | 105 | 332 | 254 | 563 | 424
2008 total | 1863 | 1449 | 3063 | 2533 | 765 | 571 | 335 | 278 | 6296 | 5355

## Slide 15: Summary of Zonal Congestion Occurrences - Days
 | N_H |  | N_S |  | S_N |  | N_W |  | W_N | 
 | Active | Binding | Active | Binding | Active | Binding | Active | Binding | Active | Binding
Jan | 0 | 0 | 10 | 8 | 5 | 5 | 9 | 9 | 8 | 8
Feb | 0 | 0 | 5 | 4 | 3 | 3 | 16 | 15 | 23 | 23
Mar | 6 | 5 | 14 | 12 | 13 | 11 | 3 | 2 | 29 | 28
Apr | 16 | 16 | 18 | 16 | 11 | 10 | 4 | 4 | 27 | 27
May | 17 | 17 | 28 | 27 | 10 | 8 | 1 | 1 | 21 | 21
Jun | 1 | 1 | 26 | 26 | 0 | 0 | 0 | 0 | 12 | 12
Jul | 0 | 0 | 6 | 6 | 0 | 0 | 1 | 1 | 11 | 11
Aug | 1 | 1 | 4 | 4 | 0 | 0 | 1 | 1 | 2 | 2
Sep | 8 | 8 | 8 | 7 | 1 | 1 | 1 | 1 | 0 | 0
Oct | 18 | 17 | 1 | 0 | 0 | 0 | 0 | 0 | 13 | 13
Nov | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 18 | 17
Dec | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 22 | 22
2007 total | 81 | 77 | --- | --- | 10 | 10 | 41 | 37 | 35 | 34
2008 total | 69 | 66 | 120 | 111 | 43 | 38 | 38 | 35 | 186 | 184