## Slide 1: SCR754 WGRPP Forecasts
Cagle Lowe
Manager – Divisional Project Org.
ERCOT Wholesale Market Subcommittee
February 18, 2009

## Slide 2: SCR754-Replace Emailed WGRPP Forecasts Original System Change Proposal
Needed a more reliable solution to replace emailing of forecasts.
Understood this was a high priority for the Market and ERCOT System Operations.
Nodal had developed a solution for processing wind forecasts and sending out to WGR QSE’s.
For speed of delivery a small development & testing effort needed to migrate the Nodal code to existing Zonal backend systems which have a similar framework as Nodal.
During final testing in late January discovered that several of the Zonal backend systems are routinely taken down for maintenance several times a month over the weekend.
  No “near time” failover capability between datacenters only disaster recovery
  Forecasts would be unavailable over some weekends from 12 to 24 hours
  Downtime presents unacceptable reliability risk
  Nodal production design does not have this same risk

## Slide 3: SCR754-Replace Emailed WGRPP Forecasts New System Change Proposal
Use Zonal EMMS infrastructure
  High availability within each datacenter and failover capability between datacenters
  Leverage existing backend processes
  Use the Zonal Market User Interface (MUI) that is used today by QSE’s using queries
    Ancillary Service Requests
    Ancillary Service Obligations
    Area Load Forecasts
Effort
  Project will need to be established to manage the effort
    Greater coordination among several IT groups to implement
    More application testing since dealing with the various EMMS components
    Coordinated testing with QSE’s
    Estimated 3 months to implement, 50K-100K cost.

## Slide 4: SCR754-Replace Emailed WGRPP Forecasts Implementation Timeline