Business Process

TCR Manual Adjustments

Version 0.X Rev X

February, 2009

Document Control

Preparation

| Date | Version | Description | Author(s) |
| --- | --- | --- | --- |
| 2/24/09 | 0.01 | Initial draft for discussion. | Isabel Flores |

Document Approvals

| Date | Approved By | Approval Documented In (select) |
| --- | --- | --- |
|  |  | ___ Approval email on file ___ Signature |

Table of Contents

Document Control	2

1.	Introduction	4

1.1.	Purpose	4

1.2.	Scope	4

2.	TCR Manual Adjustments Business Processes	4

2.1.	Process Description	4

2.2.	Manual Adjustment Analysis Spreadsheet	5

## Introduction

## Purpose

This document describes the business process used by ERCOT when making manual adjustments to the Transmission Congestion Rights (TCRs) calculated for each Commercially Significant Constraint (CSC).  Protocols Section 7.5.2.2 states that “ERCOT may distribute TCRs in amounts less than the total quantities based on expectations of the frequency and magnitude of potential CSC de-rates that could occur during any particular month.”  And Protocols Section 7.5.3.1 allows ERCOT to make manual adjustments that do not exceed forty percent of the calculated for the monthly auction for each CSC.  ERCOT’s goal is to seek to achieve revenue neutrality and avoid a revenue shortfall due to payments to TCR holders for the TCRs auctioned.  The objective is to collect sufficient revenues from direct assigned Congestion costs to pay all TCR holders.

Selling fewer TCRs helps reduce the overselling of TCRs.  When TCRs are oversold, TCR Credit Payments exceed Congestion Rents and the difference is made up by the Balancing Energy Neutrality Adjustment (BENA).  Monthly TCRs are auctioned based on seasonal peak planning cases taking into account scheduled outages lasting five days or greater.  Since the TCR calculation is done months in advance, the possibility for outages to be entered into the Outage Scheduler after the TCR Auction for a particular month exists.  By analyzing real-time congestion and TCR payout data ERCOT makes manual adjustment to the TCR quantities calculated in an effort to seek revenue neutrality.

## Scope

This Business Process is defined pursuant to the duties assigned to ERCOT in Protocols Sections 7.5.2.2 and 7.5.3.1.

# TCR Manual Adjustments Business Processes

## Process Description

Since the objective is to achieve revenue neutrality the analysis performed is a review of the congestions costs assigned and the amount of payments made to TCR holders for each month in the previous six months.  The following categories are to be analyzed:

- Congestion costs assigned

- TCR payments

- TCR revenues

- TCR payments without adjustments

- TCR Revenues without adjustments

The net impact is calculated by taking the sum of the congestion costs and TCR revenues less TCR payments.

In performing the financial impact analysis the TCR Annual Auction revenues are evenly distributed throughout the year.  This analysis also includes review of any forgone revenue caused by reducing the TCRs being sold in the monthly auction as well as a comparison of what the TCR payouts would be without the adjustment.

Adjustments should not exceed forty percent of the monthly amount of TCRs calculated for each of the CSCs with available TCR amounts.

## Manual Adjustment Analysis Spreadsheet