| NPRR Number | 161 | NPRR Title | Clarification of Establishing Decision-Making Authority of Managed Capacity |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Recommended Action |  | Approval |
| Date of Decision |  | January 22, 2009 |  |  |
| Nodal Protocol Section Requiring Revision |  | 3.19.1, Annual Competitiveness Test |  |  |
| Proposed Effective Date |  | Upon the Nodal Protocol Transition Plan’s Texas Nodal Market Implementation Date, as prescribed by zonal Protocol Section 21.12, Process for Transition to Nodal Market Protocol Sections. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) clarifies Nodal Protocol language on the obligation to provide ERCOT designated decision-making authority over Resources when considering pricing safeguards and when testing for competitiveness in resolving system constraints. The NPRR aligns Nodal Protocol language with the Public Utility Commission of Texas (PUCT) Order adopting P.U.C. Subst. R. 25.502(e), Pricing Safeguards in Markets Operated by the Electric Reliability Council of Texas. |  |  |
| Overall Market Benefit |  | Provides clarification to market and ERCOT. |  |  |
| Overall Market Impact |  | Resource Entities will submit designation of decision-making authority directly to ERCOT – not through their Qualified Scheduling Entity (QSE). |  |  |
| Consumer Impact |  | None. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed PRR778 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 10/16/08, NPRR161 was posted. - On 11/17/08, TPTF comments were posted. - On 11/19/08, ERCOT comments were posted. - On 11/20/08, PRS considered NPRR161. - On 12/03/08, Luminant comments were posted. - On 12/12/08, a second set of ERCOT comments were posted. - On 12/18/08, PRS again considered NPRR161. - On 1/22/09, an Impact Analysis was posted. - On 1/22/09, PRS considered the PRS Recommendation Report and Impact Analysis for NPRR161. |  |  |
| PRS Decision |  | On 11/20/08, PRS unanimously voted to table NPRR161 until the December 18, 2008 PRS meeting. All Market Segments were present for the vote. On 12/18/08, PRS unanimously voted to recommend approval of NPRR161 as amended by the 12/12/08 ERCOT comments. The Independent Generator Market Segment was not present for the vote. On 1/22/09, PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis for NPRR161 to TAC. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 11/20/08, there was discussion about the definition of Resource Entity and if the attestation should be signed by an Officer or the Authorized Representative. There was also discussion regarding the need to submit an attestation for each Resource or if one would suffice and if there is a provision about the changes in authority. On 12/18/08, PRS noted Luminant and ERCOT comments on NPRR161. On 1/22/09, there was no discussion. |  |  |

Quantitative Impacts and Benefits

| Assumptions | 1 | No change to Nodal project Systems. |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | No cost of Market Participants. | None. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | No reduced cost to Market Participants. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | Proposed language change aligns responsibility of designating decision-making authority with registered Entity who directly owns/operates the Resource. |  |
|  | 2 | Proposed language aligns to current business process for registering Resource assets with ERCOT. |  |
|  | 3 | Proposed language aligns with P.U.C. Subst. R. 25.502(e) regarding the same designation of decision-making authority. |  |
|  | 4 |  |  |
| Other Comments | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| TPTF 111708 | Requested that ERCOT clarify the term Resource Entity as it is used in NPRR161 to specify if the attestation of decision-making authority lies with the Resource Entity that owns or controls it. |
| ERCOT 111908 | Proposed language changes to clarify that the Resource Entity who owns the Resource has the obligation to submit decision-making authority attestation. |
| Luminant 120308 | Proposed language changes so that an attestation by an officer is not necessary to substantiate information related to the control of a Generation Resource. |
| ERCOT 121208 | ERCOT endorsed Luminant’s comments and proposed that the declaration be signed by the Authorized Representative. |

| Original Sponsor |  |
| --- | --- |
| Name | Patrick Coon |
| Company | pcoon@ercot.com |
| Market Segment | Not applicable. |

Proposed Protocol Language Revision

3.19.1	Annual Competitiveness Test

(1)	The procedures for an Annual Competitiveness Test for any constrained Transmission Element during a particular month are described in this Section.  In these descriptions, “Available Capacity” for a Resource is defined as:

(a)	The High Sustained Limit (HSL) of a Generation Resource, including a Switchable Generation Resource that is not on a Planned Outage for the month (except wind powered generation), or

(b)	 For wind generation, the expected on-peak wind generation output, or

(c)	 The full import capability of the Direct Current Tie (DC Tie) lines.

(2)	Test Procedure 1 –Determine if there is sufficient competition to resolve the constraint on the import and export side by performing the following steps:

(a)	Determine the effective capacity available to resolve the constraint on the import side, as follows:

(i)	Determine Shift Factors of all Electrical Buses relative to the import terminal of the constraint as the reference Electrical Bus for the monthly peak case used to auction on-peak CRRs.  The monthly peak case must include planned transmission and generation Outages for the month.  For voltage, stability, and thermal-limited constraints, as well as interfaces represented by thermal limits on monitored Transmission Elements, the “Base Shift Factors,” which are the Shift Factors used from the monthly peak case with no other contingencies included, must be used.  For contingency-limited constraints, the Outage Shift Factors relative to the import terminal of the limiting Transmission Element must be used.

(ii)	Determine the effective Load on the export side by multiplying all Load at Electrical Buses by the corresponding Electrical Bus Shift Factors identified in step (a)(i).

(iii)	Determine the effective capacity needed to meet Load and to supply power over the constraint on the export side by:

- multiplying all Available Capacity at Electrical Buses by the corresponding Shift Factor from step (a)(i);

- stacking the effective capacity in decreasing Shift Factor order; and then

- selecting the sufficient effective capacity from the stack to meet the effective Load plus the flow limit on the constraint.  These Resources shall not be considered in determining effective Available Capacity to resolve the constraint on the import side;

(iv)	Determine the absolute value of Shift Factors of all Electrical Buses relative to the export terminal of the constraint as the reference Electrical Bus; and

(v)	Determine the effective capacity to resolve the constraint on the import side taking the sum of the products determined by multiplying, for each Resource not excluded in step (a)(iii) and having Shift Factors greater than one-third of the highest Resource Shift Factor, (A) the Available Capacity for that Resource times (B) the Shift Factor of that Resource.

(b)	Determine the effective capacity available to resolve the constraint on the export side, as follows:

(i)	Determine the absolute value of Shift Factors of all Electrical Buses relative to the export terminal of the constraint as the reference Electrical Bus.

(ii)	Determine the effective Load on the import side by multiplying all Load at Electrical Buses by the corresponding Electrical Bus Shift Factors from step (b) (i).

(iii)	Determine the effective capacity needed to meet Load less imported power over the constraint on the import side by:

(A)	multiplying all Available Capacity at Electrical Buses by the corresponding Shift Factor from step (b) (i);

(B)	stacking the effective capacity in decreasing Shift Factor order; and then

(C)	selecting the sufficient effective capacity from the stack to meet the effective Load minus the flow limit on the constraint.  These Resources are not considered in determining effective capacity available to resolve the constraint on the export side.

(iv)	Determine the Shift Factors of all Electrical Buses relative to the export terminal of the constraint as the reference Electrical Bus.

(v)	Determine the effective capacity to resolve the constraint on the export side taking the sum of the products determined by multiplying, for each Resource not excluded in step (b)(iii) and having Shift Factors greater than one-third of the highest Resource Shift Factor, (A) the Available Capacity for that Resource times (B) the Shift Factor of that Resource.

(c)	Determine the Element Competitiveness Index (ECI) on the import and export side of the constraint for the month, as follows:

(i)	Determine the total Managed Capacity by each Entity and its Affiliates on the import and export side.  “Managed Capacity” for an Entity is a Resource or Split Generation Resource for which the Entity or its Affiliates has the decision-making authority over how the Resource or Split Generation Resource is offered or scheduled (e.g., Output Schedules), in accordance with P.U.C. Subst. R. 25.502(e), Pricing Safeguards in Markets Operated by the Electric Reliability Council of Texas.  Each Resource Entity that owns a Resource shall  submit a declaration to ERCOT, using a form designated by ERCOT,  as to which Entity has the decision-making authority for each of its Resources . The declaration  shall be signed by the Authorized Representative of the Resource Entity.  In addition, each Resource Entity that owns a Resource shall notify ERCOT of any known changes in that informational submittal no later than 14 days prior to the date that the change takes effect or as soon as possible in a situation where the Resource Entity is unable to meet the 14-day notice requirement. Upon ERCOT’s request, each Resource Entity that owns a Resource shall provide ERCOT with sufficient information or documentation to verify control of the Resource.  ERCOT shall apply decision-making authority to Managed Capacity effective the first Operating Hour of the Operating Day ERCOT satisfactorily confirms the Resource Entity’s most recent informational submittal, but not sooner than the effective date specified on the Resource Entity’s most recent submittal.

(ii)	Determine the percentage of Managed Capacity by each Entity and its Affiliates on the import and export side.

(iii)	The ECI on the import side is equal to the sum of the square of the percentages of Managed Capacity by each Entity and its Affiliates on the import side.

(iv)	The ECI on the export side is equal to the sum of the square of the percentages of Managed Capacity by each Entity and its Affiliates on the export side.

(d)	If the ECI is greater than 2,000 on the import side or the ECI is greater than 2,500 on the export side of the constraint for the month, then the constraint fails the Annual Competitiveness Test for the month.

(3)	Test Procedure 2 – Determining if there is a pivotal player:

If the constraint satisfies the test for sufficient competition as described in Test Procedure 1, determine if there is a pivotal player in resolving the constraint in the manner described below:  If the constraint cannot be resolved by eliminating all Available Capacity on the import side, except nuclear capacity and minimum-energy amounts of coal and lignite capacity as determined in Test Procedure 1 that is Managed Capacity by any one Entity and its Affiliates during peak Load conditions, then a pivotal player exists.  A constraint satisfies this Test Procedure 2 if no Entity is a pivotal player.