## Slide 1: RTWG Report to TAC
March 5, 2009
Henry Durrwachter

## Slide 2: Activities to Date
Met twice in February
Developed list of potential topics for Wind Workshop III
Completed development of quarterly report to PUCT

## Slide 3: Topics for Wind Workshop III
Data Requirements for Low Voltage Ride-Through (LVRT) studies
  Data Definitions
  Data Collection
Telemetry Requirements for Wind
  Meteorological Telemetry
  Operations Telemetry (zonal)
  Operations Telemetry (nodal)
Review of Resource Asset Registration Forms (RARF) for Wind Generators
Review OGRRs, PRRs, NPRRs that impact Wind
Wind in the Nodal Market (Presentation by Floyd Trefney)
  Expectations of wind generators during nodal market operations testing
  Nodal Implementation Schedule
  Nodal Market tools to manage wind generation in the Nodal market

## Slide 4: Quarterly Report to the PUCT
As required by Final Order in Docket No. 33672
Copy of report and attachment provided to TAC for review prior to this meeting
Contents of Quarterly Report:
  Introduction
  Current Status of Wind Generation in ERCOT
  Issues Related to Increased Wind Integration
  Issues Completed This Quarter

## Slide 5: RTWG Request of TAC
Endorse the Quarterly Report dated February 2009 (and the associated attachment A – List of Issues) for discussion with the Public Utility Commission of Texas at one of the Commission Open Meetings in March, 2009.

## Slide 6: Next Steps
Work with ERCOT Operations to finalize agenda for Wind Workshop III.
Develop and begin review of whitepapers for issues in the Undetermined category.
Develop a Renewable Technologies Integration Plan (RTIP) to ensure the efficient and reliable integration of renewable generation into the ERCOT market.