## Slide 1: San Angelo Power Station to Menard 138 kV Line West to North CRE

## Slide 2: Introduction
Protocol Section 7.2.3 allows ERCOT to propose modifications to the CRE list.
Wind curtailments
Actual OOME Down Costs: Wind vs. West
Estimated OOME Down Costs for wind
CRE Analysis

## Slide 3: Protocol Section 7.2.3
During the effective year, ERCOT staff may propose modifications to the list of CREs or the approved list of contingencies for managing CSC and CRE related congestion, including the expected duration of those modifications, as needed to more closely represent actual system constraints that can be effectively resolved by Zonal Balancing Energy deployments.

## Slide 4: Wind Production and Curtailments February, 2009

## Slide 5: OOME Down $$ - Wind vs. West
Dollars shown are settlement quality.

## Slide 6: Estimated Total Wind OOME Down Costs – Jan. 2008 to Feb. 2009

## Slide 7: PTDF Analysis
Notes: <number>
<footer>
<header>
<date/time>

## Slide 8: Top 10 Generators identified to resolve congestion
Notes: <number>
<footer>
<header>
<date/time>

## Slide 9: N-0 Sensitivity Shift Factors on MENA-SAPS 138 kV on Feb. 10, 2009
Ferguson is offline with a shift factor of 0%, if online, the unit would be at approximately -5.5%.
Notes: <number>
Real-time Snapshot with Wind at 3950 MW on 02/10/09. Units offline had a 0 zero shift factor. (Ferguson would be one of these units)

## Slide 10: N-1 Sensitivity Shift Factors on Loss of DCKT Graham – Long Creek 345 kV loads MENA-SAPS 138 kV on Feb. 10, 2009
Ferguson is offline with a shift factor of 0%, if online, the unit would be at approximately -5.6%.
Notes: <number>
Real-time Snapshot with Wind at 3950 MW on 02/10/09. Units offline had a 0 zero shift factor. (Ferguson would be one of these units)

## Slide 11: CRE Analysis pursuant to Protocols Section 7.2.3
Generation moving in relation to the West to North CSC: 3 wind units; 2 Mesquite and Cookfield, approximately 81MWs
The generation shown above as moving is in relation to the entire ERCOT grid.

## Slide 12: Cluster results – 4 zones

## Slide 13: Additional Information
The following slides provide additional data:
  Estimated wind costs
  Wind Production, Curtailments and MCPE

## Slide 14: Estimated Wind OOME Down Costs – Oct. 1, 2008 to Feb. 22, 2009
Notes: <number>
COST = MCPE * OOME Wind Down MW.

## Slide 15: Wind Production, Curtailments, and MCPE from Feb. 1 to 25, 2009
Notes: <number>
Local Curtailment at this magnitude emulates a zonal balancing down relationship in the west.

## Slide 16: October, 2008

## Slide 17: November, 2008

## Slide 18: December, 2008

## Slide 19: January, 2009