Introduction

In the Final Order issued by the Public Utility Commission of Texas (PUCT) in Docket No. 33672 – Commission Staff’s Petition for Competitive Renewable Energy Zones, the Commission said in regard to reliability issues associated with a large influx of new wind generation into the ERCOT grid:

“the Commission directs ERCOT, through any committee or task force as designated by ERCOT, to report to the Commission on a quarterly basis regarding reliability issues being studied.”

In response to this directive, ERCOT and the ERCOT market participants, through the Technical Advisory Committee (TAC), created the Renewable Technologies Working Group (RTWG) to develop a list of issues and work with ERCOT staff to develop the requested quarterly report.

Specifically, the TAC charged the RTWG with the following responsibilities:

- Identify issues related to renewable energy generation on the ERCOT system – either benefits not realized or challenges which need to be addressed.  This activity does not preclude the ERCOT Wholesale Market Subcommittee (WMS) or the ERCOT Reliability and Operations Subcommittee (ROS) from identifying and resolving wind integration issues within their traditional purview.

- Define, frame, and prioritize the identified issues for resolution.

- Refer issues to the appropriate TAC subcommittees for further development and resolution.

- Gather input as provided from TAC subcommittees and RTWG activities and develop recommendations and / or frame issues for resolution by TAC.

- Provide monthly status reports to TAC.

- Maintain an issues tracking system.

- Organize and host technical workshops as needed to ensure ERCOT Staff and market participants stay abreast of new technologies deployed on the ERCOT system, emerging technologies offering solutions to renewable generation technology challenges, and industry best practices.

- Organize training seminars as needed to ensure ERCOT Staff and affected market participants effectively coordinate practices and procedures adopted to reliably integrate renewable generation technologies into the ERCOT grid.

The RTWG has been meeting regularly since November, 2008 to develop a list of issues related to the integration of wind generation into the ERCOT grid.  The following report presents a review of the current status of wind generation in ERCOT and the various issues that the RTWG has identified thus far related to the integration of variable wind generation with other conventional generating resources in the ERCOT market.

In this first report, the RTWG is providing an overview of key accomplishments by ERCOT stakeholders in the last 18 months highlighting key issues being worked on.  In future reports, we will continue to highlight new issues and accomplishments since the last report.

To date, the following key issues have been addressed (with approved ERCOT Protocol Revision Request (PRR) or Operating Guide Revision Request (OGRR) numbers for reference):

- Initiated operational use of a state-of-the art wind generation forecast (PRR 763, PRR 794)

- Adopted wind generation scheduling performance metrics (PRR 773, PRR 777, PRR 793)

- Instituted wind ramping requirements (PRR 771, PRR 788)

- Increased transparency of generation interconnection study requests (PRR 779)

- Established voltage ride through requirements for new wind generators and scheduled and committed to perform studies to determine voltage ride through requirements for existing wind generators (OGRR 208)

- Held two all-day workshops related to wind generation issues in ERCOT

Major items currently being worked on or soon to be initiated are:

- Additional wind generation performance requirements and metrics;

- A third wind workshop is planned for later this year, focused to support the development of the ERCOT Voltage Ride-Through(VRT) study;

- Review and clarification of reactive requirements for wind generators;

- Identify CREZ-related construction outage mitigation measures.

Current Status of Wind Generation in ERCOT

As of February 1, 2009, there was a total of 8,065 MW of wind generating capacity installed and operating in the ERCOT market.  This capacity only operates when wind is available to produce energy for delivery to the ERCOT load centers.  ERCOT uses the Effective Load-Carrying Capability (ELCC) of wind generation (calculated in MW) to project the MW amount of this capacity that can be reliably counted to be available to serve the ERCOT peak loads.  ERCOT’s latest projections for the summer peak and winter peaks are available at: http://www.ercot.com/content/news/presentations/2008/2008_Capacity,_Demand,_Reserves_Report_FINAL.xls

Wind generation provided 6.6% of the total energy produced in ERCOT in January of 2009.  The monthly ERCOT generation fuel mix is available at:

http://planning.ercot.com/reports/demand-energy/

In addition to wind generation capacity that is installed and operating, there are a substantial number of wind generation projects in various stages of study by ERCOT as part of the Generation Interconnection Process as shown in Figure 1 below.

| Project Description | Capacity (MW) |
| --- | --- |
| Projects with Interconnect Agreement/Public Letter | 7,043 |
| Projects Under Full Interconnect Study | 29,253 |
| Confidential Projects | 15,704 |
| Total | 52,000 |

Figure 1 – New Wind Generation Capacity Under Study

There are 24 projects with Interconnect Agreements or public letters and there are 97 projects undergoing full interconnect studies.  The annual installed wind generating capacities since 1999 are shown in Figure 2 below.

Figure 2 – Installed Wind Generating Capacity (End of Year)

Issues Related to Increased Wind Integration

The RTWG, whose participants represent a diverse cross-section of all seven ERCOT market segments, developed the following issues list through extensive discussions and canvassing of ERCOT market participants, ERCOT staff, PUCT staff and any other interested parties to identify a full spectrum of issues related to the integration of wind generation into the ERCOT system.

Issues identified in this process were divided into several different categories, depending on their impact and/or potential solution.  The categories of the issues are:

- Market Design (MD)

- System Operations (SO)

- System Planning (SP)

- Workshops/Training (WT)

Furthermore, the RTWG established three preliminary priorities for the issues identified.  These priorities are:

- Near-Term (In progress or begin work within 6 months)

- Long-Term (Not currently in progress; begin work by end of 2009)

- Undetermined (Issue not fully developed or not assigned; whitepaper to be developed by the RTWG in 2009)

As part of its ongoing responsibilities, the RTWG will regularly review the status of each issue to ensure that critical issues are addressed as quickly as possible, considering costs and availability of personnel.

Following is a list of the wind integration issues currently identified by the RTWG, including those issues that have been completed to date.  For a more detailed description of each issue as well as its current status and other information, please refer to Appendix A of this report.

Near-Term Issues Related to Wind Generation

Market Design

- Ancillary Service Cost Allocations (MD1)

- Ancillary Service Procurement Optimization for 2009 (MD2)

- Zonal Protocols Non-Spin requirements (MD3)

- Zonal Protocols Reactive and voltage requirements (MD8)

- Nodal Protocols – Dispatch Response (MD9)

- Nodal Protocols – Performance Metrics (MD10)

- Nodal Protocols – Base Point Deviation Charges (MD11)

System Operations

- Accurate Wind Turbine Generator Technical Data (SO1)

- Response to Down Balancing Instructions (SO3)

- Testing of Reactive Capability (SO6)

- High System Frequency (SO7)

- SCADA Control of Circuit Breakers (SO9)

- Local and System Voltage Management Practices (SO10)

- Control of System Reactive Capability (SO11)

- Wind Generation Resource (WGR) Performance Metrics (SO13)

- Communications with Transmission Service Providers (TSPs)(SO15)

- ERCOT Manual Curtailment Practices (SO27)

- SPS Tripping due to N-0 (SO28)

- Transmission Outage Planning for CREZ Construction (SO29)

- Use of wind generation output forecast for the purposes of the Projected Assessment of System Adequacy (PASA) (SO30)

System Planning

- Verify Turbine Characteristics (SP1)

- Verify Turbine Computer Models (SP2)

- Fault Tolerance Studies (SP3)

- Voltage Transient and Small Signal Stability Study (SP4)

- Low Voltage Ride-Through (LVRT) Study (SP8)

Workshops/Training

- ERCOT Wind Workshop III (WT2)

Long-Term Issues Related to Wind Generation

Market Design

- New Ancillary Service Products to Support Reliability Needs (MD4)

- Potential Applications and Benefits of Storage Technology (MD5)

System Operations

- Potential Applications of Smart Grid Technology (SO4)

- Operational Studies of Impact of Ramp Rate, Forecasting, Time of Production (SO5)

- Impact on System Inertia (SO8)

- Minimization of Impact of Transmission Outages (SO14)

- Potential Applications and Benefits of Smart Meters and Demand Response (SO23)

- Potential Application for Plug-In Hybrid Vehicles as Storage (SO24)

System Planning

- System Inertia Study (SP5)

- Application of Variable Frequency Transformers (VFT) for Improved System Stability (SP6)

- Voltage Control Study (Related to CREZ Lines)(SP7)

Workshops/Training

- Wind Generation Resource Operator Training (WT3)

Issues of Undetermined Priority Related to Wind Generation

Market Design

- Potential Ancillary Services Provided by Wind (MD7)

System Operations

- Nodal Protocols – Tools to Better Integrate Wind (SO2)

- Wind Turbine Generator Governor Response (SO25)

System Planning

- NONE

Workshops/Training

- Updating Resource Plans and Schedules of WGR-Only QSEs (WT 1)

Issues Completed This Quarter

Market Design

- Ancillary Service Procurement Methodology for 2009 (MD6)

- WGR Low Sustainable Limit (LSL) as a Percentage of High Sustainable Limit (HSL) (MD12)

- Use of AWS Truewind 80% Confidence Band Wind Generation Forecast (MD13)

System Operations

- Low Voltage Ride Through (LVRT) Requirement for WGRs (SO12)

- WGR Ramp Rate Limitations (SO16)

- Incorporate Weather Sensitivity into ERCOT’s Short-Term and Mid-Term Load Forecasts (SO17)

- Use of Multiple CSC Limit Studies for Congestion Management (SO19)

- Incorporate Dynamic Line Ratings into Operational Planning (SO20)

- Revise Emergency Electric Curtailment Plan (EECP) Steps (SO21)

ATTACHMENT A

Detailed List of Issues

January 2009 System Planning Report to ERCOT Reliability and Operating Subcommittee (ROS)