| PRR Number | 796 | PRR Title | Resource Plan Performance Metrics Revision |
| --- | --- | --- | --- |
| Date |  | February 4, 2009 |  |
| Submitter’s Information |  |  |  |
| Name |  | Chad Seely |  |
| E-mail Address |  | cseely@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | (512) 248-7035 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not applicable. |  |

Comments

The Texas Regional Entity (TRE) currently calculates the Qualified Scheduling Entity (QSE) performance score as described in Protocol Section 6.10.5.3, SCE Monitoring Criteria and proposes the language changes below to clarify which entity is responsible for calculating this metric.

Proposed Cover Page Language Revision

| Protocol Sections Requiring Revision | 4.10.2.1, Scoring Review Conditions (new) |
| --- | --- |
| Revision Description | With this Protocol Revision Request (PRR), The Texas Regional Entity (TRE) shall determine the performance of providers of Qualified Scheduling Entities (QSEs) Schedule Control Error (SCE) performance under normal operating conditions. The TRE shall remove from consideration of average performance of a QSE any period during which an abnormal or unusual event(s) has occurred and which does not have a passing score. |
| Reason for Revision | Make the Resource performance metric scoring criteria more aligned with North American Electric Reliability Corporation (NERC) Control Performance Standard (CPS) 2 Scoring Criteria as prescribed in Section 6.10.6, Ancillary Service Deployment Performance Conditions. |
| Overall Market Benefit | This proposed change will allow the TRE to determine whether Resource Plan performance metric scores are a reflection of QSE performance, and not due to abnormal or unusual events outside of a QSE’s control. |

Revised Proposed Protocol Language

4.10.2.1   Scoring Review Conditions

The TRE shall determine the performance of providers of QSE Schedule Control Error (SCE) performance under normal operating conditions.  The TRE shall remove from consideration of average performance of a QSE any period during which any of the following events has occurred and which does not have a passing score:

(1)	The two (2) hour period after the QSE has experienced a Forced Outage of generation and is under-generating or unexpected loss of Private Use Network load and is over-generating;

(2)	The entire Settlement Interval(s) for all QSEs in which ERCOT has deployed or recalled Balancing Energy in response to an Unusual Event;

(3)	The entire Settlement Interval(s) in which ERCOT has issued a verbal Dispatch Instruction;

(4)	The period where ERCOT issues unit-specific instructions to any QSE outside of the unit’s capabilities;

(5)	The period where ERCOT issues portfolio instructions to any QSE outside of the QSE’s portfolio capabilities, including the QSE’s bid ramp rate;

(6)	The entire Settlement Interval(s) in which a QSE is ramping into (from time of notification to time of deployment) or out of (from end of deployment to thirty (30) minutes later) a NSRS deployment;

(7)	If requested the day before the test by a QSE, the entire Settlement Interval(s) in which a QSE is performing tests required in Section 6.10, Ancillary Service Qualification, Testing and Performance Standards, and other regulatory agency-required tests;

(8)	The entire Settlement Interval(s) in which a QSE’s Resource Plan shows only Uncontrollable Renewable Resources On-line;

(9)	The entire Settlement Interval(s) in which a QSE has deployed energy from extra capacity during an Emergency Notice or EEA;

(10)	The lesser of:

(a) 	The time it takes to comply with the second Dispatch Instruction; or

(b) 	Forty-five (45) minutes following the second Dispatch Instruction, when ERCOT sends a Dispatch Instruction to a QSE whose only controllable Generation Resource is in the West Congestion Zone to decrease the output from that Generation Resource and, within forty-five (45) minutes of sending that Dispatch Instruction, sends a second Dispatch Instruction to the same QSE to increase the output from that Generation Resource, provided that the QSE did not provide any Ancillary Service other than Balancing Energy service from that Generation Resource during the period removed from consideration of the QSE’s average SCE performance; and

(11)	Certain other periods of abnormal operations as determined by ERCOT.