| PRR Number | 796 | PRR Title | Resource Plan Performance Metrics Revision |
| --- | --- | --- | --- |
| Date |  | February 25, 2009 |  |
| Submitter’s Information |  |  |  |
| Name |  | Orlando Brandon |  |
| E-mail Address |  | orlando.brandon@fpl.com |  |
| Company |  | FPL Energy |  |
| Phone Number |  | (561) 304-6182 |  |
| Cell Number |  | (371) 490-3112 |  |
| Market Segment |  | Independent Generator |  |

Comments

FPL disagrees with the 2/9/09 comments submitted by Texas Regional Entity (TRE).  FPL has identified three (3) metrics that rely on Real Time data for its measure which are described in the following Protocol Sections:

- Protocol Section 4.10.3, Resource Status measure,

- 4.10.6, Adjustment Period Zonal Schedule Measure, and

- 4.10.8, Total Up AS Scheduled Obligation Measure.

The measure described in Section, 4.10.8 is greatly impacted when a Qualified Scheduling Entity’s (QSE’s) plant trips Off-line. Once the Resource is forced Off-line, this measure could show that a shortage occurred in covering its Obligation which in most cases can’t be resolved until additional power can either be scheduled (two (2) hour scheduling window)) or until additional Resources can be brought On-line, which brings into play the similarities with the CPS2 measure.  This measure allows a two (2) hour grace period which allows a scheduling change as described in Protocol 6.10.6 Ancillary Service Deployment Performance Conditions.

Revised Proposed Protocol Language

- None at this time.