## Slide 1
March TAC Update
to COPS
March 5, 2009
<number>

## Slide 2: Highlights of Mar 5th TAC Meeting
Board Update
  Approved all PRRs recommended by TAC
  SCR 745, Retail Market Outage Evaluation and Resolution – Approved to close the project without proceeding to Phase III
  Approved the revised Nodal schedule, budget, and surcharge recommendation to the PUCT
  Approved revisions to the ERCOT Ancillary services Procurement Methodology
    Optimization of NSRS procurement
    Increased the number of MWs of RRS provided by LaaRs when ERCOT procures between 2300 and 2800 MW of RRS
<number>

## Slide 3: Highlights of Mar 5th TAC Meeting
PRS Update
  PRR789, Removal of Grey Box Language Related to Lagged Dynamics Load Profiling Due to Unfunded Projects - Approved
  PRR790, Load Profile ID Annual Validation Change Request - Approved
  NRR146, ICCP Telemetry Information Submittals (Post Go-Live) – Tabled until the process for the Parking Deck procedure is defined
  PRR776, Automatic MCPE Adjustment During Intervals of Non-Spinning Reserve Service Deployment – A motion failed to pass PRR776 with latest TIEC Comments. A motion failed to pass PRR776 as amended by the 2-24-09 Discussion Group Comments that add the PRR791 language. No recommendation from TAC to the Board
  PRR791, Shortage Pricing Mechanism – No vote taken
  Post-Nodal Go-Live Parking Deck – PRS will report back to TAC in April
  Performance Metrics Review – PRS will continue to review performance standards as time permits
<number>

## Slide 4: Highlights of Mar 5th TAC Meeting
ROS Update
  OGRR219, Time Error Correction – UREGEN – Approved
  OGRR220, Synchronization with PRR799, ERCOT CEO Approval of NPRRs and SCRs Prior to Posting on MIS – URGENT – Approved
  NOGRR023, Hotline Changes for QSEs Representing Multiple Entities – Approved
  NOGRR025, Monitoring Programs for QSEs, TSPs, and ERCOT TAC Response to PUCT and TRE - Approved
Renewable Technologies Working Group Report
  Developed list of potential topics for Wind Workshop III, to be in April
  TAC endorsed the PUCT Quarterly Report as required by Final Order in Docket No. 33672
  Next steps
    Develop and begin review of whitepapers for issues in the Undermined category
    Develop a Renewable Technologies Integration Plan (RTIP) to ensure the efficient and reliable integration of renewable generation into the ERCOT Market
<number>

## Slide 5: Highlights of Mar 5th TAC Meeting
Closely Related Elements (CREs)
  Flewellen-Peters and Hockley-Tomball CREs will be voted on by TAC via email vote this week
Texas Nodal Implementation
  Nodal Schedule – approved
  Dec 2010 implementation date; TPTF agreed that the schedule is achievable
Standards Development Overview
  Presented Top 10 Questions asked about Standards Development
  LSE Update – Regional Standards not appropriate, at next LSERWG meeting will begin drafting agreements for functions performed
TRE Report
  Reviewed metrics – No Entities Failed
  May stop reporting SCPS2 Scores for Wind Only QSEs because it is not enforceable
<number>

## Slide 6: TAC Retreat Mar 6th
Subcommittee Engagement in Nodal
  Review TPTF Final Report for sense of what fits in our Subcommittee, expertise needed, and workload
  Identify transitional issues and SMEs
  Report back to TAC in April for comment; Final adoption at May TAC
ERCOT Email Distribution Lists
  Use only for Subcommittee work
  ERCOT is charged by per email; there are numerous subscribers
Renewable Technologies Integration Plan
  To be presented to TAC at April meeting
  To be presented to Subcommittees for review/comment
2009 TAC Goals
  Nodal Market Implementation
  Renewable Technologies Integration Plan
  Proposed - Zonal Congestion Issues Analysis
<number>

## Slide 7
Questions ?
<number>