| SCR Number | 754 | SCR Title | WGRPP Forecasts Posted On Zonal TML |
| --- | --- | --- | --- |
| Date |  | March 6, 2009 |  |
| Submitters’ Information |  |  |  |
| Name |  | E. Raj Rajagopal |  |
| E-mail Address |  | erajagopal@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | (512) 248-6533 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not applicable |  |

Comments

As a result of ERCOT’s impact analysis process and review of System Change Request (SCR) 754, ERCOT has identified the following impacts based on the solution proposed in the 2/16/09 ERCOT comments and presented to WMS at the February 18, 2009 meeting.  The impacts to ERCOT include:

- A project in the $50k to $100k range will be needed to implement this SCR.

- Implementation of SCR754 will be completed in less than three months upon ERCOT Board approval.

- Changes will be made to the Market Operations Systems (MOS) MUI (Market User Interface) and Market Database to make the Wind-powered Generation Resource Production Potential (WGRPP) and Short Term Wind Power Forecast (STWPF) available to Market Participants as requested by this SCR.  Additional changes to Enterprise Data Warehouse (EDW) will be made for replication and study purposes.

If WMS recommends approval of the proposed solution at the March 18, 2009 meeting, the formal impact analysis document will be presented later at that meeting.