| SCR Number | 753 | SCR Title | Transmission Outage Notice Detail Enhancements |
| --- | --- | --- | --- |
| Supporting Protocol or Guide Section(s) (if applicable) |  | None. |  |
| Other Document Reference/Source |  | Approved Transmission Outages report, available at http:/mospublic.ercot.com/ercot/planned_trans_out.jsp |  |
| System Change Description |  | This System Change Request (SCR) proposes to enhance ERCOT’s publishing of transmission Outage detail by requesting the publication of additional data which exists in the ERCOT database. |  |
| Reason for Revision |  | This SCR enhances transparency of transmission Outages, thus allowing Market Participants to better forecast grid conditions and improve Operating Plans. |  |
| Relevance to Nodal Market (Yes or No, and summary of impact) |  | Yes, the same information should be available to Market Participants. |  |
| Timeline |  |  |  |
| Date Posted |  | November 21, 2008 |  |
| Please access the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Eric Goff |
| E-mail Address | egoff@reliant.com |
| Company | Reliant Energy, Inc. |
| Phone Number | (512) 284-4908 |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 | Data currently exists in ERCOT database and does not require extensive programming to effectuate this SCR. |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Increases transmission grid transparency. |  |
|  | 2 | Enhances Market Participant operational planning. |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

Business Case for Proposed System Change

Issue:

ERCOT’s publication of transmission Outage data can be made more useful to Market Participants through the publication of additional information points already in ERCOT’s database.

Resolution:

Reliant proposes the publication of the additional information:

Ticket or Tracking Number – ERCOT’s assigned numeric label for each Outage noticed.

Initial Posting Date/Last Revision – Dates will ease tracking of transmission Outage notice changes.

Specify “Cancelled”/”Completed” Items – ERCOT currently reports Outage status, but these additions will provide greater status detail.  This detail should be reported even if there is no change in status from one update to the next and the status should be available for twenty-four (24) hours following the “Cancelled”/”Completed” posting to ensure the status is recognized by Market Participants.

Indicate “Open”/”Closed” or “Energized”/De-energized” – Addition of this detail will provide current status to Market Participants.  This field should have a value entered and not be left blank.

Voltage Field – This field should have a value entered and not be left blank.

Outaged Station Bus Numbers – Addition of this detail increases information available to Market Participants.  Also, posting of the “from bus number”, “to bus number” and “circuit ID” would provide greater transparency to Market Participants.  Bus numbers and circuit IDs should be consistent with the Steady State Working Group (SSWG) cases.

Outaged Circuit Breakers or Switches – If maintenance on a circuit breaker or switch requires that a transmission line or transformer to be taken out of service, then the line or transformer Outage should be explicitly listed with the circuit breaker or switch mentioned in the “Comments” section.

Expansion of Comment Detail – Details supporting the comments should explicitly include: 1) any non- Transmission and/or Distribution Service Provider (TDSP) request that results in outaging Transmission Facilities (e.g., Texas Department of Transportation (TXDoT), wireless providers, etc.); and 2) the specific Transmission Facilities that need repair.

Frequency of Status Posting - In addition to posting the information, it would enhance Market Participants’ ability to analyze data if Outage status could be recorded daily even if there is no status change.