## Slide 1: Wind Operations Task Force
Overview for ROS March 2009 meeting:
WOTF is continuing work on issues #1a/b/c, 1d, 3e, and 5.
An e-mail list at lists.ercot.com has been established for the group.

## Slide 2
Wind Operations Task Force – status on #1a/b/c
Issue 1a/b/c: Better defined voltage support requirements & practices, and SCADA control
Phase 1, a survey by staff of existing capabilities, was just completed in Jan. As a result, ERCOT system operators have a better understanding of the capabilities at each wind farm.
Phase 2 was holding the Wind Workshop II on Aug 22 (complete).
WOTF has been discussing a possible action item for Phase 3. The main item being discussed:
Possible improvements in better coordination of all data requests and requirements. The WOTF Modeling Subgroup, led by Brad Schwarz (E.On), has met twice. It developed a 2 page list of items for staff to consider. Further action has been tabled while staff considers the possible consultants for the Low Voltage Ride Through study.

## Slide 3
Wind Operations Task Force – status on #1d
Issue 1d: Generation Interconnection Checklist
Part 1 is complete – development of the Nodal readiness metric.
Part 2 – review of a voltage control test, prequalification, and synchronization test requirements – The WOTF is still waiting on a first draft from staff. Staff has a draft under consideration. See Operating Guide 3.1.4.3 -- Unit Reactive Capability Testing.

## Slide 4
Wind Operations Task Force – status on #3e
Issue 3e: Evaluating possible coordination of transmission line outages.
CMWG helped develop, PRS has approved, and TAC is considering PRR 795: “90-Day Transmission Outage Scheduling Timeline” to cover TCR deadlines. This should be effective March 1.
The CMWG is not drafting any further developments at this time, waiting to see the results of PRR 795.
The WOTF has kept this issue open as a placeholder to consider the reliability aspects of a coordination proposal if one was developed by the marketing group.

## Slide 5
Wind Operations Task Force – status on #5
Issue 5: Alternate solutions to high frequency conditions
Governor Response – Since Type 3 & Type 4 wind turbines can possibly provide such service, how can this capability be utilized? Walter Reid has drafted a white paper that will be discussed at the next meeting.
Reg down bids – Response capability is technology specific; and protocol changes would be necessary. How can we measure response of an intermittent resource? The WOTF will be discussing a white paper in a subsequent meeting.

## Slide 6
Wind Operations Task Force – upcoming
The next WOTF mtg will be Tues March 31.