| SCR Number | 753 | SCR Title | Transmission Outage Notice Detail Enhancements |
| --- | --- | --- | --- |
| Date |  | December 5, 2008 |  |
| Submitter’s Information |  |  |  |
| Name |  | Woody Rickerson and Dan Roehl |  |
| E-mail Address |  | wrickerson@ercot.com and droehl@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | (512) 248-6501 and (512) 248-4244 |  |
| Fax Number |  |  |  |

Comments

ERCOT reviewed the proposed System Change Request (SCR) 753 and the detail requested as part of the proposal.  Some of the detail that has been requested is either currently provided, cannot be provided, or will need extensive programming and testing.

Below are ERCOT comments on the proposed SCR:

The following detail cannot be provided; therefore, removed from the Business Case:

- Outage Station Bus Numbers - The network model does not contain “Bus numbers” or circuit IDs.  These identifiers exist only in the planning model and cannot be provided in the Outage Scheduler.

- Outaged Circuit Breakers or Switches – This request would require the addition of a topology processor and several months of development and testing and may not be able to provide as an existing zonal tool.

- Expansion of Comment Detail – ERCOT does not have a method to enforce this request.  ERCOT receives information from the Market Participants.  Market Participants would need to provide this type of information.

The following detail is currently provided; therefore, removed from the Business Case:

- Indicate “Open”/”Closed” or “Energized”/”De-energized” -

- Voltage Field -

- Frequency of Status Posting – Provided every 15 minutes.

Business Case for Proposed System Change

Issue:

ERCOT’s publication of transmission Outage data can be made more useful to Market Participants through the publication of additional information points already in ERCOT’s database.

Resolution:

Reliant proposes the publication of the additional information:

Outage Id – ERCOT’s assigned numeric label for each Outage noticed.

Date Posted – Dates will ease tracking of transmission Outage notice changes.

Specify “Cancelled” Items – An additional status code of “C” for cancelled would display a status of “Cancelled” under the existing “Status” column.

Revised Query:

/* Formatted on 2008/11/25 16:46 (Formatter Plus v4.8.8) */

SELECT   oreq.ID outageid,

timepac.getlocaldate (oreq.date_created) date_posted,

timepac.getlocaldate (oreq.date_updated) last_revision,

co.company_name idco, vl.voltage_level voltage,

timepac.getdaynumlabel (oreq.planned_start) startdate,

timepac.getintervalnumlabel (oreq.planned_start) starttime,

timepac.getdaynumlabel (oreq.planned_end) enddate,

timepac.getintervalnumlabel (oreq.planned_end) endtime,

et.equipment_type_name eqtype, e.equipment_long_name ideq,

st.station_name idsta, st2.station_name tostation,

osv.description statid,

DECODE (osv.code,

'A', 'Approved',

'F', 'Forced',

osv.description

) AS status,

DECODE (NVL (oreq.equipment_outage_state, ''),

'C', 'Close',

'O', 'Open',

'', ''

) AS state,

timepac.getdaynumlabel (oreq.actual_start) actualstartdate,

timepac.getintervalnumlabel (oreq.actual_start) actualstarttime,

timepac.getdaynumlabel (oreq.actual_end) actualenddate,

timepac.getintervalnumlabel (oreq.actual_end) actualendtime,

DECODE (oreqv.request_type_desc,

'New/Relocated', 'Planned',

oreqv.request_type_desc

) AS requesttype,

omsappdev.brcbrl_pkg.getaffectedtostationshtml

(e.equipment_id)

AS to_station_name,

DECODE

(omsappdev.brcbrl_pkg.getaffectedcbcount (e.equipment_id),

0, '',

'Y'

) AS multicb,

NVL (oreq.requestor_notes, ' ') AS comments

FROM omsappdev.outage_request oreq,

omsappdev.equipment e,

omsappdev.equipment_type et,

omsappdev.outage_equipment oe,

omsappdev.station st,

omsappdev.station st2,

omsappdev.company co,

omsappdev.outage_status_vw osv,

omsappdev.voltage_level vl,

outage_request_vw oreqv

WHERE 1 = 1

AND oreq.ID = oe.outage_id

AND oe.equipment_id = e.equipment_id

AND oreq.ID = oreqv.orq_id

AND e.equipment_type_id = et.equipment_type_id

AND e.from_station_id = st.station_id

AND e.to_station_id = st2.station_id(+)

AND oreq.company_id = co.company_id

AND oreq.request_category = 'T'

AND oreq.status = osv.code

AND TO_NUMBER (timepac.getdaynumlabel (oreq.planned_end)) >= $rptTime

AND oreq.status IN ('A', 'F', 'C')

AND vl.voltage_level_id = e.voltage_level_id

ORDER BY requesttype, oreq.date_updated DESC, startdate, starttime, status