## Slide 1: QSE Managers Working Group
Meeting Notes
23 February, 2009
Report to WMS
18 March, 2009
David Detelich - Chairperson

## Slide 2: QSE Managers Working Group Agenda
Vice Chair
ERCOT Operations Issues
  WGRPP Forecast process improvements
  WGRPP Forecast accuracy analysis
ERCOT Nodal ICCP Communication Handbook for review
OGRR - Allow frequency control data through ICCP infrastructure
WGR only QSE Scheduling Metric

## Slide 3: Vice Chair
Jennifer Troutman
AEP Energy Partners

## Slide 4: WGRPP Forecast process improvements
SCR754, WGRPP Forecast Posting
ERCOT will leverage its redundant EMMS infrastructure located at both ERCOT datacenters by providing WGR QSEs their current forecasts through the existing zonal XML Market User Interface (MUI).
No objections from QMWG
Question about using MOS Sender but ERCOT not comfortable with that as an option.

## Slide 5: WGRPP Forecast accuracy analysis
MET data
  is being used by AWS Truewind to build power curves
  data quality issues still exist.
  ERCOT will work with AWS Truewind to verify the MET data
Accuracy reports went to Board from Operations
Method of data transfer from ERCOT to AWS Truewind discussed
Number of turbines available would be improvement – system changes required

## Slide 6: ERCOT Nodal ICCP Communication Handbook for review
Matt Mereness requested review of content
Participants stated this should be in the Operating Guides as in Zonal
How can this be accomplished?

## Slide 7: OGRR - Allow frequency control data through ICCP infrastructure
ERCOT requests that QMWG/WMS sponsor this OGRR.
This OGRR revises the required communication technology for QSE frequency control data from RTU-only to RTU or ICCP.
This will allow QSEs to begin the move to the communication technology that will be in affect at Nodal go-live.

## Slide 8: WGR only QSE Metrics
Discussion progressed on metrics for:
  No deployments
  OOM
  Zonal deployments
  Combination
ERCOT needs additional telemetry
  Real Time Generation Potential
  Number of turbines available

## Slide 9: QMWG – Future Agenda Items
ERCOT Operations Issues
  Review accuracy reports
WGR only QSE Metrics
  Hourly scheduling metric
  Discussion of metrics to impact congestion management
Next Meeting: 3/26/2009