| NOGRR Number | 025 | NOGRR Title | Monitoring Programs for QSEs, TSPs, and ERCOT |
| --- | --- | --- | --- |

| Date | March 24, 2009 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Robert Spangler |
| E-mail Address | Robert.spangler@luminant.com |
| Company | Luminant Power |
| Phone Number | 214-875-9278 |
| Cell Number | 214-535-2315 |
| Market Segment | Investor Owned Utilities |

Comments

This Nodal Operating Guide Revision Request (NOGRR) proposes Section 9.10, Current Operating Plan Metrics for QSEs, which does not address the specific performance measures described in paragraphs (2) and (3) of Nodal Protocol Section 8.1.2, Current Operating Plan (COP) Performance Requirements.  Luminant believes telemetered limits can vary from COP limits because of operational reasons.  What matters is whether the COP is updated when an operational limit is expected to remain in effect for longer than one hour in the future.  That’s the point of the Nodal Section Protocol 8.1.2 and the following subsections in the NOGRR.

The Nodal Protocol Section 8.1.2 is included below for ease of reference.

8.1.2          Current Operating Plan (COP) Performance Requirements

(1)        Each QSE representing a Resource must submit a COP in accordance with Section 3.9, Current Operating Plan (COP).

(2)        For each QSE, ERCOT shall post for each month the number, by Operating Hour, of valid COP failures to meet the provisions of paragraphs (3) and (4) of Section 3.9.2, Current Operating Plan Validation, for Ancillary Service Resource Responsibilities contained in the QSE’s COP used for the DRUC and each HRUC during the Operating Day.  QSEs shall have no more than three hours during an Operating Day or 74 hours during a month that contains COP Ancillary Service Resource Responsibility validation failures.

(3)        For each QSE, ERCOT shall post for each month the number of Operating Hours during which a Reliability Unit Commitment (RUC) committed QSE Resource, not Off-Line as the result of a Forced Outage, failed to be On-Line and released to SCED for deployment in the RUC-Commitment Hour.  QSEs shall have no more than three hours during an Operating Day and no more than 74 hours during a month that contains one or more of these events.”

Luminant provides the following revisions to NOGRR025 to bring the Nodal Operating Guides into conformance with the Nodal Protocols.

| Overall Market Benefit |  |
| --- | --- |
| Overall Market Impact |  |
| Consumer Impact |  |

Revised Proposed Guide Language

ERCOT Nodal Operating Guides

Section 9: Monitoring Programs for QSEs, Resources, TSPs, and ERCOT

<date approved>

(Effective Upon Texas Nodal Market Implementation)

9	QSE/Resource Monitoring Program	3

9.1	Net dependable real power capability testing	3

9.2	Reactive testing	3

9.3	Real-Time data	3

9.4	Compliance with Valid Dispatch Instructions	3

9.5	Supplying and Validating Data for Generator Models Such as CIM Performance Monitor	3

9.6	Resource Outage Scheduling and Reporting	3

9.7	Backup control for Resource Energy Deployment	3

9.8	Qualified staffing requirement	3

9.9	Automatic Voltage Regulator (AVR) and Power System Stabilizer (PSS)	3

9.10	Current Operating Plan Metrics for QSEs	3

9.11	TSP Monitoring Program	3

9.11.1	Rating Methodology Reporting Program	3

9.11.2	Real-Time data Monitor	3

9.11.3	Outage Scheduling and Reporting	3

9.11.4	CIM Performance Monitor	3

9.11.5	Compliance with Valid Dispatch instructions monitoring	3

9.12	ERCOT Performance Monitoring Program	3

9.12.1	Transmission Control	3

9.12.2	Resource Control	3

9.12.3	Load Forecasting	3

9.12.4	System Operating Constraints	3

9.12.5	Network Operations Model update implementation performance	3

9.12.6	Back-up control plan	3

9.12.7	ERCOT Black-Start Plan	3

9.12.8	Computer and communication systems Real-Time availability and systems security	3

9.12.9	Voltage and Reactive Control Performance Monitoring	3

9.13	Ancillary Services Monitoring Program	3

9.13.1	Regulation Control Performance	3

9.13.2	Hydro Responsive Testing for QSEs	3

9.13.3	Black Start Service Requirements for TSPs, QSEs, and Generation Resources	3

9.13.4	Resource-Specific Responsive Reserve Performance for QSEs and Resources	3

9.13.5	 Constant Frequency Control	3

9.13.6	Resource-specific Non-Spinning Reserve	3

# 9	QSE/Resource Monitoring Program

This Section complies with the requirement outlined in Protocol Section 8, Performance Monitoring and Compliance, for the development of a Qualified Scheduling Entity (QSE), Resource, Transmission Service Provider (TSP) and ERCOT monitoring program.

9.1	Net Dependable Real Power Capability Testing

ERCOT shall produce reports annually which summarize the seasonal test results provided by Qualified Scheduling Entities (QSEs).  The QSE shall provide these results to ERCOT upon completion of Net Dependable Capability testing.

9.2	Reactive Testing

(1)	The Qualified Scheduling Entity (QSE) shall provide the following information:

(a)	Unit name;

(b)	QSE;

(c)	Date;

(d)	Time;

(e)	Tested generation capability;

(f)	Reported time; and

(g)	Corrected Unit Reactive Limit (CURL) and Unit Reactive Limit (URL).

(2)	ERCOT shall produce reports annually which describe when the last reactive capability test took place, what the MW and MVAR outputs were during the test period, how long the output was held, and a minimum of four MW/MVAR pairs describing the CURL of the unit.  This data shall be provided by the QSE to ERCOT when reactive testing indicates a change in unit capability and at a minimum of once every two years.

9.3	Real-Time Data

ERCOT shall produce monthly reports describing Real-Time telemetry performance of Qualified Scheduling Entities (QSEs) in accordance with the following:

(a)	Telemetry Performance:

(i)	ERCOT shall produce monthly reports as required describing the compliance with the Protocols and the Technical Advisory Committee (TAC) approved Telemetry Standards.  Included in these reports shall be telemetry availability statistics.

(b)	Communication System Performance:

(i)	ERCOT shall produce monthly reports describing the percentage availability of each participants Inter-Control Center Protocol (ICCP) data link to ERCOT.

(c)	Operational Data Requirements:

(i)	ERCOT shall produce monthly telemetry availability reports for Dynamically Scheduled Resource (DSR) Loads.  A DSR Load telemetry failure greater than five minutes will be recorded as an unavailable period.

(ii)	ERCOT shall produce monthly telemetry availability reports for Resources and the reports shall at a minimum consist of the following:  Resource status, Resource Gross MWs, Resource Net MWs, and Resource High Sustained Limit (HSL).

9.4	Compliance with Valid Dispatch Instructions

ERCOT shall produce monthly reports describing Qualified Scheduling Entity (QSE) and Resource valid Dispatch Instruction performance.  A valid Dispatch Instruction is a Security-Constrained Economic Dispatch (SCED) Base Point.

9.5	Supplying and Validating Data for Generator Models Such as CIM Performance Monitor

(1)	ERCOT shall prepare monthly reports summarizing the performance of the Common Information Model (CIM) modeling process.  Included in these reports shall be:

(a)	Number of Network Operations Model Change Requests (NOMCRs) submitted by the Qualified Scheduling Entity (QSE);

(b)	Number of invalid NOMCRs rejected by ERCOT and returned to the QSE; and

(c) 	Number of Notices of interim updates submitted to the Public Utility Commission of Texas (PUCT) accumulated by QSE.

(2)	ERCOT shall post reports showing individual QSE and Transmission Service Provider (TSP) performance on the Market Information System (MIS) Secure Area.

9.6	Resource Outage Scheduling and Reporting

(1)	Monthly Resource Outage reporting by owner:

(a)	Number of Outage requests submitted in the ERCOT Outage Scheduler greater than 335 days (11 months) in advance;

(b)	Number of Outage requests submitted in the ERCOT Outage Scheduler between 90 and 334 days in advance of the desired Outage date;

(c)	Number of Outage requests submitted in the ERCOT Outage Scheduler between eight and 89 days in advance of the desired Outage date;

(d)	Number of Outage requests submitted in the ERCOT Outage Scheduler between three and seven days in advance of the desired Outage date;

(e)	Number of Outage requests submitted less than three days in advance;

(f)	Number of Outages by Outage type; and

(g)	Total number of Outages that were requested, accepted, approved, cancelled, and withdrawn.

(2)	ERCOT shall post reports showing individual owner performance on the Market Information System (MIS) Secure Area.

9.7	Backup Control for Resource Energy Deployment

ERCOT shall produce a report identifying the date of backup control testing and the success or failure of that test.  Results shall be provided by the Qualified Scheduling Entity (QSE) to ERCOT at the completion of all tests.  Backup control tests shall be conducted at least annually.

9.8	Qualified Staffing Requirement

A Qualified Scheduling Entity (QSE) shall maintain a 24x7 scheduling center with qualified personnel with the authority to commit and bind the QSE.  ERCOT shall report to the Texas Regional Entity (TRE), instances of suspected non-performance following ERCOT’s investigation.

9.9	Automatic Voltage Regulator (AVR) and Power System Stabilizer (PSS)

(1)	ERCOT shall record Qualified Scheduling Entity (QSE) provided Automatic Voltage Regulator (AVR) test reports which will include:

(a) 	The minimum and maximum excitation limiters settings and associated time limits;

(b)	Volts/hertz settings;

(c)	Gain and time constants;

(d)	Date tested; and

(e)	Voltage regulator control setting;

(2)	ERCOT shall produce a report that will identify Resources that have not submitted test reports within the last 60 months.

9.10	Current Operating Plan Metrics for QSEs

(1)	ERCOT shall report when a Resource has not submitted a COP for seven consecutive Operating Days by 1500 of each day. This report shall be prepared monthly and posted on the Market Information System (MIS) Secure Area.

(2) 	ERCOT shall report in the Day Ahead when the capacity of Resources in the Operating Day COP at 1430 is not sufficient to supply Ancillary Service requirements.  ERCOT shall provide a monthly summary of the total days failed and total days analyzed.

(3) 	For each QSE, ERCOT shall report for each month the number, by Operating Hour, of valid Current Operating Plan (COP) failures to meet the provisions of paragraphs (3) and (4) of Section 3.9.2, Current Operating Plan Validation, for Ancillary Service Resource Responsibilities contained in the QSE’s COP used for the Day-Ahead Reliability Unit Commitment (DRUC) and each Hourly Reliability Unit Commitment (HRUC) during the Operating Day.  QSEs shall have no more than three hours during an Operating Day or 74 hours during a month that contains COP Ancillary Service Resource Responsibility validation failures.

(4)	ERCOT shall report when an Energy Offer Curve or Output Schedule is not provided for a Generation Resource that is scheduled On-Line in COP for the next hour.

(5)	ERCOT shall report the number of instances when a Resource’s Outage Schedule does not match its COP.

(6)	For each QSE, ERCOT shall post for each month the number of Operating Hours during which a Reliability Unit Commitment (RUC)-committed QSE Resource, not Off-Line as the result of a Forced Outage, failed to be On-Line and released to SCED for deployment in the RUC-Commitment Hour.  QSEs shall have no more than three hours during an Operating Day and no more than 74 hours during a month that contains one or more of these events.

9.11	TSP Monitoring Program

9.11.1	Rating Methodology Reporting Program

Transmission Service Providers (TSPs) shall submit their equipment rating methodology to ERCOT in the first quarter of each year or provide notice that the rating methodology has not changed since the previous year.  ERCOT shall keep records describing the rating methodologies of each TSP in the ERCOT Region. ERCOT shall prepare an annual report summarizing these rating methodologies and submit this information to the Texas Regional Entity (TRE).

9.11.2	Real-Time Data Monitor

ERCOT shall produce monthly reports describing Real-Time data performance of TSPs.  These reports shall include measurements as detailed in the Technical Advisory Committee (TAC) approved Telemetry Standards.

9.11.3	Outage Scheduling and Reporting

(1)	Monthly Transmission Outage reporting by owner:

(a)	Number of Outage requests submitted in the ERCOT Outage Scheduler greater than 335 days (11 months) in advance;

(b)	Number of Outage requests submitted in the ERCOT Outage Scheduler between 90 and 334 days in advance of the desired Outage date;

(c)	Number of Outage requests submitted in the ERCOT Outage Scheduler between eight and 89 days in advance of the desired Outage date;

(d)	Number of Outage requests submitted in the ERCOT Outage Scheduler between three and seven days in advance of the desired Outage date;

(e)	Number of Outage requests submitted less than three days in advance;

(f)	Number of Outages by Outage type; and

(g)	Total Number of Outages that were requested, accepted, approved, cancelled, and withdrawn.

(2)	ERCOT shall post reports showing individual owner performance on the Market Information System (MIS) Secure Area.

9.11.4	CIM Performance Monitor

(1)	ERCOT shall prepare monthly reports summarizing the performance of the Common Information Model (CIM) modeling process.  Included in these reports shall be:

(a)	Number of Network Operations Model Change Requests (NOMCRs) submitted during the month by the TSP;

(b)	Number of invalid NOMCRs rejected by ERCOT and returned to the TSP; and

(c)	Number of interim reports submitted to the Public Utility Commission of Texas (PUCT) accumulated by TSP.

(2)	ERCOT shall post monthly reports showing individual TSP performance on the MIS Secure Area.

9.11.5	Compliance with Valid Dispatch Instructions Monitoring

ERCOT shall produce monthly reports describing Transmission Service Provider (TSP) valid Dispatch Instruction performance.

9.12	ERCOT Performance Monitoring Program

9.12.1	Transmission Control

(1)	ERCOT shall prepare a report describing the operating violations on every transmission line and autotransformers operated at voltages greater than 60 kV.

(a)	ERCOT shall prepare monthly reports on the following:

(i)	Transmission equipment ratings that are exceeded;

(ii)	Violations of system operating limits or power transfer limitations set by ERCOT to guard against post-contingency stability exceedance for over ten minutes;

(iii)	Violations of system operating limits or power transfer limitations set by ERCOT to guard against post-contingency stability exceedance for over thirty minutes;

(iv)	N-1 post-contingency violations of equipment ratings provided by Transmission Service Providers (TSPs) and Qualified Scheduling Entities (QSEs) for over 30 minutes; and

(v)	Base power violations detected during the month, the time duration of the loading above normal operating limit or, the average operating limit exceeded if the element was dynamically rated, and the average percentage loading.

(2)	Other transmission monitoring and control metrics:

(a)	ERCOT shall prepare reports describing the number of Forced Outages by TSP by month;

(b)	ERCOT shall post on the Market Information System (MIS) Secure Area its performance in processing TSP Outage requests in accordance with the following table including justification for rolling Outages from one timeline to another:

| Amount of time between the request for approval of the proposed Outage and the scheduled start date of the proposed Outage: | ERCOT shall approve or reject no later than: |
| --- | --- |
| Three days | 1800 hours, two days before the start of the proposed Outage |
| Between three and eight days | 1800 hours, three days before the start of the proposed Outage |
| Between nine days and 45 days | Four days before the start of the proposed Outage |
| Between 46 and 90 days | 40 days before the start of the proposed Outage |
| Greater than 90 days | 75 days before the start of the proposed Outage |

(c)	ERCOT shall post on the MIS Secure Area its performance in sending TSPs rejection Notices.  The report will include specific concerns that caused the rejection.

(d)	ERCOT shall post on the MIS Secure Area, by TSP, the number of withdrawals of approved Outages.

(e)	ERCOT shall post on the MIS Secure Area, by TSP, the number of approved Outages that were rescheduled by ERCOT.

(3)		Minimizing uplift to markets caused by transmission operations:

(a)	ERCOT shall report monthly on:

(i)	Reliability Unit Commitment (RUC) charges uplifted;

(ii)	Voltage support charges uplifted; and

(iii)	Uplift payments due to Base Point deviations charges.

(4)		State Estimator Performance Metrics:

(a)	ERCOT shall report State Estimator performance in accordance with the Protocols and the Technical Advisory Committee (TAC)-approved standard and post such report on the MIS Secure Area.

9.12.2	Resource Control

(1)	Resource Control Metrics:

(a)	Average sum of Regulation Up (Reg-Up) and Regulation Down (Reg-Down) energy - ERCOT shall report for each month the difference between the 5-minute average monthly sum of Reg-Up energy deployed and the 5-minute average monthly sum of Reg-Down energy deployed for each 5-minute interval of the Operating Day.

(b)	Total Reg–Up and Reg-Down per interval - ERCOT shall develop a monthly report detailing the total amount of Reg-Up energy deployed in the Settlement Interval and the total amount of Reg-Down energy deployed for each Settlement Interval of the Operating Day.

(2)	Reserve Monitoring:

(a)	ERCOT shall prepare monthly reports describing amounts of time that it operated without sufficient operating reserves as defined in the Protocols.

(3)	RUC commitments and deployments:

(a)	For each month, ERCOT shall report, Generation Resources committed in the RUC process, including Resource name, intervals deployed, process in which the Resource was committed, and any deviation from Resources committed and actual Resource performance.

(4)	Dynamically Scheduled Resource (DSR) Performance:

(a)	ERCOT shall produce monthly reports for DSR Load signal failures of more than five minutes.

(5)	Conflicting Instructions to Generation Resources from interval to interval:

(a)	ERCOT shall record and report, on a monthly basis, instances of Dispatch Instructions to Resources not providing Regulation Service in which there is an inflection in the instruction for four consecutive Security-Constrained Economic Dispatch (SCED) intervals for validation and review.  Inflection is defined as a reversal in ramp direction between consecutive intervals.

(6)	ERCOT-wide frequency response to measurable frequency events:

(a)	ERCOT shall report monthly the resulting system performance for each measurable frequency event.

9.12.3	Load Forecasting

ERCOT shall report the Mean Absolute Percent Error (MAPE) each month for the following:

(a)	The accuracy of each day’s System Load forecast posted at 0600 in the Day Ahead of the Operating Day as compared with the actual average ERCOT Load for each hour of the Operating Day;

(b)	Accuracy of the system Load forecast used for Day Ahead Reliability Unit Commitment (RUC) compared to the actual average ERCOT Load for each hour of the Operating Day; and

(c)	The accuracy of the Load forecast for the following items compared to the average of the State Estimated Load at each Electrical Bus with a modeled Load for each hour:

(a)	Hourly Load forecast used in the Day Ahead RUC by Weather Zone;

(b)	Hourly Load forecast used in the Hourly RUC by Weather Zone; and

(c)	The accuracy of the Load forecast used in the Day Ahead RUC for the largest MW and MVA differences between the hourly Bus Load Forecast and the Real-Time Load at each Electrical Bus, by Weather Zone.

9.12.4	System Operating Constraints

ERCOT shall report the following comparisons with respect to Real-Time operations as they occur:

(a)	Three consecutive days of a particular congestion constraint (constraints passed to Security-Constrained Economic Dispatch (SCED) from Network Security Analysis (NSA)) in Real-Time not identified in the Day Ahead Market (DAM);

(b)	Two consecutive hours of a particular congestion constraint in Real-Time not identified in the Hourly Reliability Unit Commitment (HRUC) process; and

(c)	Two consecutive days of a particular congestion constraint in Real-Time not identified in the Day Ahead Reliability Unit Commitment (DRUC) process.

9.12.5	Network Operations Model Update Implementation Performance

ERCOT shall report monthly on the Network Operations Model update implementation performance.  The report shall include the total number of Network Operations Model Change Requests (NOMCR) submitted, approved, rejected, withdrawn and any other status contained in the Protocols or defined by ERCOT.  The report shall also include the number of interim updates and reasons provided (previously included in Protocol-required Public Utility Commission of Texas (PUCT) reports)) for the interim updates provided by Market Participants.   The timeline defined in the Protocols shall be used in the performance evaluation.  The report should itemize any non-Generation Resource Transmission Element whose limits were changed outside of the NOMCR process.

9.12.6	Back-up Control Plan

(1)	ERCOT shall report by the end of the 1st quarter of each year:

(a)	Qualified Scheduling Entities (QSEs) and Transmission Service Providers (TSPs) which have approved back-up procedures on file with ERCOT and the date that the plan was last updated; and

(b)	The status of ERCOT’s back-up plan and the status of back-up training for QSEs and TSPs.

(2)	ERCOT shall confirm that a staffing plan is part of the procedures submitted by QSEs and TSPs.

9.12.7	ERCOT Black Start Plan

ERCOT shall develop an annual Black Start Plan and post on the MIS Secure Area.

9.12.8	Computer and Communication Systems Real-Time Availability and Systems Security

ERCOT shall report monthly the performance of its computer and communications systems as compared to its standards.

9.12.9	Voltage and Reactive Control Performance Monitoring

ERCOT shall monitor voltage violations, N-1 voltage violations, reactive reserves, and import margins to voltage constrained areas not resolved within 15 minutes.  ERCOT shall produce monthly reports for each Transmission Service Provider (TSP) summarizing:

(a)	Number of Real-Time voltage violations and metrics describing duration of such violations;

(b)	Number of N-1 voltage based security violations and metrics describing duration of such violations;

(c)	Metrics describing reactive reserve in voltage constrained areas; and

(d)	Metrics describing N-1 import limitations in voltage constrained areas.

9.13	Ancillary Services Monitoring Program

ERCOT shall monitor Ancillary Service energy deployment according to the criteria outlined in Protocol Section 8, Performance Monitoring and Compliance.  Reports required by Protocol Section 8.1.1.4, QSE Ancillary Service Energy Deployment Monitoring Criteria, will be posted on the Market Information System (MIS) Certified Area.

9.13.1	Regulation Control Performance

ERCOT shall produce monthly and yearly reports of Qualified Scheduling Entity (QSE) and Resource specific regulation performance metrics as required in the Protocols.

9.13.2	Hydro Responsive Testing for QSEs

ERCOT shall produce monthly reports of Hydro responsive tests and verify results submitted by the QSE for qualification.

9.13.3	Black Start Service Requirements for TSPs, QSEs, and Generation Resources

ERCOT shall produce annual reports containing record(s) of if and when a black start procedure was last received at ERCOT including the QSE or Transmission Service Provider (TSP) name and date procedure received.  The QSEs participating in Black Start Service and TSPs shall provide an updated black start procedure to ERCOT by the end of the 1st quarter and when the procedure has changed.

9.13.4	Resource-Specific Responsive Reserve Performance for QSEs and Resources

ERCOT shall develop monthly reports detailing Resource-specific Responsive Reserve performance, for both capacity deployment and energy delivered, as required in the Protocols.

9.13.5	 Constant Frequency Control

ERCOT shall survey Qualified Scheduling Entities (QSEs) qualified to provide Regulation Services to attest that the QSEs have the capability to operate in constant frequency control mode.  ERCOT shall develop annual summaries of QSEs surveyed.

9.13.6	Resource-specific Non-Spinning Reserve

ERCOT shall develop a monthly summary for Non-Spinning Reserve (Non-Spin) deployed by each Resource, and the Resource’s response after 30 minutes.  Each Resource shall meet at all times the Non-Spin energy deployment criteria as described in the Protocols.