2/9/09 OWG Meeting Minutes

Attendance:

John Jonte		Centerpoint		Jack Thormahlen	LCRA

Brad Calhoun		Centerpoint		Wayne Bolton		Brazos

Cary Rasberry		Brazos			Glen Hemperley	Centerpoint

Ross Owen		Oncor			Frank Owens		TMPA

Larry Parr		CPS Energy		Kevin Brown		Austin Energy

Dennis Sauriol		AEP			Tip Tipton		BEPC

Steve Bone 		CPS Energy		Jimmy Hartmann	ERCOT

Colleen Frosch 	ERCOT

Meeting stated with the Anti-Trust Admonition

Reviewed and approved meeting notes from last OWG meeting

Operations report was not reviewed since it has not been given to ROS.  Report has been posted with ROS material, no one had any questions.

The ERCOT Winter Drill representative will be Kelly Blackmer, the planning phase will start soon.

Black Start PRR780 was approved; it changes the bidding process from 1 year to 2 years.

Need new OGRR to sync up with PRR785, Timing for Required Black Start Unit Load Carrying Test.

Colleen Frosch reported no major changes for ERCOT operator procedures

Reviewed and approved OWG Scope, will be sent to ROS for their approval

OGRR216, System Security Response Group, Impact Analysis approved

NOGRR024, System Security Response Group, Impact Analysis approved

OGRR217, Relay Misoperation Report Format Change

- Do we need to use the same naming convention as used in the Outage Scheduler?

- SPWG is restricted to transmission owners, generators not allowed

- Tabled until March OWG meeting, would like the SPWG Chairman come and discuss and answer questions.

OWG made comments to NOGRR220 which is on urgent status to be voted on at next ROS meeting, the proposed language uses OGRR and NOGRR interchangeable making it difficult to follow.

OGRR219, Time Correction has urgent status.  Discussed the reason behind this OGRR was for ERCOT to participate in a filed trail for NERC.  ERCOT will stop making time corrections starting March 1, 2009, needed this change so ERCOT will not be held non-compliant for not making Time Corrections.

NOGRR205, QSE, TSP Monitoring, briefly discussed.  Much attention will need to be paid to this NOGRR.

PRR800, Day-Ahead Metric, briefly discussed.