| PRR Number | 810 | PRR Title | Remove McCamey Congestion Management |
| --- | --- | --- | --- |
| Date Posted |  | April 1, 2009 |  |
| Protocol Sections Requiring Revision |  | 2.2, Acronyms 7.8, Congestion Management in McCamey Area (delete) |  |
| Requested Resolution |  | Normal |  |
| Revision Description |  | This Protocol Revision Request (PRR) removes the unique congestion management procedures for the McCamey Area. |  |
| Reason for Revision |  | The need to manage congestion related to high levels of wind generation is no longer unique to the McCamey Area. Line and voltage equipment upgrades in the McCamey Area have greatly increased the capability to export generation from the area. |  |
| Overall Market Benefit |  | The proposed PRR removes the unique treatment of McCamey Wind-powered Generation Resources (WGRs), allowing them to be treated in the same manner as other WGRs when considering their impact on transmission constraints. This allows ERCOT operators to consistently analyze all Resources and will allow more effective Congestion management throughout the West zone. |  |
| Overall Market Impact |  | Congestion management in the West zone may be more effective. |  |
| Consumer Impact |  | None. |  |
| Credit Implications |  | To be determined. |  |
| Relevance to Nodal Market |  | McCamey Flowgate Rights (MCFRIs), a particular type of Congestion Revenue Right (CRR), were defined in the Nodal Protocols as a carry-over of unique Congestion management for the McCamey area. Once this PRR is approved, it seems appropriate to consider a Nodal PRR (NPRR) which would remove MCFRIs from the Nodal Protocols. |  |
| Nodal Protocol Section(s) Requiring Revision |  | None. |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | Congestion management in the West zone may be more effective. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | The proposed PRR removes the unique treatment of McCamey WGRs, allowing them to be treated in the same manner as other WGRs when considering their impact on transmission constraints. This allows ERCOT operators to consistently analyze all Resources and will allow more effective Congestion management throughout the West zone. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 | Eliminates the manual verbal Dispatch Instructions to McCamey WGRs for on- and off-peak. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Beth Garza |
| E-mail Address | bgarza@potomaceconomics.com |
| Company | Potomac Economics |
| Phone Number | 512-225-7077 |
| Cell Number |  |
| Market Segment | Independent Market Monitor (IMM) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jonathan Levine |
| E-Mail Address | jlevine@ercot.com |
| Phone Number | 512-248-6464 |

Proposed Protocol Language Revision

2.2 	Acronyms

7.8	[RESERVED]