| PRR Number | 768 | PRR Title | TSP Energy Storage for Reliability (formerly “TDSP Energy Storage for Reliability”) |  |
| --- | --- | --- | --- | --- |
| Timeline | Urgent | Recommended Action |  | Approval |
| Date of Decision |  | March 19, 2009 |  |  |
| Protocol Section Requiring Revision |  | 10.3.3.1, Data Responsibilities |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Revision Description |  | This Protocol Revision Request (PRR) inserts new paragraph (6)(c) in Section 10.3.3.1 which clarifies that energy flows, from Transmission Service Provider (TSP) owned battery storage technology, will be treated similarly as substation equipment and therefore the measurement of such flows are not required for settlement. This new paragraph will be limited to ERCOT Board endorsed TSP reliability projects. |  |  |
| Overall Market Benefit |  | Provides additional technology to address reliability needs. Provides near-term solutions to support to Loads, while permanent solutions can be put in place. |  |  |
| Overall Market Impact |  | See Quantitative Impacts and Benefits below. |  |  |
| Consumer Impact |  | Provides an additional tool to enhance reliability. |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 7/23/08, PRR768 was posted. - On 8/4/08, Luminant Energy comments were posted. - On 8/14/08, AEP comments were posted. - On 8/19/08, PSEG TX comments were posted. - On 8/21/08, PRS considered PRR768. - On 3/19/09, PRS again considered PRR768. |  |  |
| PRS Decision |  | On 8/21/08, PRS voted to table PRR768 until the Public Utility Commission of Texas (PUCT) issues a decision in the proceeding relating to the ownership issue (PUCT Docket No. 35994; see Summary of PRS Discussion below). There was one opposing vote from the Investor Owned Utility Market Segment and two abstentions from the Investor Owned Utility and Municipal Market Segments. All Market Segments were present for the vote. On 3/19/09, PRS voted to recommend approval of PRR768 as amended by AEP comments. There was one abstention from the Municipal Market Segment. PRS then unanimously voted to grant PRR768 Urgent status. All Market Segments were present for the votes. |  |  |
| Summary of PRS Discussion |  | On 8/21/08, the sponsor of PRR768 noted that this PRR is in response to the Presidio project, which has already been approved by the ERCOT Board. Concern was expressed that the storage device could be viewed as a Generation Resource owned by a Transmission and/or Distribution Service Provider (TDSP), which might be contrary to the Public Utility Regulatory Act (PURA). It was noted that a proceeding has been initiated at the PUCT requesting the PUCT’s opinion on the legality of the ownership of the storage device by a TDSP. Several participants expressed support for tabling PRR768 until the PUCT has issued its decision. It was noted that if PRR768 is tabled pending the PUCT’s decision, PRR768 can be given Urgent status if necessary after the PUCT’s decision is released. In addition, concern was expressed with the potential precedential effect of this revision, even if the proposed Protocol language clearly indicates that the rule in question is limited to this single particular storage device. The sponsor expressed its opposition to waiting to address the proposed Protocol revisions until the PUCT renders its decision. On 3/19/09, the sponsor of PRR768 noted that the PUCT addressed PUCT Docket No. 35994 at a recent open meeting and is expected to issue a written order soon that will approve the storage device as a transmission asset eligible for inclusion in the owner’s transmission cost of service. Concern was expressed that the proposed paragraph needs language limiting its applicability to a particular site or to storage devices below a certain size, and it was noted that the AEP comments proposed revisions to provide that the metering exemption identified for “storage devices installed as part of a transmission reliability project” applied specifically to the battery units included in the reliability improvements for Presidio approved by the ERCOT Board of Directors in July 2008. |  |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 | Assume a 4.8 MW battery at Presidio. |  |
| --- | --- | --- | --- |
|  | 2 | Discharge hours per year due to outages – fifteen (15) hours. |  |
|  | 3 | Load at Presido three (3) MW. |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | Losses associated with operation of battery fifteen percent (15%). | Worst case cost for 6.75 MWh/year associated with battery losses @ the Market Clearing Price for Energy (MCPE) cap price of $2,250 = $15,187.50. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Avoid costs associated with Block Load Transfers (BLTs) and complete reliance on the Comision Federal de Electricidad (CFE) for backup power. | Savings of three (3) MW times fifteen (15) hours @ eighteen thousand (18,000) heat rate compared to overnight charging when MCPE is at a minimum. |
|  | 2 | Ordinarily charged over night when MCPE is at a minimum. | Typical cost for 6.75 MWh/year associated with battery losses @ the MCPE minimum price of twenty dollars ($20) = one hundred thirty-five dollars ($135.00). |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | The installation and operation of a battery will allow for the performance of planned maintenance on radial transmission lines and minimize service interruption to end use Customers. |  |
|  | 2 | Enhanced grid reliability. |  |
|  | 3 | Provide near-term solution to support loads, while permanent solutions can be put in place. |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Luminant Energy 080408 | Recommends that AEP provide a legal analysis of PURA and the PUCT Substantive Rules as they apply to this proposal and that the PRR be rejected or withdrawn pending this information. |
| AEP 081408 | Incorporates revisions recommended by the Transition Plan Task Force (TPTF) on the associated Nodal Protocol Revision Request (NPRR) 141. |
| PSEG TX 081908 | Encourages AEP to withdraw PRR768 and NPRR141 until issues raised by these revision requests regarding energy ownership, settlement, and concomitant impacts on market prices are resolved. |

| Original Sponsor |  |
| --- | --- |
| Name | Kip Fox |
| Company | American Electric Power Company |
| Market Segment | Investor Owned Utility |

Proposed Protocol Language Revision

10.3.3	TDSP Metered Entities

10.3.3.1	Data Responsibilities

TDSPs shall be responsible for the following:

(1)	Providing consumption data for each ESI ID and RID on a monthly basis according to the data timeliness and accuracy standards defined in this Section and in the SMOG;

(2)	Providing start date, stop date, ESI ID or RID, and consumption data in kWh as well as an identifier for “estimated” reads as applicable;

(3)	Submitting a single demand value for each non-IDR ESI ID that has a demand register to ERCOT if, and only if, a demand value is required for TDSP tariffs or for CR customer billing.  If the CR and TDSP do not require a demand value, then the TDSP shall not submit a demand value to ERCOT even if the meter has a demand register;

(4)	Validating, Editing, and Estimating (VEE) meter data according to the standards in this Section before submitting data to the settlement process;

(5)	Calculating consumption for any unmetered services by ESI ID and submitting such data monthly to ERCOT, subject to ERCOT audit.  These calculations must be made pursuant to TDSP approved tariffs; and

(6)	Metering all Loads, unless the Load meets one of the following criteria:

(a)	Energy consumption by substation Facilities and equipment for the purpose of transporting electricity (e.g., substation transformers, fans, etc.);

(b)	Unmetered energy consumption represented by an ERCOT-approved Load Profile; or

(c) 	Energy charge and discharge and associated losses for the Presidio substation Facilities, for the Board approved storage devices installed as part of a transmission reliability project.