| ERCOT Retail Client Services |  |  |
| --- | --- | --- |
| Event Description: RMWG | Date: March 30, 2009 | Completed by: Dwight Page |
| Attendees: Terry Bates (ONCOR), Don Tucker (ERCOT), Mike McCabe (RELIANT) Calvin Opheim (ERCOT),Dwight Page (ERCOT), , Freddie Whitlock (CNP), Jennifer Fredrick (DIRECT), Jim Lee (DIRECT), Sandra Tindall (ERCOT), Jerry Ricks (Landis & Gyr), Sam Woolard (TNMP), Allan Burke (TNMP), Chris Rowley (TXU Energy) Phone: Kathy Scott (CENTERPOINT), Michael Matlock (GEXA), Terri Gibbons (Public Utility Counsel), Martin Rodriquez (AEP), Dwane Tervooren (AEP), Kevin Kulhanek (CENTERPOINT) , Walter Koopman (City of Georgetown) |  |  |
| Summary of Event: |  |  |
| - Antitrust – Terry Bates - Introductions – Terry Bates - Reviewed & Modified Manufacturer Standards Compliance Form Letter – Don Tucker - Removed web link in the Form Letter - Suggested changes were accepted – See Key Documents dated 3-24-2009 - ERCOT will post the updated document. - Discuss the Competitive Metering Rule and AMS – Mike McCabe - How does AMS affect or impact existing procedures and rules (meter ownership) established by RMWG? – No impacts identified based on the documents referred to below - Does meter ownership documentation need to be revised since current rules apply only to premises with IDR and not all commercial premises are eligible for ownership? - No – only those indicated in the documents below can utilize competitive meters - CHAPTER 25. SUBSTANTIVE RULES APPLICABLE TO ELECTRIC SERVICE PROVIDERS Subchapter M. COMPETITIVE METERING §25.311. Competitive Metering Services http://www.puc.state.tx.us/rules/subrules/electric/25.311/25.311.pdf - 25.311(b)(1) Defines commercial and industrial customers. - 25.311(b)(5) Defines metering services. - 25.311(c) Defines Meter ownership. - Public Utility Regulatory Act (PURA) §39.107 Metering and Billing Services (a), (b) http://tlo2.tlc.state.tx.us/statutes/docs/UT/content/htm/ut.002.00.000039.00.htm#39.107.00 - Metering services provided to commercial and industrial customers that are required by the independent system operator to have an interval data recorder meter may be provided on a competitive basis. - ERCOT Protocols Section 18 Load Profiling 18.6 Installation and Use of Interval Data Recorders http://www.ercot.com/content/mktrules/protocols/current/18-010109.doc - Per ERCOT Protocols Section 18.6.1(1)a and b: IDRs shall be installed and utilized for settlement of Premises having either: - A peak Demand greater than 700 kW (or 700 kVA), or - Service provided at transmission voltage (above 60 kV). - RMWG reviewed Competitive Meter List and decided to remove those meters that do not have IDR listed in the column titled “approved functionality for TDSP billing and settlement”. The consensus in the meeting was that ERCOT should update the Qualified Competitive Meter List and post the updated list. - Review Section 12 of the CMG for Revisions – Don Tucker/Sandra Tindall - Section 12.11(2) – modified – See Key documents - Section 12.13(4) – deleted - See Key documents - Section 12.13 – added definitions - See Key documents - Section 12.17(3) - Modified - See Key documents - Suggested CMGRR will be review by Market Rules and returned to RMWG Chair for submission - Discussed the possibility, along potential impacts, of removing IDRs and replacing them with Advanced Meters (AMS) – Terry Bates See Key Document – IDR to AMS questions - Three broad possibilities - Change IDR to AMS – Treat as IDR - Change IDR to AMS – Treat as AMS - Change IDR to AMS – Treat as IDR but utilize AMS - REPs and TDSPs need to check internally to answer the following: - Are there TDSP rate and tariff issues - Does this impose any system changes for REPS, TDSPs and ERCOT - What type of impact on the profile type - What are the benefits to REPS, TDSPs and the customer - Is the change a REP, TDSP or customer choice - First, the ERCOT Protocols need to be revised to allow an IDR to be removed and replaced with an Advanced meter (AMS). The REP should coordinate communications for all customers before any changes from IDR meters to AMS meters will occur - We have noted tasks for various market participants to get feedback on and will continue this discussion going until we make a decision on how to proceed. - Discussion of Operating Guide Revision Request 0219 – Don Tucker - Would stopping time error correction have an impact? – Will impact TDSP and require more effort to keep meter time for IDR within protocols limits. Also impacts meters with time of use programs. - Could meters be programmed to keep time based on the internal crystal instead of synchronizing with the line frequency? The crystal oscillator may have significant time drift issues. TDSPs to check and provide RMWG chair information by Monday, April 6th. - Discuss the Impact of Pre-pay Services/Devices to Existing RMWG Procedures & Rules – Mike McCabe - How do Pre-Pay services/devices affect or impact existing procedures and rules established by RMWG? - Are modifications needed to include procedures and standards for pre-pay devices? - Per CHAPTER 25. SUBSTANTIVE RULES APPLICABLE TO ELECTRIC SERVICE PROVIDERS. Subchapter R. CUSTOMER PROTECTION RULES FOR RETAIL ELECTRIC SERVICE: - §25.498(b) Defines prepayment systems as a device or technology owned by an REP. - §25.498(c)(2) Prepayment devices are installed on the customer side ot the TDU meter. - RMWG determined that since devices were on the customer side of the meter there would be no impact Adjournment -- Terry Bates Action Items: - TDSPs, REPs and ERCOT to discuss internally impacts of changing appropriate IDRs with AMS meters given the different above mentioned possibilities as detailed in the document capturing this discussion. - ERCOT to update Competitive Meter List. - ERCOT Market Rules to review and return CMGRR to RMWG Chair for submission. - TDSPs and REPs to provide impacts on ERCOT not providing time error correction for NERC study by April 6th, Update to be provided to RMS on concerns raised during the RMWG discussions. - TDSPs to determine if there is an alternative to utilizing line frequency for time – also by April 6th. Next Meeting Dates: - TBD |  |  |