## Slide 1: Protocol Revision Subcommittee
Presentation to the
ERCOT Technical Advisory Committee
April 9, 2009

## Slide 2: PRS Summary
4 PRRs for Approval
1 NPRR for Approval
Unfunded Project List Update
Current Discussions
  Status of Post-”Go-Live” NPRRs
  PRS 2009 Goals

## Slide 3: Revision Requests Unanimously Recommended for Approval with No Impacts

## Slide 4: PRR 797 – Removal of Reference to ERCOT Business Process
Purpose (ERCOT) | Revises term “Generation Resource Asset Registration Form” in Section 4.10.4.1 (LSL Requirements for WGRs) to “as registered with ERCOT” | 
Benefit | Clarifies that the requirement is asset registration and not a specific type of form | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval; all Market Segments were present | 
Effective Date | June 1, 2009 | 

## Slide 5: PRR 797 – Removal of Reference to ERCOT Business Process
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 6: PRR 804 – Revisions to Section 21 Appeals Process -- URGENT
Purpose (ERCOT) | Provides that if a motion to approve a revision request fails, the revision request shall be deemed rejected by the body considering it and subject to appeal, unless at the same meeting that body votes to remand, refer or reconsider the revision request | 
Benefit | Further defines an “appealable event” | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval as amended by Austin Energy and Reliant Energy; all Market Segments were present | 
Effective Date | May 1, 2009 | 

## Slide 7: PRR 804 – Revisions to Section 21 Appeals Process -- URGENT
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 8: Revision Requests Not Unanimously Recommended for Approval with No Impacts

## Slide 9: PRR 768 – TDSP Energy Storage for Reliability -- URGENT
Purpose (AEP) | Clarifies that electricity flows from TSP-owned battery storage will be treated as substation equipment and that measurement of such flows is not required for settlement; this clarification will be limited to ERCOT Board endorsed TSP reliability projects | 
Benefit | Provides additional technology to address reliability needs | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended approval with 1 abstention; all Market Segments were present | 
Effective Date | May 1, 2009 | 

## Slide 10: PRR 768 – TDSP Energy Storage for Reliability -- URGENT
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 11: Revision Requests Unanimously Recommended for Approval with Impacts

## Slide 12: PRR 803 – Revised Implementation Approach for PRR 601 -- URGENT
Purpose (ERCOT) | Changes the BES ramping period from 10 minutes to 14 minutes | 
Benefit | Improve dispatch efficiency by better ramp rate utilization | 
Market Impact | Ramping over 14 minutes will allow more BES to be deployed and may tend to reduce Regulation Service deployments | 
System Change | Yes | $100K to $250K
Assumptions | Impacts EMMS, EDW, Market Database and Lodestar | 
PRS Vote | PRS unanimously recommended approval with a “2 - High” priority and rank of 39.1; all Market Segments were present | 
Effective Date | Upon system implementation | 

## Slide 13: PRR 803 – Revised Implementation Approach for PRR 601 -- URGENT
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
EMMS, EDW, Market Database and
Lodestar
$100K to $250K

## Slide 14: NPRR 149– Change the Name of Emergency Electric Curtailment Plan (EECP) to Energy Emergency Alert (EEA)
Purpose (ERCOT) | Companion of PRR 775; changes EECP to EEA; changes the defined term “Alert” to “Watch” | 
Benefit | Reduce confusion when ERCOT communicates statuses or reports on recent events | 
Market Impact |  | 
System Change | Yes | <$50K
Assumptions | Impacts EMS | 
PRS Vote | PRS unanimously recommended approval; all Market Segments were present | 
Effective Date | ERCOT believes NPRR 149 is needed for “go-live”; effective upon Nodal implementation; no impact to schedule | 

## Slide 15: NPRR 149– Change the Name of Emergency Electric Curtailment Plan (EECP) to Energy Emergency Alert (EEA)
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
EMS
<$50K

## Slide 16: PRR/NPRR Summary
Revision Requests Unanimously Recommended for Approval with No Impacts
  PRR 797 – Removal of Reference to ERCOT Business Process
  PRR 804 – Revisions to Section 21 Appeal Process -- URGENT
Revision Requests Not Unanimously Recommended for Approval with No Impacts
  PRR 768 – TDSP Energy Storage for Reliability -- URGENT
Revision Requests Unanimously Recommended for Approval with Impacts
  PRR 803 – Revised Implementation Approach for PRR 601 -- URGENT
  NPRR 149 – Change the Name of Emergency Electric Curtailment Plan (EECP) to Energy Emergency Alert (EEA)

## Slide 17: Unfunded Project List Report
PRS reports there are no unfunded projects at this time
  Protocol Section 21.9 requires quarterly reporting to the ERCOT Board regarding projects on the “Unfunded Project List”
  Unfunded Projects are listed on a separate PPL tab

## Slide 18: PRS Discussion Update
Status of Post-”Go-Live” NPRRs
  PRS discussed basic framework for combining NPRRs into releases – no decisions made
    Will report to TAC in May 2009

## Slide 19: PRS 2009 Goals
Goals (Endorsed by PRS)
  Process PRRs and NPRRs (Section 21 requirement)
  Facilitate and make recommendations for 2010 Project Priorities as requested by ERCOT
  Collaborate with ERCOT PMO to structure a process for “releasing” NPRRs to be included in “go-live plus ‘x’”