Date: 	April 2, 2009

To:	TAC Representatives

From:	Kevin Gresham, PRS Chair

Re:	Consideration of Protocol Revision Requests (PRRs) and Nodal Protocol Revision Requests (NPRRs)

The Protocol Revision Subcommittee (PRS) met and discussed several revision requests and presents the following PRRs and NPRRs to the Technical Advisory Committee (TAC) for consideration this month.

Unless indicated otherwise, all Market Segments were present for the vote.  In addition, unless stated otherwise, the ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision requests and do not believe they require changes to credit monitoring activity or the calculation of liability.

# PRRs Recommended for Approval:

- PRR768, TDSP Energy Storage for Reliability [AEP] - URGENT.  Proposed effective date:  May 1, 2009.  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.  This PRR inserts new paragraph (6)(c) in Section 10.3.3.1, Data Responsibilities, which clarifies that energy flows, from Transmission and/or Distribution Service Provider (TDSP) owned battery storage technology, will be treated similarly as substation equipment and therefore the measurement of such flows are not required for settlement.  This new paragraph will be limited to ERCOT Board endorsed TDSP reliability projects.  PRR768 was posted on 7/21/08.  On 8/21/08, PRS voted to table PRR768 until the Public Utility Commission of Texas (PUCT) issued a decision regarding the AEP filing with one opposing vote from the Investor Owned Utility (IOU) Market Segment and two abstentions from the IOU and Municipal Market Segments.  On 3/19/09, PRS voted to recommend approval of PRR768 as amended by AEP comments with one abstention from the Municipal Market Segment, and PRS unanimously voted to grant PRR768 Urgent status.    Credit review is pending.

- PRR797, Removal of Reference to ERCOT Business Processes [ERCOT].  Proposed effective date:  June 1, 2009.  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.  This PRR revises the term “Generation Resource Asset Registration Form” in Section 4.10.4.1, LSL Requirements for WGRs, to a generic phrase “as registered with ERCOT”.  PRR797 and its corresponding Impact Analysis were posted on 1/12/09.  On 2/19/09, PRS unanimously voted to recommend approval of PRR797 as submitted.  On 3/19/09, PRS unanimously voted to forward the PRS Recommendation Report and the Impact Analysis to TAC for approval.  Credit review is pending.

- PRR803, Revised Implementation Approach for PRR601 [ERCOT] - URGENT.  Proposed effective date:  Upon system implementation.  $100K - $250K budgetary impact; 3 to 6 month implementation timeline upon project initiation; no additional full-time equivalents needed; changes to Energy Management and Market Systems (EMMS), Enterprise Data Warehouse (EDW), and Market Database systems and minor code changes to Lodestar required; would necessitate that ERCOT create a coordinated testing plan to ensure successful deployment across the market; no impact to grid operations.  This PRR changes the ramping period for Balancing Energy Service deployment for Base Power Schedule Calculation and Balancing Energy Power Schedule from ten minutes to fourteen minutes.  PRR803 and its corresponding Impact Analysis were posted on 2/20/09.  On 2/25/09, the motion to grant Urgent status passed via PRS email vote.  On 3/19/09, PRS unanimously voted to recommend approval of PRR803 as submitted with a priority of 2-High and a rank of 39.1.  Credit review is pending.

- PRR804, Revisions to Section 21 Appeal Process [ERCOT] - URGENT.   Proposed effective date:  May 1, 2009.  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.  This PRR revises Section 21, Process for Protocol Revision, to provide that if a motion to approve a revision request fails, the revision request shall be deemed rejected by the body considering it and subject to appeal, unless at the same meeting that body votes to refer or to reconsider the revision request.  PRR804 and its corresponding Impact Analysis were posted on 2/20/09.  On 2/25/09, the motion to grant Urgent status passed via PRS email vote.  On 3/19/09, PRS unanimously voted to recommend approval of PRR804 as amended by the 3/18/09 Reliant and Austin Energy comments.  Credit review is pending.

NPRRs Recommended for Approval

  - NPRR149, Change the Name of Emergency Electric Curtailment Plan (EECP) to Energy Emergency Alert (EEA) [ERCOT].  Proposed effective date:  Upon Texas Nodal Market Implementation.  Incremental cost to the Nodal Project of less than $50K; no ERCOT staffing impacts; modifications to ERCOT Energy Management System (EMS) necessary for implementation; no business function impacts; no impact to grid operations and practices.  This NPRR changes the name of the Emergency Electric Curtailment Plan (EECP) to Energy Emergency Alert (EEA).  NPRR149 was posted on 8/22/08.  On 9/24/08, PRS unanimously voted to refer NPRR149 to the Nodal Protocol/Reliability Standards Alignment Task Force (NPRSA) for consideration.  On 12/18/08, PRS unanimously voted to recommend approval of NPRR149 as amended by NPRSA and the Operations Working Group (OWG) comments.  The Independent Generator Market Segment was not present for the vote.  On 1/22/09, PRS unanimously voted to table NPRR149.  On 3/19/09, PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis for NPRR149 to TAC.

SCRs Assigned Priorities and Ranks

  - SCR754, Replace Email Delivery of WGRPP Forecasts (formerly titled “WGRPP Forecasts Posted on Zonal TML”) [ERCOT] – URGENT. Proposed effective date:  Upon system implementation. Project in $50K - $100K range required; implementation time less than three months; no additional full-time equivalents needed; Changes to Market Operating System (MOS), Market User Interface (MUI), Market Databases and EDW; no change to ERCOT business functions; no impact to grid operations and practices.  This System Change Request (SCR) proposes to provide a secure and programmatic means to supply the Wind-powered Generation Resource (WGR) Qualified Scheduling Entities (QSEs) with their forecasts by: (a) providing WGR QSEs their forecasts through the zonal Extensible Markup Language (XML) MUI; (b) a WGR QSE can obtain its current forecasts by submitting a query through the zonal XML MUI; (c) this will be through a query as specified in the “ERCOT Participant Interface: XML” document; (d) past forecasts will not be available after each hour; and (e) ERCOT may restrict the frequency of these queries to protect system availability.  SCR754 was posted on 12/23/08.  On 1/28/08, WMS unanimously voted to recommend approval of SCR754 as submitted.  On 3/18/09, WMS unanimously voted to grant SCR754 Urgent status, recommend approval of SCR754 as amended by the 2/16/09 ERCOT comments, and endorse the Impact Analysis and Cost Benefit Analysis with a recommended priority of 2-High and rank of 39.2.  On 3/19/09, PRS unanimously voted to assign a priority of 2-High and rank of 39.2 for SCR754.  Credit review not applicable.

Revision Requests Rejected and Failed Motions

None.

Revision Requests Withdrawn (no TAC action required)

None.

Status of Pending Revision Requests (For Information Purposes Only):

Revision Requests Scheduled for Impact Analysis Review at the April 23, 2009 PRS Meeting

- PRR796, Resource Plan Performance Metrics Revision [FPL Energy].  Impact Analysis pending.  With this PRR, ERCOT shall determine the performance of providers of QSEs Schedule Control Error (SCE) performance under normal operating conditions.  ERCOT shall remove from consideration of average performance of a QSE any period during which an abnormal or unusual event(s) has occurred and which does not have a passing score.  PRR796 was posted on 1/7/09.  On 2/19/09, PRS unanimously voted to refer PRR796 to ROS.  On 3/19/09, PRS unanimously voted to recommend approval of PRR796 as amended by ROS comments.  Credit review is pending.

- PRR802, TCR Transition to CRR Refund Revision [ERCOT].  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.  This PRR revises Section 7.5.10, Transition of Transmission Congestion Rights to Congestion Revenue Rights, methodology, providing flexibility in the event monthly Transmission Congestion Rights (TCRs) are awarded and require refund for the subsequent month after Nodal Go-Live.  PRR802 and its corresponding Impact Analysis were posted on 2/19/09.  On 3/19/09, PRS unanimously voted to recommend approval of PRR802 as submitted.  Credit review is pending.

- NPRR156, Transparency for PSS and Full Interconnection Studies [PSEG Texas].  Impact Analysis pending.  This NPRR updates Section 1, Overview, to provide transparency to status of Power System Stabilizer (PSS) Equipment and interconnection requests.  NPRR156 was posted on 9/19/08.  On 10/23/08, PRS unanimously voted to table NPRR156 until the 11/20/08 PRS meeting.  The Cooperative Market Segment was not present for the vote.  On 11/20/08, PRS unanimously voted to table NPRR156 until the December 18th PRS meeting.  On 12/18/08, PRS unanimously voted to table NPRR156 until the January 22nd PRS meeting.  The Independent Generator Market Segment was not present for the vote.  On 1/22/09, PRS voted to recommend approval of NPRR156 as amended by the 12/11/08 PSEG comments with three abstentions from the Consumer, Independent Generator, and Independent Power Marketer (IPM) Market Segments.

- NPRR157, Extending Black Start Service Bid Timeline [ROS].  Impact Analysis pending.  This NPRR changes the Black Start Service bids from a one year period to a two year period.  NPRR157 was posted on 9/23/08.  On 10/23/08, PRS unanimously voted to refer NPRR157 to the Transition Plan Task Force (TPTF) for consideration.  The Cooperative Market Segment was not present for the vote.  On 03/19/09, PRS unanimously voted to recommend approval of NPRR157 as submitted.  Credit review is pending.

- NPRR163, Removal of Late Fee Language [ERCOT].  No incremental cost to ERCOT; no impact to ERCOT staffing; no impact to computer systems; existing business processes can accommodate this NPRR; no impact to grid operations and practices.  This NPRR removes the concept of late fees calculated on all delinquent amounts.  Section 9, Settlements and Billing, clearly states that late fees are only calculated on delinquent Day-Ahead Market (DAM), Real-Time Market (RTM) and RTM uplift amounts.  The late payment fee language in Section 16, Registration and Qualification of Market Participants, conflicts with late fee procedures detailed in Sections 9.4.5, Late Fees and Late Fee Invoices for the DAM, and 9.7.5, Late Fees and Late Fee Invoices for the RTM.  NPRR163 was posted on 11/11/08.  On 11/20/08, PRS unanimously voted to refer NPRR163 to TPTF for consideration.  On 03/19/09, PRS unanimously voted to recommend approval of NPRR163 as submitted.  Credit review is pending.

- NPRR166, Timing for Required Black Start Unit Load Carrying Test [ERCOT].  No incremental cost to ERCOT; no impact to ERCOT staffing; no impact to computer systems; existing business processes can accommodate this NPRR; no impact to grid operations and practices.  This NPRR synchronizes the Nodal Protocols with changes being proposed to the zonal Protocols through corresponding PRR785.  This NPRR changes the required Black Start Unit Load Carrying Test from once every six years to once every five years.  NPRR166 was posted on 11/20/08.  On 12/18/08, PRS unanimously voted to refer NPRR166 to TPTF for review.  The Independent Generator Market Segment was not present for the vote.  On 3/19/09, PRS unanimously voted to recommend approval of NPRR166 as submitted.  Credit review is pending.

- NPRR167, Options for Filing Verifiable Costs – QSEs or Resources [Verifiable Cost Working Group (VCWG)].  Impact Analysis is pending.  This NPRR allows either QSEs or Resource Entities to file verifiable costs.  NPRR167 was posted on 11/24/08.  On 12/18/08, PRS unanimously voted to refer NPRR167 to TPTF for review.  On 1/22/09, PRS unanimously voted to remand NPRR167 WMS.  On 3/19/09, PRS unanimously voted to approve NPRR167 as amended by WMS comments.  Credit review is pending.

Revision Requests Deferred or Tabled

- PRR800, QSE Day Ahead Metric [ERCOT].   No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.  This PRR re-defines the Day Ahead metric for both WGR QSEs and non-WGR QSEs to ensure that both categories of QSEs schedule enough capacity in the Day Ahead market to meet their planned energy schedules plus Ancillary Service Obligations.  This PRR removes the WGR QSEs exemption established in PRR777, WGR QSE Metric Correction.  PRR800 and its corresponding Impact Analysis were posted on 1/21/09.  On 2/19/09, PRS unanimously voted to table PRR800 until the March 19th PRS meeting.  On 3/19/09, PRS unanimously voted to table PRR800 and instruct ERCOT to provide a statement of the benefits associated with this PRR.  Credit review is pending.

  - PRR801, Manual TCR Adjustments [ERCOT].  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.  This PRR revises Section 7.5.3.1, Annual and Monthly Auction Summary, to provide a description of the process used by ERCOT to achieve revenue neutrality in the monthly Transmission Congestion Rights (TCR) auction.  PRR801 and its corresponding Impact Analysis were posted on 2/9/09.  On 2/11/09, the motion to grant Urgent status failed via email vote.  On 3/19/09, PRS unanimously voted to table PRR801.  Credit review is pending.

- NPRR141, TDSP Energy Storage for Reliability [AEP].  Impact Analysis pending.  This NPRR inserts new paragraph (f)(iii) in Section 10.3.3.1, Data Responsibilities, which clarifies that energy flows, from TDSP owned battery storage technology, will be treated similarly as substation equipment and therefore the measurement of such flows are not required for settlement.  This new paragraph will be limited to ERCOT Board endorsed TDSP reliability projects.  NPRR141 was posted on 7/21/08.  On 8/21/08, PRS voted to table NPRR141 until the PUCT issues a decision regarding the AEP filing.  There was one opposing vote from the IOU Market Segment and two abstentions from the IOU and Municipal Market Segments.  Credit review is pending.

  - NPRR151, Clarification of a Generator Output Breaker in the Outage Scheduler [CenterPoint Energy].  Impact Analysis pending.  This NPRR clarifies the definition of which “generator output breakers” are exempt in the Outage Scheduler.  NPRR151 was posted on 9/8/08.  On 9/24/08, PRS unanimously voted to refer NPRR151 to TPTF for further consideration.  On 3/19/09, PRS unanimously voted to table NPRR151.  Credit review is pending.

- NPRR158, EILS Self-Provision Formula Correction and Clarifications [ERCOT].  Impact Analysis pending.  This NPRR proposes to correct terms contained in the Settlement equations related to Emergency Interruptible Load Service (EILS) Self-Provision to make the formulas consistent with the verbal description of EILS Self-Provision Settlement and the author’s stated original intent.  This NPRR also makes clarifications in language contained in paragraph (8)(d) of Section 3.14.3, Emergency Interruptible Load Service (EILS), related to QSEs’ EILS Self-Provision options in cases where less than 1,000 MW of EILS has been offered, and adds copies of definitions that are applicable to both equations in this Section.  NPRR158 was posted on 9/23/08.  On 10/23/08, PRS unanimously voted to refer NPRR158 to TPTF for consideration.  The Cooperative Market Segment was not present for the vote. On 3/19/09, PRS unanimously voted to table NPRR158.  Credit review is pending.

- NPRR165, Synchronizing Section 1 with PRR697 [ERCOT].  No incremental cost to ERCOT; no impact to ERCOT staffing; no impact to computer systems; existing business processes can accommodate this NPRR; no impact to grid operations and practices.  This NPRR synchronizes the Nodal Protocols with PRR697, Posting Requirement Changes, which incorporated disclosure requirement changes resulting from P.U.C. Subst. R. 25.505, Resource Adequacy in the Electric Reliability of Texas Power Region, adopted under P.U.C. Project No. 33490, Rulemaking Proceeding to Address Pricing Safeguards in the Markets Operated by the Electric Reliability Council of Texas.  NPRR165 was posted on 11/18/08.  On 12/18/08, PRS unanimously voted to refer NPRR165 to TPTF for review.  The Independent Generator Market Segment was not present for the vote.  On 3/19/09, PRS unanimously voted to table NPRR165.  Credit review is pending.

- NPRR169, Clarify the Calculation and Posting of LMPs the Load Zone and LMPs for each Hub [TPTF].  Impact Analysis pending.  This NPRR clarifies language that specifies the calculation and posting of Locational Marginal Prices (LMPs) for the Load Zone and “LMPs for each Hub”.  NPRR169 was posted on 12/16/08.  On 12/18/08, PRS unanimously voted to recommend approval of NPRR169 as amended by CPS Energy comments and as revised by PRS.  The Independent Generator Market Segment was not present for the vote.  On 1/8/09, TAC unanimously voted to remand NPRR169 to PRS.  On 1/22/09, PRS unanimously voted to table NPRR169. Credit review is pending.

Revision Requests Designated for Post Go-Live

- NPRR131, Ancillary Service Trades with ERCOT [NRG Texas].

- NPRR153, Generation Resource Fixed Quantity Block [TPTF].

- NPRR164, Resubmitting Ancillary Service Offers in SASM [TPTF].

Revision Requests Pending Input from Another Subcommittee/Task Force

  - PRR787, Add Violation Language to QSE Performance Standards [IPA].  Impact Analysis pending.  This PRR adds language to Section 6.10.5.3, SCE Monitoring Criteria, which clearly defines if and when a violation of the Protocols occurs for failure to comply with performance standards. The proposed language adds clarity to Section 6.10.5.3 that is found in other Protocol Sections associated with QSE performance metrics.  PRR787 was posted on 12/3/08.  On 1/22/09, PRS unanimously voted to refer PRR787 to the ROS.  On 2/19/09, PRS unanimously voted to table PRR787 until the March 19th PRS meeting.  On 3/19/09, PRS unanimously voted to refer PRR787 to ROS with instruction to return to PRS in one month.  Credit review is pending.

  - NPRR147, DAM Short Pay Changes [WMS].  Impact Analysis pending.  This NPRR changes the way short pays to the DAM are handled.  This NPRR reallocates short payments using a procedure that draws from the Congestion Revenue Right (CRR) Auction revenue account first and then draws any additional shortfalls from the CRR Balancing Account.  NPRR147 was posted on 8/13/08.  On 8/21/08, PRS unanimously voted to refer NPRR147 to TPTF for review.  On 9/24/08, PRS voted to refer NPRR147 to WMS to consider Reliant’s comments made at TPTF as well as subsequent comments made in response to NPRR147.  There was one opposing vote from the IPM Market Segment.  On 10/23/08, PRS unanimously voted to table NPRR147 until the 11/20/08 PRS meeting.  There was one abstention from the IOU Market Segment.  On 11/20/08, PRS unanimously voted to refer NPRR147 to the WMS and Credit WG for consideration.  Credit review is pending.

- NPRR168, Verifiable Costs General Corrections [VCWG].  Impact Analysis is pending.  This NPRR allows QSEs to file Resource fuel consumption from breaker close to Low Sustained Limit (LSL) and breaker open to shutdown.  NPRR168 was posted on 11/24/08.  On 12/18/08, PRS unanimously voted to refer NPRR168 to TPTF for review.  The Independent Generator Market Segment was not present for the vote.  On 3/19/09, PRS unanimously voted to refer NPRR168 to the WMS for review.  Credit review is pending.

- SCR750, Upgrade ERCOT’s Systems so Users can Upgrade to Internet Explorer 7.0 and Beyond [CenterPoint Energy].  Impact Analysis pending.  This (SCR proposes an upgrade to ERCOT’s systems so users are able to use Internet Explorer 7.0 and future versions of Internet Explorer to interact with ERCOT.  SCR750 was posted on 9/26/08.  On 10/23/08, PRS unanimously voted to refer SCR750 to the RMS for consideration.  The Cooperative Market Segment was not present for the vote.  Credit review is pending.

New Revision Requests Scheduled for Consideration at the April 23, 2009 PRS Meeting

- PRR805, Adding POLR Customer Class and AMS Meter Flag to the Database Query Function on the MIS [Texas SET].  Impact Analysis pending.  This PRR will add Provider of Last Resort (POLR) Customer class and the Advanced Metering System (AMS) meter flag to the database query function on the Market Information System (MIS).  PRR805 was posted on 3/6/09.  Credit review is pending.

- PRR806, Re-Registration of Market Participant due to Mass Transition ESI IDs [Texas SET].  Impact Analysis pending.  This PRR requires re-registration as a Market Participant if they transfer Electric Service Identifiers (ESI IDs) from one Competitive Retailer (CR) to another using the Mass Transition process.  PRR806 was posted on 3/6/09.  Credit review is pending.

- PRR807, Clarify Definition of Messaging System [ERCOT].  Impact Analysis pending.  This PRR revises the definition of “Messaging System” to include a process that makes Real Time messages available to “bidding QSEs” without Resources.  PRR807 was posted on 3/26/09.  Credit review is pending.

- PRR808, Clean-up and Alignment of RECs Trading Program Language with PUCT Rules [ERCOT].  Impact Analysis pending.  This PRR cleans up and aligns the language in Section 14, State of Texas Renewable Energy Credit Trading Program, with P.U.C. Subst. R. 25.173, Goal for Renewable Energy.  This PRR also updates references to the Renewable Energy Credit (REC) Trading Program throughout the Protocols.  PRR808 was posted on 3/26/09.  Credit review is pending.

- PRR809, OOMC Startup Costs Clarification & Modification [ERCOT].  Impact Analysis pending.  This Protocol Revision Request (PRR) modifies Section 6.8.2.2, Capacity and Minimum Energy Payments, to explicitly state the criteria currently used to determine eligibility for Out of Merit Capacity (OOMC) startup costs, as well as clawback of startup costs.  This PRR also incorporates ‘max zero’ logic into the settlement formula that calculates the price for the startup costs (PSui).  PRR809 was posted on 3/27/09.