| NOGRR Number | 025 | NOGRR Title | Monitoring Programs for QSEs, TSPs, and ERCOT |
| --- | --- | --- | --- |

| Date | April 09, 2009 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Ebby John |
| E-mail Address | ebby.john@centerpointenergy.com |
| Company | CenterPoint Energy |
| Phone Number | 713-207-2136 |
| Cell Number |  |
| Market Segment | Investor Owned Utility (IOU) |

Comments

On April 07, 2009, the Network Data Support Working Group (NDSWG) began its review of Nodal Operating Guide Revision Request (NOGRR) 025 and the associated spreadsheet prepared by ERCOT (025NOGRR-20090403).   We followed the process suggested by the NOGRR025 Workshop and identified each item assigned to NDSWG as either a metric or report.  Each metric was then categorized as impacting performance in reliability, commercial market operation or both.  The following is a summary of our analysis:

- The group identified five (5) overall metrics all involving the Telemetry and State Estimator standards.

- The NDSWG recommends the item related to Dynamically Scheduled Resource Loads be reassigned to the QSE Managers Working Group (QMWG) for more appropriate review.

- The group recommends the items related to Ratings Methodology should have shared review within the NDSWG as well as the Operations Working Group (OWG).

- Some changes to the “responsible entity” were also proposed.

All of the comments may be found in the 025NOGRR–12 NDSWG Spreadsheet Comments 040909.xls file available on the ERCOT Nodal website for this NOGRR.    Some of the indentified reports will required additional language clarification from ERCOT and will be addressed at the next NDSWG meeting.  The metric items associated with the Telemetry and State Estimator standards will require further lengthy review from Subject Matter Experts (SME) to design appropriate performance measures and assess the need for possible minor clarifications to the standards.  The NDSWG plans to conduct additional special meetings devoted to NOGRR025, and encourages Market Participant participation with their relevant SMEs.

Revised Proposed Guide Language

None at this time.