ERCOT Nodal Operating Guide

- Table of Contents

- April 1, 2009

1	Overview	1

1.1	Document Purpose	1

1.2	Document Relationship	2

1.3	Process for Nodal Operating Guide Revision	2

1.3.1 Introduction	2

1.3.2 Submission of a Nodal Operating Guide Revision Request	3

1.3.3 Operations Working Group	3

1.3.4 Nodal Operating Guide Revision Procedure	4

1.3.5 Urgent Requests	10

1.3.6 Nodal Operating Guide Revision Implementation	10

1.4	Definitions	11

A	11

B	11

C	11

D	14

E	15

F	15

G	15

H	15

I	15

J	16

K	16

L	16

M	16

N	16

O	16

P	16

Q	17

R	17

S	17

T	17

U	18

V	18

W	18

X	18

Y	18

Z	18

1.5	Operational Training	19

1.5.1System Operator Training Objectives	19

1.5.2System Operator Training Requirements	19

1.5.3ERCOT Operations Training Seminar	20

1.5.4ERCOT Severe Weather Drill	20

1.5.5Criteria For The Selection Of Operators	20

1.5.6Training Practices	20

2	System Operations and Control Requirements	1

2.1	Operational Duties	1

2.2	System Monitoring and Control	3

2.2.1Overview	3

2.2.2Security Criteria	4

2.2.3Response to Transient Voltage Disturbance	5

2.2.4Load Frequency Control	5

2.2.5Automatic Voltage Regulators	6

2.2.6Power System Stabilizers	6

2.2.7Turbine Speed Governors	8

2.2.8Performance/Disturbance/Compliance Analysis	8

2.2.9Time Error and Time Synchronization	9

2.2.10QSE/Resource Monitoring Program	10

2.2.11TSP Monitoring Program	10

2.3	Ancillary Services	10

2.3.1Responsive Reserve (RRS)	13

2.3.2Non-Spinning Reserve Service (Non-Spin)	14

2.3.3Ancillary Services Monitoring Program	15

2.4	Outage Coordination	15

2.5	Reliability Unit Commitment (RUC)	15

2.5.1Criteria for Removing Contingencies from the RUC Analyses	16

2.6	Requirements for Under-Frequency Relaying	16

2.6.1Automatic Firm Load Shedding	16

2.6.2Generators	17

2.7	System Voltage Profile	18

2.7.1Introduction	18

2.7.2Maintaining Voltage Profile	18

2.7.3Special Consideration for Nuclear Power Plants	20

2.7.4Reactive Considerations for Generation Resources	20

2.8	Operation of Direct Current Ties (DC Ties)	22

2.8.1Inadvertent Interchange Management	22

3 	Resource Testing and Qualification Procedures 	1

3.1	System Control Interfaces with ERCOT	1

3.1.1Introduction	1

3.1.2Compliance with Dispatch Instructions	1

3.2	Qualified Scheduling Entities (QSEs)	1

3.2.1Operating Obligations	1

3.2.2Changes in Resource Status	2

3.2.3Regulatory Required Incident and Disturbance Reports	2

3.2.4Ancillary Service Qualification and Testing Program	3

3.3	Resource Entities	3

3.3.1Unit Capability Requirements	5

3.3.2Unit Reactive Capability Requirements	5

3.4	Load Resource Testing Requirement	8

3.5	ERCOT Implementation	9

3.6	Enforcement of Unit Reactive Capability Testing	9

3.7	Enforcement of Automatic Voltage Regulator (AVR) Testing	9

3.8	Transmission Service Providers	9

3.9  	Transmission Operators	10

3.9.1Transmission Owner Responsibility for a Vegetation Management Program	11

3.9.2NERC Requirements for Reporting Vegetation-Related Line Outages	11

3.9.3ERCOT Requirements for Reporting Sabotage Information	11

3.9.4Responsibility for Equipment Ratings	12

4	Emergency Operation	1

4.1	Introduction	1

4.2	Emergency Notifications	1

4.2.1Operating Condition Notice	1

4.2.2Advisory	2

4.2.3Alert	2

4.2.4Emergency Notice	3

4.3	Operation to Maintain Transmission System Security	3

4.3.1Remedial Action Plans (RAP)	4

4.4	Block Load Transfers between ERCOT and Non-ERCOT System	5

4.5	Emergency Electric Curtailment Plan (EECP)	5

4.5.1General	5

4.5.2Operating Procedures	5

4.5.3Implementation	7

4.6	Black Start Service	11

4.6.1Principles	11

4.6.2Strategies	12

4.6.3Priorities	13

4.6.4Responsibilities	14

4.6.5Black Start Emergency Back Up Communication Facilities Criteria	15

5	Planning	1

5.1	Planning Criteria	1

5.1.1Introduction	1

5.1.2Real-Time and Short Term Planning	2

5.1.3Load Forecasts	2

5.2	Resource Capability	2

5.3	Transmission Reliability Studies	2

5.4	Reports of Studies	4

5.5	System Modeling Information	4

5.5.1System Assessments	6

5.5.2ERCOT Clarifications and Definitions of NERC Reliability Standards Contingency Categories C and D	9

6	Disturbance Monitoring and System Protection	1

6.1	Disturbance Monitoring Requirements	1

6.1.1Introduction	1

6.1.2Fault Recording Equipment	1

6.1.3Dynamic Disturbance Recording Equipment	1

6.1.4Equipment Reporting Requirements	1

6.1.5Review Process	2

6.2	System Protective Relaying	2

6.2.1Introduction	2

6.2.2Design and Operating Requirements for ERCOT System Facilities	3

6.2.3Performance Analysis Requirements for ERCOT System Facilities	7

6.2.4Maintenance and Testing Requirements for ERCOT System Facilities	8

6.2.5Requirements and Recommendations for ERCOT System Facilities	9

7	Telemetry and Communication	1

7.1  	ERCOT Wide Area Network	1

7.1.1ERCOT Responsibilities	1

7.1.2QSE and TSP Responsibilities	2

7.1.3Joint Responsibilities (Maintenance and Restoration)	4

7.2	ERCOT ICCP Interface	5

7.2.1Quality Codes	5

7.2.2Metric of Availability	5

7.3	Telemetry	5

7.3.1Data from ERCOT to QSEs	6

7.3.2Data from ERCOT to TSP	6

7.3.3Data from QSEs and TSPs to ERCOT	6

7.3.4TSP and QSE Telemetry Restoration	7

7.3.5General Telemetry Performance Criterion	7

7.4	Calibration and Testing of Telemetry Responsibilities	7

8	Attachments

8A	Black Start Info

8B	Relay Misoperation Report

8C	Turbine Governor Speed Tests

8D	Seasonal Unit Net Real Power Capability Verification

8E	Biennial Unit Reactive Limits Verification

8F	Seasonal Hydro Responsive Reserve Net Capability Verification

8G	Load Resource Tests

8H	Unit Alternative Fuel Capability