## Slide 1
Reliability and Operations Subcommittee Report to TAC Austin, TX April 9, 2009
Kenneth A. Donohoo, P.E.
Chairperson
Oncor Electric Delivery Company LLC

## Slide 2: TAC Voting Items
SCR753 Transmission Outage Notice Detail Enhancements
  ROS unanimously recommended approval

## Slide 3: Other ROS Highlights
Next meeting Thursday April 16
LaaR Capability for Current Responsive Reserve Service Level
  TAC Approved in Feb LaaR to be 50% of RRS
    ERCOT Staff to continuously review more than contract amount of LaaR
  Rerun study at 2,300 MW level
    Complete in May
    Submission to ROS and TAC for review
  Recognize significant efforts of TAC ROS Dynamics Working Group and ERCOT System Planning Staff

## Slide 4: Other ROS Highlights
NOGRR025 Monitoring Programs for QSEs, TSPs, and ERCOT
  ROS reviewed of OWG comments and workbook
  Directed working groups to work on issues, metrics and reports
    Specify reliability (TRE) and market (PUCT) needs
    Many details, communication and understanding needed
  Coordinating with WMS
  Joint workshop held April 2
  More discussion at next ROS meeting
  ERCOT Staff needs to actively participate at working group meetings
  TRE and PUCT staff support very helpful

## Slide 5: Other ROS Highlights
Review ROS and WG Procedures
  Expectation of ROS review starting by end of summer
Increase Transparency of Planning (Congestion)
  Isabel Flores reporting effort to ROS
  Identify limiting elements
  Identify approved and proposed solutions
  Review historic congestion to planning projected congestion
  Improve data, models and related analysis
  Improve processes and procedures to reflect changing nature of grid

## Slide 6: Other ROS Highlights
NOGRR024 and OGRR 216 System Security Response Group
  ROS referred to CIPWG
  Coordinate between NERC rules and ERCOT requirements
  Provides ERCOT an opportunity to discriminate information to MPs that need to know
PRR796 Resource Plan Performance Metric
  ROS endorsed with comments
SCR755 ERCOT.com Website Enhancements
  ROS endorsed

## Slide 7: Other ROS Highlights
ERCOT Planning Charter
  Generation connecting from outside of grid
  Cost of transmission related with interconnection
  Joint ROS/WMS meeting developed options
    http://www.ercot.com/calendar/2009/03/20090324-ROSWMS
  Discussion at next ROS meeting

## Slide 8: Other ROS Highlights
ERCOT Generation Interconnection Process
  Increased concern over congestion caused by new generation interconnection