Planning Charter Issue on Generation Interconnection Analysis

Results of Joint ROS/WMS Discussion Group Meeting

Option A

Revert to RPG/TAC language.  Add language to Section 1.3.4 of the Planning Charter to say: ERCOT performs economic analysis of direct generation interconnection facilities >$50 million (as a part of the Full Interconnection Study (FIS)) for info purposes only (no recommendation by ERCOT)

Option A1

Revert to RPG/TAC language.  Add language to Section 1.3.4 of the Planning Charter to say: ERCOT performs economic analysis of direct generation interconnection facilities >$50 million (as a part of the Full Interconnection Study (FIS)) for info purposes only (no recommendation by ERCOT)

Option B

Revert to RPG/TAC language.  No other changes to the Planning Charter (no economic analysis unless requested by PUCT)

Additional procedural changes common to both options:

- Require in Generation Interconnection (GI) Procedure that the Lead TSP for the FIS communicates to other TSPs when the FIS indicates that the direct interconnection facilities will cost >$50 million so that the other TSPs will know to look (pursuant to existing GI Procedure requirements) particularly at this FIS

- The Lead TSP for GI FIS will communicate direct generation interconnection projects >$50 million out to full RPG (no review by RPG) once generation Interconnection Agreement is signed