## Slide 1: Engineering Studies
ROS 4/16/2009

## Slide 2: Planning Studies
Study Requirement
Generation Interconnection Studies
RPG Independent Transmission Project Reviews
5-year Transmission Plan Development
Long Term System Assessment
Special Studies (e. g. CREZ, Entergy Integration)
RMR/SPS Reviews

## Slide 3: Operations Studies
Power Flow Studies | “Other” studies
Outage Coordination studies (3-8 day, 9-45 day, >45 day) | Black Start study/analysis
Voltage Profile Study (2/yr ~2 months ea) | SOL monitoring studies
Annual RAP's & Mitigation plan review (~3 months/yr) | Operational Loss of Load Probability studies
SPS review and analysis - as proposed | 
RMR Studies - As proposed | 
Base Case building (every 2 weeks) | 
Daily CSC Limit studies (4) | 
Daily McCamey limit studies | 
Mitigation plan studies (as needed) | 
Post Event Studies (as needed - typically weekly) | 
New RAP/PCAP proposal review studies (as needed avg. weekly) | 
Recurring Congestion analysis (as needed) | 
IMM support studies - analyze congestion (as needed – avg. weekly) | 

## Slide 4: ERCOT Stability Studies
 | Study Requirement | Plan
1 | Update W>N Stability for Oklaunion PSS in Service | Done
2 | Annual update of W>N Stability Matrix | In process; 2-3 months
3 | Phase II of LaaRs Study (at 2300MW) | This follow-up study will be run by ERCOT for DWG
4 | Wind Farm Data Improvement | To be accomplished as part of VRT Study. Issued RFP and in process of contracting with vendor
5 | VRT Study | Issued RFP and in process of contracting with vendor
6 | PSS Tuning to Improve W>N Stability | Would use W>N Stability Matrix Update as basis, so that study has to be completed first
7 | CREZ Voltage Management Plan (sizing and placement of reactive devices and development of procedures) | ERCOT is working with CREZTSPs to develop scope for an RFP, which ERCOT would issue; ERCOT will oversee work done under the RFP with TSP input and funding
8 | Inertia Study with High Wind Penetration | Will follow Phase II of VRT Study (wind modeling improvements)
9 | Annual Voltage and Transient Contingency Analysis | Annual work

## Slide 5
Questions ?