## Slide 1
Texas Regional Entity
ROS Presentation
April 16, 2009
TEXAS RE ROS PRESENTATION APRIL 2009
Notes: Texas RE Board Report
<number>

## Slide 2: Topics
SARS update
LSE Registration
Nodal Metrics
Operations Training Seminar update
PRR 787 and 800 update
NERC Audit & Enforcement Highlights
Texas RE ROS Presentation April 2009

## Slide 3: SAR-001-TRE-02 – ERCOT ISO VOTE
Provision for ERCOT ISO to Have a Vote in the Regional Standards Process, subject of Standard Authorization Request SAR-001-TRE-02
  Approved by the ERCOT Board on February 17, 2009
  The approved documents to implement this Provision will be considered at the May 5, 2009 NERC Board of Trustees Meeting
  NERC will post the Provision on their web site for two weeks prior to the May 5 meeting.
Texas RE ROS Presentation April 2009

## Slide 4: SAR-002
SAR-002 Development of Regional UFLS Program
    Drafting team has tentatively set an end of May meeting date to discuss the continent-wide standard and its effect on the region.
    The Under Frequency Load Shedding (UFLS) Verification Survey was sent out by Texas RE to applicable entities in accordance with ERCOT Operating Guides Section 2.9.1 and NERC Reliability Standard PRC-007-0.
Texas RE ROS Presentation April 2009

## Slide 5: SAR-003
SAR-003 FERC-Ordered Variance ERCOT CPS2 Waiver
    30 day public comment period March 16 – April 14 2009.
    The team held a technical workshop on March 31 to answer stakeholder questions. The workshop was well-received with about 60 participants (not including the team or TRE participants).
    Chair of this SDT, Sydney Niemeyer, will present this standard at the April 16 ROS meeting to answer further questions.
    The SDT will respond to comments and re-draft the standard for potentially another future comment period.
Texas RE ROS Presentation April 2009

## Slide 6: LSE SARs-005, 006, and 007--Inactive
SAR-005, 006, and 007 – Regional variances to remove LSE applicability from MOD-017 through MOD-021 and EOP-002
    These SARs are currently inactive while LSE Registration Working Group meets to negotiate joint agreement.
    LSE Working Group met April 1, 2009, to continue drafting language and negotiating the JRO for the NERC LSE Function in the ERCOT region.
    Interested parties were requested to submit more comments and proposed language to be included in the JRO by April 18, 2009.
    The Working Group will meet again after April 18, 2009 to review the draft JRO.
Texas RE ROS Presentation April 2009

## Slide 7: Nodal Market Preparedness
Reliability rules with metrics and reports to support monitoring need to be in place for the Nodal Market to go live.
PUCT and Texas RE continue to monitor NOGRR 025 progress.
Much progress is being made on the detail level in committees and working groups.
Items still needed are:
  How the project is being managed (who, what, when)
  Which metrics are intended to be ready for enforcement on market go live
    Reports that will be needed to support these metrics
    Training that will be required for ISO, market and regulators
  Metrics that will follow later
Texas RE ROS Presentation April 2009

## Slide 8: 25th Annual Operations Training Seminar
6 sessions completed
Last session week of April 13th
Attendance has been high
NERC Continuing Education Hours (CEH) will be awarded for the seminar with a passing grade
Texas RE ROS Presentation April 2009

## Slide 9: Metrics
Resource Metrics
  Starting this month only violations (4 failures) are being reported the board with the market participant identified
  Infractions 1 through 3 are reported but without market participant identification
Requesting assistance with the creation of improved wind/renewable metric(s) that provide a better indication of trends for wind resources (need not be tied to violation/enforcement)
Texas RE ROS Presentation April 2009

## Slide 10: PRR 787 – SCPS2 Metric
Texas RE and PUCT met with market participants to share perspectives on improving PRR 787 wording
PUCT and Texas RE submitted recommendations to better define a metric failure and guidelines for enforcement by the PUCT
Luminant submitted comments expanding the list of interval exclusions
ERCOT ISO has reviewed and commented on PUCT/Texas RE suggested changes
Texas RE ROS Presentation April 2009

## Slide 11: PRR 800 – QSE Day Ahead Metric for Wind
Texas RE supports the intent of PRR 800
Texas RE submitted comments modifying the methodology for determining a failure
With the changes Texas RE fully supports PRR 800 and believes it can be adequately monitored and enforced
Texas RE ROS Presentation April 2009

## Slide 12: NERC CIP-002
Recent CIP self certifications showed lower percentage of entities declaring critical cyber assets than expected
CIP standards become auditably compliant for table 1 entities on July 1, 2009 (ERCOT ISO)
Questions have been raised with interpretation of CIP-002 self identification of critical cyber assets
Electric Utility cyber security has been in the news
National legislation has been proposed
Texas RE ROS Presentation April 2009

## Slide 13: NERC Audit & Enforcement Highlights
Increase in violations coming out of audits in 2009
NERC revised the template for violations in March requiring rework of previously submitted documents
Texas RE ROS Presentation April 2009