# ERCOT

# DYNAMICS WORKING GROUP

## Report to ROS

## April 16, 2009

- The DWG is currently studying LaaR capability at 2,300 MW of responsive reserve service. Final completion of this portion of the LaaR capability study is slated for May 2009.

- Flat Start Progress:

  - The 2008 Future Year (year 2011) flat start has been completed.

  - The 2009 Current Year flat start has been completed.

  - Work on the 2009 Flat Start case with wind models is underway.

  - Work on the 2009 Future Year (year 2012) Flat Start case is underway.

- The DWG will be forming a small study group to address the issue of improving governor models utilized in the ERCOT Dynamics Model Database.

- The next DWG meeting is scheduled for April 22-23.

DWG Tasks, 2009

| Task | Status |
| --- | --- |
| Responsive Reserve / LaaRs study. | Working |
| 2008 future year flat start (2011 Summer Peak from 2008 DSB). | Complete |
| 2009 Current Year flat start (2009 Summer Peak from 2009 DSA). | Complete |
| Publish 2008 & future year flat start book. | Working |
| 2009 Flat Start case with wind models (2009 Summer Peak from 2009 DSA). | Working |
| 2009 future year flat start (2012 Summer Peak from 2009 DSB). | Working |
| Make annual determination of the number and location of dynamic monitoring devices. | Future Activity |
| Annual Procedural Manual review/update. | Working |