## Slide 1: Congestion Management Work Group Update
For WMS 4-20-09
Marguerite Wagner, PSEG Texas

## Slide 2: Topics Discussed
Study Updates
PRR 801 Business Process for Adjusting TTC for TCR auctions
NOGRR 25
CREs Notices/Attributes/New & Potential
NPRR 147

## Slide 3: WN Stability Study Update
WN Stability Study
Phase I load flow cases complete 3/31
Phase I Dynamic Runs –
  Estimated complete end of May
CMWG recommends that WMS ask for monthly updates on Study status
  Will ensure that we solve roadblocks as they arise (e.g. hardware constraints)
Market seeks increased W Zone export capability—these study results could impact limits

## Slide 4: Additional WN Studies
Brief discussion that ERCOT should be forward looking in the stability studies
  Determine the WN stability limit with the CREZ Priority & Default lines in place (2011)
  Determine the WN stability limit with all CREZ lines in place (2013)

## Slide 5: Other Studies
Low Voltage Ride Through
RFP Issued Fall 2008
As of 3/30/09 ERCOT still choosing vendor
Target completion June 2010
Power System Stabilizer Survey
Results on planning website
CMWG had questions about what the posted data meant
  PSS required in interconnection agreements
  Some newer plants in list did not appear to have PSS operational
  ERCOT will update the spreadsheet to clarify some questions

## Slide 6: PRR 801 TCR MW Determination
Reframe from issue of adjusting forward MW for sale to fix historical errors
CMWG support for ERCOT goal of making each month revenue neutral
ERCOT Commitment
  Review TCR Auction Case (included outages) against what actually occurred
  Create iterative process to try to improve the choice of outages for inclusion in TCR model
  Use Nodal Protocol Language for Guidance on How to Include Outages—ERCOT will do this for June Case

## Slide 7: NOGRR 25
All 3 assignments to CMWG are data posting with no metrics required at this time
9.12.4(a)8.2(2)(d)Three consecutive days of a particular congestion constraint (constraints passed to Security-Constrained Economic Dispatch (SCED) from Network Security Analysis (NSA)) in Real-Time not identified in the Day Ahead Market (DAM);
9.12.4(b)8.2(2)(d)Two consecutive hours of a particular congestion constraint in Real-Time not identified in the Hourly Reliability Unit Commitment (HRUC) process;
9.12.4(c)8.2(2)(d)Two consecutive days of a particular congestion constraint in Real-Time not identified in the Day-Ahead Reliability Unit Commitment (DRUC) process.

## Slide 8: NOGRR 25 Work Items Complete
CMWG recommends weekly posting for all three items
9.12.4(a)8.2(2)(d)
  RT vs. DAM Constraints
    ERCOT to compare set of constraints in each DAM vs. all RT constraints for Rolling 3 days forward
    If constraint shows up in RT for three days when it was not active in DAM, it will be identified and posted
9.12.4(b)8.2(2)(d)
  RT vs. HRUC Constraints
    ERCOT to compare set of constraints in each HRUC vs. all RT constraints in consecutive 2 hours
    If a congestion constraint in RT occurs for 2 consecutive hours that was not identified in HRUC it should be posted

## Slide 9
9.12.4(c)8.2(2)(d)
  RT vs. DRUC Constraints
    ERCOT to compare set of constraints in each DRUC vs. all RT constraints for Rolling 2 days forward
    If constraint shows up in RT for two days when it was not active in DRUC, it will be identified and posted
Could ERCOT return to workgroups with draft data posting to ensure that relevant info is captured in data posted? Eg of detail
  dates, constraints, applicable intervals
  Other potential requirements--constraint names should comport with NMMS/EMS standards
NOGRR 25 Work Items Complete

## Slide 10: CRE Notices & CRE Attributes Discussion
Group recommended inclusion of date new CRE will become active
  ERCOT said this is difficult – dates can change based on outages
  ERCOT will strive to get notices out earlier
CRE Refinement
  CMWG subgroup will meet to discuss
    PTDFs
    Boundary generation
    How well CREs work with respect to CSCs

## Slide 11: Recently Added & Potential CREs
NH is being limited more by voltage stability than by Peters—Flewellen or Hockley—Tomball
Discussion that BOD was promised Mitigation Plan for NH
  not provided to mkt
San Angelo – Menard
  Expected return to service 5/15
  CMWG recommends WMS ask for update on this at May TAC

## Slide 12: NPRR 147 Defaults in DAM
Discussed various proposals
Group moved in different direction
  Escrow account funded by some very small percent of CRR revenues
  No details fleshed out
Parties will submit their own comments
Issue is back in hands of Credit Work Groups

## Slide 13: Upcoming Work Items for CMWG
CRE
  Work on recommendations for refinement
Nodal
  CCT
  NOGRR 25
2010 CSCs
Next Meeting 4/24