## Slide 1: QSE Managers Working Group
Meeting Notes
1 April, 2009
13 April, 2009
Report to WMS
20 April, 2009
David Detelich - Chairperson

## Slide 2: QSE Managers Working Group Topics
WGRPP Forecast accuracy analysis
ERCOT Nodal ICCP Communication Handbook for review
PRR803 Testing Requirements
OGRR222, Allow Frequency Control Data Through ICCP Infrastructure
WGR only QSE Scheduling Metrics
PRR776 Implementation
NOGRR025 Monitoring Program

## Slide 3: WGRPP Forecast accuracy analysis
MET data
  AWS Truewind met with ERCOT and worked out issues with MET data file transfer and aggregation
  MET data is being used for about half the WGR sites
Accuracy is affected by consistency of wind patterns across the globe and the size of WGR sites in different countries
Number of turbines available would be improvement – ERCOT is developing a PRR for this to be used by AWS Truewind and to estimate reactive capability

## Slide 4: ERCOT Nodal ICCP Communication Handbook for review
Comments discussed with Matt Merenes
QMWG drafting a NOGRR that will define the change management process of this “Other Binding Document”.
  Proposed changes have 45 days to be reviewed by NDMWG and QMWG. Subsequent approval by WMS and TAC are required.
Do we want this document to be part of the guides or leave as an “Other Binding Document”?

## Slide 5: PRR803 Testing Requirements
Draft OGRR Quick Start Units Qualification Ramp Period for Vote
This OGRR changes the balancing energy ramp period used for qualification of Quick Start Units to 14 minutes to align with PRR803.
Adds 2 minutes to the test period.
Operating Guides Section 2.5.5 Balancing Energy Service

## Slide 6: OGRR - Allow frequency control data through ICCP infrastructure
OGRR222, Allow Frequency Control Data Through ICCP Infrastructure issued March 25, 2009.
This OGRR revises the required communication technology for QSE frequency control data from RTU-only to RTU or ICCP.
Vote to endorse for April 23 OWG meeting.

## Slide 7: WGR only QSE Metrics
Discussion progressed on metrics for:
  Hourly scheduling requirements
  Accuracy and control
Walter Reid is submitting 2 PRR’s and 1 OGRR
  PRR Wind Generator Forecast for Scheduling Metric
  PRR Real Time Production Potential
  OGRR Real Time Production Potential
Endorsement request will be next meeting.

## Slide 8: PRR776 Implementation
ERCOT Market Operations Support provided examples of how to schedule the NSRS
Market Bulletin reviewed
Bulletin sent 4/15 with a projected implementation date of 5/22.
The registration timeline and modeling requirements may be an issue
Limitations on the use of the virtual unit may affect the market.

## Slide 9: Registration timeline for VU
May 1 - Generation Cut-Off [Changes to Existing Resources]: This date is the cut-off for REs to have resource registration changes of existing resources for network topology in by to assure successful incorporation into the associated EMS database load date.
May 15 - Telemetry Points Cut-Off: ERCOT request that all telemetry point changes be submitted for both resources and transmission elements by this cut-off date in order to assure changes are incorporated in the associated EMS database load date.
May 20 - EMS Database Load Date
Unknown – How many virtual units will be registered
Easy form provided by ERCOT – Resource Asset PRR776 Addendum

## Slide 10: Limitation on VU

## Slide 11: NOGRR025 Monitoring Program
NOGRR025 Spreadsheet reviewed with OWG
  Completed the OWG/QMWG assignments
Need to complete others
  Performance impact
  Market impact
  Metric required
Next Meeting: