## Slide 1: Congestion Report
Isabel Flores

## Slide 2: Background
Provide trend of local congestion costs for last 12 months
Costs shown in millions
  OOMC
  OOM Down
  LBE Down
  OOM Up
  LBE Up
  RPRS
Top congested elements
Inter-zonal costs - 2009

## Slide 3: OOMC last 12 months - $M
Million$ | South | North | Houston | West
2008 | 16.76 | 21.07 | 4.07 | 9.25
2009 | 11.18 | 5.62 | 0.19 | 0.05

## Slide 4: OOM Down last 12 months - $M
Million$ | South | North | Houston | West
2008 | 5.84 | 25.98 | 1.63 | 28.59
2009 | 0.66 | 0.49 | 0.27 | 15.34

## Slide 5: Balancing Energy Down last 12 months - $M
Million$ | South | North | Houston | West
2008 | 5.78 | 7.18 | 0.42 | 2.80
2009 | 0.29 | 0.01 | 0.05 | 0.21

## Slide 6: OOM Up last 12 months - $M
Million$ | South | North | Houston | West
2008 | 21.49 | 1.36 | 2.16 | 3.69
2009 | 3.07 | 0.05 | 0.44 | 0.30

## Slide 7: Balancing Energy Up last 12 months - $M
Million$ | South | North | Houston | West
2008 | 2.46 | 0.71 | 0.16 | 1.49
2009 | 0.13 | 0.00 | 0.04 | 0.00

## Slide 8: Replacement Reserve last 12 months
Thousand$ | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2008 | 17.6 | 91.14 | 490.13 | 525.12 | 988.64 | 2325.21 | 1876.60 | 967.4 | 260.5 | 111.8 | 158.9 | 207.6
2009 | 119 | 303 |  |  |  |  |  |  |  |  |  | 

## Slide 9: Top Overloaded Elements - February
Constraint | Overloaded Element | 
Basecase Graham SES-Long Creek 345kV Sandow Switch-Austrop 345kV | SAPS - Menard 138kV | $ 12,006,612.98
Valley Import |  | $ 2,522,073.30
Watermill Swithch - DeSoto Switch-Cedar Hill Switch | West Levee Auto | $ 914,588.11
King-Kuykendahl-Roans Prairie & Jewett-Tomball 345kV Oasis-PH Robinson 345kV | Garrott - Midtown 138kV | $ 730,227.97
Garfield 345/138 Auto 1 | Garfield 345/138 Auto 2 | $ 656,779.42
Capacity Shortages |  | $ 557,822.65
Gail 138kV Marion-Elm Crk McDonald-Forsan Aspermont-Spur | Outages | $ 519,505.84
Temple Pecan Creek - Trading House |  | $ 383,973.97
Austrop 345/138kV Autotransformer T1/T2 | Austrop 345/138kV Autotransformer T2/T1 | $ 302,416.41
West to North Stability |  | $ 255,350.93

## Slide 10: Top Overloaded Elements - March
Constraint | Overloaded Element | 
Comanche Peak SES - DeCordova SES & Wolf Hollow - Rocky Creek 345kV | Concord 345/138kV Autotransformer | $ 3,618,654
Ballinger – San Angelo Red Creek 138kV | Miles – Rowena 69kV | $ 3,074,447
Valley Import |  | $ 2,579,227
Ballinger-Santa Anna 138kV | Ballinger-Humble 69kV | $ 2,075,244
Austrop-Lost Pines 345kV | Winchester-Fayetteville 138kV | $ 895,574
Roanoke Switch-West Denton & Lewisville Switch 345kV | West Denton-Airport 138kV | $ 872,109
Lon Hill-Coleto Creek 345kV | Warburton-Victoria 138kV | $ 784,143
TRESES-Entpr XAus58T2 Jewett-Tomball Lon Hill-Pawnee | Outages | $ 774,483
Capacity Shortages |  | $ 534,124
West to North Stability |  | $ 511,961

## Slide 11: Inter-zonal Congestion Costs 2009
Million$ | N_H | N_S | S_N | W_N | N_W
2008 | 107.9 | 139.6 | (18.3) | 108.5 | 11.6
2009 | 0 | 2.95 | (~0) | 0.29 | 0.02
Settlement quality dollars.