| NPRR Number | 156 | NPRR Title | Transparency for PSS and Full Interconnection Studies |
| --- | --- | --- | --- |
| Date |  | April 22, 2009 |  |
| Submitter’s Information |  |  |  |
| Name |  | Marguerite Wagner |  |
| E-mail Address |  | Marguerite.wagner@pseg.com |  |
| Company |  | PSEG TX |  |
| Phone Number |  |  |  |
| Cell Number |  | 201-303-5468 |  |
| Market Segment |  | Independent Generator |  |

Comments

| Overall Market Benefit | Providing this information will assist in updating cases for stability limit studies which support the operational goal of efficient and transparent operations. Providing the interconnection study request information will provide Market Participants with insights into the types and locations being considered for new generation for purposes of modeling and decision making. |
| --- | --- |
| Overall Market Impact | Positive – provides access to information. |
| Consumer Impact | Positive – positive, could potentially improve efficiency in operations and generation interconnection. |

Summary

ERCOT’s proposed modification to NPRR156 dated 4/16/09 that eliminates posting of PSS information should be rejected.

Accepting ERCOT’s comments would eliminate posting requirements for the existence of, and (regional/local) tuning status for Power System Stabilizers.

This item is currently posted. Acceptance of ERCOT comments would change/remove this postings at the start of nodal.

Details

FIS:

It appears that the intent of the ERCOT comments was to move posting requirement to another Section.  PSEG TX does this by retaining the unprotected status classification of the FIS  information (subsequent to FIS request) but eliminating the posting requirement in this section.  PSEG TX retains the posting requirement for the FIS information in the section ERCOT proposed.

PSS:

ERCOT eliminated the PSS posting requirements.  The language struck by ERCOT in 1.3.1.2(1)(b) should be reinstated. ERCOT has not provided reasons for its elimination of the PSS posting requirements that were part of PRR 779 and which currently exist in the Zonal Protocols. ERCOT’s latest comments (April 16, 2009) are inconsistent with BOD approved language of PRR 779.

The PSS information is envisioned to be static. The tuning parameters for PSS were clarified in the NPRR to indicate that the information was not meant to be dynamic (meaning there is no requirement to post what the PSS are doing in real-time).  Thus, the clarification was added to include the local or inter-area tuning characteristics of PSS to give ERCOT guidance on what parameters should be posted. This information is collected and should be provided to allow ERCOT and stakeholders to conduct more accurate stability studies. Information about the PSS is posted on the secure transmission website. This is why the MIS Secure Area was chosen in the NPRR.

Revised Proposed Protocol Language

1.3.1.1	Items Considered Protected Information

Subject to the exclusions set out in Section 1.3.1.2, Items Not Considered Protected Information, “Protected Information” is information containing or revealing any of the following:

(a)	Base Points, as calculated by ERCOT;

(b)	Bids, offers, or pricing information identifiable to a specific QSE or Resource;

(c)	Status of Resources, including outages, limitations, or scheduled or metered Resource data;

(d)	Current Operating Plans;

(e)	Ancillary Service Trades, Energy Trades, Capacity Trades, and Ancillary Service Schedules identifiable to a specific QSE or Resource;

(f)	Dispatch Instructions identifiable to a specific QSE or Resource, except for RUC commitments and decommitments  as provided in Section 5.5.3, Communication of RUC Commitments and Decommitments;

(g)	Raw and Adjusted Metered Load data (demand and energy) identifiable to a specific QSE or Customer;

(h)	Settlement Statements and Invoices identifiable to a specific QSE;

(i)	Aggregated raw and Adjusted Metered Load data (demand and energy), and number of Electric Service Identifiers (ESI IDs) identifiable to a specific Load Serving Entity (LSE);

(j)	Information related to generation interconnection requests to the extent such information is not otherwise publicly available;

(k)	Resource-specific costs, design and engineering data;

(l)	Congestion Revenue Rights (CRR) credit limits, the identity of bidders in a CRR Auction, or other bidding information identifiable to a specific CRR Account Holder;

(m)	Renewable Energy Credit (REC) account balances;

(n)	Credit limits identifiable to a specific QSE;

(o)	Any information that is designated as Protected Information in writing by Disclosing Party at the time the information is provided to Receiving Party except for information:

(i)	submitted to or collected by ERCOT under the Protocols or Other Binding Documents; or

(ii) 	provided to ERCOT in support of a Reliability Must-Run (RMR) application under Section 3.14.1, Reliability Must Run;

(p)	Any information compiled by a Market Participant on a Customer that in the normal course of a Market Participant’s business that makes possible the identification of any individual Customer by matching such information with the Customer’s name, address, account number, type of classification service, historical electricity usage, expected patterns of use, types of facilities used in providing service, individual contract terms and conditions, price, current charges, billing record, or any other information that a Customer has expressly requested not be disclosed (“Proprietary Customer Information”) unless the Customer has authorized the release for public disclosure of that information in a manner approved by the PUCT.  Information that is redacted or organized is such a way as to make it impossible to identify the Customer to whom the information relates does not constitute Proprietary Customer Information;

(q)	Any software, products of software, or other vendor information that ERCOT is required to keep confidential under its agreements;

(r)	QSE, TSP, and DSP backup plans collected by ERCOT under the Protocols or Other Binding Documents;

(s)	Direct Current (DC) Tie information provided to  a TSP or DSP under Section 4.4.4, DC Tie Schedules; and

(t)	Any Texas Standard Electronic Transaction (SET) transaction submitted by an LSE to ERCOT or received by an LSE from ERCOT.  This paragraph does not apply to ERCOT’s compliance with:

(i)	PUCT Rules on performance measure reporting;

(ii)	these Protocols or Other Binding Documents; or

(iii)	any TAC-approved reporting requirements.

(u)	Mothballed Generation Resource updates and supporting documentation submitted pursuant to Section 3.14.1.9, Mothballed Generation Resource Time to Service Updates.

(v)	For purposes of Capacity Demand Reserve Reporting, the unavailability of Switchable Generation Resources to the ERCOT System and supporting documentation submitted pursuant to paragraph (2) of Section 16.5.4, Maintaining and Updating Resource Entity Information, except for reporting the aggregate capacity.

(w)	Information provided by Entities under Section 10.3.2.4, Reporting of Net Generation Capacity.

(x)	Alternative fuel reserve capability and firm gas availability information submitted pursuant to Section 6.5.9.3.1, Operating Condition Notice, Section 6.5.9.3.2, Advisory, and Section 6.5.9.3.3, Alert; and as defined by the Operating Guides.

1.3.1.2	Items Not Considered Protected Information

(1)	Notwithstanding the definition of “Protected Information” in Section 1.3.1.1, Items Considered Protected Information, the following items are not Protected Information even if so designated:

(a)	Data comprising Load flow cases, which may include estimated peak and off-peak demand of any Load;

(b)	Existence and tuning of Power System Stabilizers at of each interconnected Generation Resource and Power System Stabilizer status; (in service or out of service), and the value of the tuning parameters (local or inter-area).

(c)	RMR Agreements;

(d)	Studies, reports and data used in ERCOT’s assessment of whether an RMR Unit satisfies ERCOT’s criteria for operational necessity to support ERCOT System reliability but only if they have been redacted to exclude Protected Information under Section 1.3.1.1;

(e)	Status of RMR Units;

(f)	Information provided to ERCOT in support of an “Application for Reliability Must Run (RMR) Status” according to Section 3.14.1, Reliability Must Run;

(g)	Black Start Agreements;

(h)	Within two (2) Business Days of a request from a potential generating Facility for a full resource interconnection study, the county in which the Facility is located, Facility fuel type(s), Facility nameplate capacity, and anticipated in-service date(s) and signed generation interconnection agreements; and

(i)	Any other information specifically designated in these Protocols as information to be posted to the MIS Public Area or MIS Secure Area that is not specified as information that is subject to the requirements of Section 1.3, Confidentiality.

j)

(2)	Protected Information that Receiving Party is permitted or required to disclose or use under the Protocols or under an agreement between Receiving Party and a Disclosing Party does not cease to be regarded as Protected Information in all other circumstances not encompassed by these Protocols or such agreement by virtue of the permitted or required Disclosure or use under these Protocols or such agreement.	oequiremerconnection requction 5, Planning.

(3)	ERCOT shall also post information related to full interconnection requests as set forth in this Section no less than once per month.

(4)	Within ten (10) Business Days of executing a generator interconnection agreement, the Transmission Service Provider shall provide a copy to ERCOT.

1.3.3	Expiration of Confidentiality

(1)	The following applies to the expiration of confidentiality for Protected Information:

(a)	The Protected Information status of data specified under item (a) of Section 1.3.1.1, Items Considered Protected Information, expires seven days after the applicable Operating Day.

(b)	The Protected Information status of part of the data specified under Section 1.3.1.1(b) expires 180 days after the applicable Operating Day, and ERCOT at that time shall make that part of the data available on the MIS Secure Area in a standard reporting format. That part of the data for which the Protected Information status expires and which is to be posted is as follows:

(i)	Ancillary Service Offers by Operating Hour for each QSE for all Ancillary Service submitted for the DAM or any SASM;

(ii)	The quantity of Ancillary Service offered by Operating Hour for each QSE for all Ancillary Service submitted for the DAM or any SASM; and

(iii)	Energy Offer Curve prices and quantities for each Settlement Interval by Resource.

(c)	The Protected Information status of data specified under Section 1.3.1.1(c) through (h) expires 180 days after the applicable Operating Day. One hundred eighty days after the Operating Day, ERCOT shall make the following information available on the MIS Secure Area in a standard reporting format:

(i)	Ancillary Service Obligation and Ancillary Service Supply Responsibility for each QSE;

(ii)	Actual metered Resource values for each QSE by Resource by Settlement Interval;

(iii)	Complete Current Operating Plan data for each QSE snapshot on each hour; and

(iv)	Adjusted Metered Load for each QSE by LSE, by Load Zone and by Settlement Interval, both from the initial settlement and all subsequent settlements. ERCOT shall post each subsequent Adjusted Metered Load within seven days after the subsequent settlement operation is finished.  Data from the first posting and all subsequent settlement postings must remain accessible for at least 24 months after the Operating Day.

(d)	The Protected Information status of data specified under Section 1.3.1.1(i) expires 365 days after the applicable Operating Day.

(e)	REC account balances specified in Section 1.3.1.1(m) cease to be Protected Information three years after the REC Settlement period ends.

(f) 	The Protected Information status of specific information related to generation interconnection requests in Section 1.3.1.1(j) expires two (2) Business Days following a request from a potential generating Facility for a Full Interconnection Study.  This information will be updated and posted at least once per month on the Planning and Operation Information web site.  The specific information is as follows:

(i) County in which the Facility is  located

(ii) Facility fuel type(s)

(iii) Facility nameplate capacity

(iv) Anticipated in-service date(s)

(g)	The Protected Information status of data specified under paragraph 1.3.1.1(j) that is not released under the provisions in 1.3.3.1 (f) expires when the generation interconnection agreement (or acceptable alternative for Municipal and Cooperative utilities) is executed.

(h)	The Protected Information status of data specified under Section 1.3.1.1(l) expires as follows:

(i)	The Protected Information status of the identities of CRR bidders that become CRR Owners and the number and type of CRRs that they each own expire at the end of the CRR Auction in which the CRRs were first sold;

(ii)	The Protected Information status of all other information identified in Section 1.3.1.1(l) expires six months after the end of the year in which the CRR was effective.

(2)	Upon the expiration of the Protected Information status of any data as specified in paragraph (1) of Section 1.3.3, Expiration of Confidentiality, that data must be made available to the extent required under Section 12, Market Information System.

(3)	Information that is no longer Protected Information, but not posted, including Dispatch Instructions, is available on request under the ERCOT Request for Records and Information Policy.  Requested information must be provided within a reasonable timeframe.  For Dispatch Instructions, the information may be requested with respect to a specific Resource, where applicable, and by service type and Settlement Interval or as integrated over each Settlement Interval for Dispatch Instructions with sub-Settlement Interval frequency.

3.15.3	QSE Responsibilities Related to Voltage Support

(1)	QSE Generation Resources required to provide VSS shall have and maintain Reactive Power capability at least equal to the Reactive Power capability requirements specified in these Protocols and the ERCOT Operating Guides.

(2)	QSE Generation Resources providing VSS shall be compliant with the ERCOT Operating Guides for response to transient voltage disturbance.

(3)	QSE Generation Resources providing VSS must meet technical requirements specified in Section 8.1.2.1, Ancillary Service Qualification and Testing, and the performance standards specified in Section 8.1.2, QSE Ancillary Service Performance Standards.

(4)	Each QSE’s Generation Resource providing VSS shall operate with the unit’s Automatic Voltage Regulator (AVR) in the voltage control mode unless specifically directed to operate in manual mode by ERCOT, or when the unit is going On-Line or Off-Line or the QSE determines a need to operate in manual mode in the event of an Emergency Condition at the generating plant.  Each QSE shall send to ERCOT via telemetry, the AVR and Power System Stabilizer (PSS) status of each Generation Resource providing VSS.  For AVRs, an “On” status will indicate the AVR is on and set to regulate the Resource’s terminal voltage in the voltage control mode, and an “Off” status will indicate the AVR is off or in a manual mode.  Each QSE shall monitor the status of their regulators and stabilizers, and shall report abnormal status changes to ERCOT.

(5)	Each QSE shall meet, within established tolerances, and respond to changes in the Voltage Profile established by ERCOT subject to the stated QSE Reactive Power and actual power operating characteristic limits and voltage limits.

(6)	The reactive capability required must be maintained at all times that the Generation Resource is On-Line.

(7)	ERCOT shall post the information required under 1.3.1.2(b) “Items Not Considered Protected Information” regarding the existence and tuning of Power System Stabilizers of each interconnected Generation Resource (in service or out of service), and the value of the tuning parameters (local or inter-area) on the MIS Secure Area.