| PRR Number | 800 | PRR Title | QSE Day Ahead Metric |
| --- | --- | --- | --- |
| Date |  | April 22, 2009 |  |
| Submitter’s Information |  |  |  |
| Name |  | David Detelich |  |
| E-mail Address |  | djdetelich@cpsenergy.com |  |
| Company |  | CPS Energy |  |
| Phone Number |  | 210-353-3037 |  |
| Cell Number |  |  |  |
| Market Segment |  | Municipal |  |

Comments

These comments clarify the Ancillary Services that are included in the metric calculation and the Resources that are included in the aggregated High Sustainable Limit (HSL).

| Overall Market Benefit |  |
| --- | --- |
| Overall Market Impact |  |
| Consumer Impact |  |

Revised Proposed Protocol Language

4.10.5	Day Ahead Schedule Measure

The “Day Ahead  Schedule Measure” compares each QSE’s energy schedule to the QSE’s aggregated HSLs at the time a Day Ahead schedule validation, as described in Section 4.7, Validation and Correction of Schedule Data, is run and approved.  The Resource Plan HSL is aggregated to include all On-line units, hydro units that have been tested hydro Responsive Reserve capability when synchronous condenser fast response mode, and active LaaRs for each QSE.  The QSE’s energy schedule and the aggregated HSLs for all twenty-four (24) hours of the next day are recorded at the time of the Day Ahead schedule validation.  The highest value interval out of the four (4) fifteen (15)-minute Settlement Intervals in an Operating Hour is selected to represent the QSE’s energy schedule.  The HSLs for all Resources are aggregated by QSE for each Operating Hour to create the QSE’s aggregated HSLs.  If multiple Day Ahead schedule validations are run on a particular Operating Day, only the first approved Day Ahead schedule validation is used.  Only Operating Hours when the energy schedule is greater than zero (0) MW are considered in this measure.

An Occurrence is recorded for a given Operating Hour if the QSE’s energy schedule plus scheduled Ancillary Services (AS)  are greater than the aggregated HSLs.  The scheduled Ancillary Services include Regulation Service Up (RGSU) and Response Reserve schedules.  Only one (1) Occurrence can be recorded per Operating Hour per QSE.  To determine the QSE Measure Score for the Day Ahead Zonal Schedule Measure, Occurrences are summed for every Operating Hour in a given month, and divided by the total number of Operating Hours in that month where the QSE’s energy schedule for a particular Operating Hour is greater than zero (0) MW.

-powered Generation Resource (WGR)o submitrce Plans in complianh Sect.4.15